OWG Meeting Notes 02/19/10

Attendance:

Brent Torgrimson	TRE				Andy Oliver		Texas RE

Rand Westbrook	CNP 				Brad Calhoun		CNP

Sherry Looney		LUMINANT 			Chad Thompson	ERCOT

Frank Owens		TMPA (TO)			Stan Morris		TNMP

Jack Thormahlen	LCRA 				Wayne Bolton		Brazos

Naga Kota		ERCOT			Leo Villanueva	ERCOT

Yvette Landin		ERCOT			Larry Parr		CPS Energy

Ross Owen 		ONCOR 			Colleen Frosch	ERCOT

Wayne Thomas	BTU				Kevin Brown		AEN

Paul Hassink		AEPSC			John Moore		BTU

Brad Wright		BTU				Walter Reid		Wind Coalition

Steve Zaragoza (phone) Garland			Rick Keetch (phone)	Reliant

Dennis Sauriol (phone) AEP				Mark Garrett (phone) Direct Energy

Jerry Willms (phone) LCRA				SPWG Group (phone)

Dennis Kunkel (phone) AEP

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

Frank Owens gave updates on the ROS meeting.

- SCR 758 approved

- PRR 838 tabled

- Nodal Guide Task Force was approved by ROS to review and ensure the Nodal Operating Guides are current and ready for December.  Frank is seeking volunteers.

- Black Start Task Force will now require a Non-Disclosure Agreement

- NOGRR 028 and OGRR 233 Table until JRO is complete

Jack Thormahlen stated he still has the action item for PSS clarification on definition of PSS on and when.

OWG Meeting notes for January were reviewed.

OGRR 236 Fast Response Distributed Energy Resource (DER) – Consensus to table until May to allow PDCWG to review the associated PRR 838.

OGRR 238 WGR Primary Frequency Response – Consensus to table for 1 month to allow PDCWG to comment.

OGRR 232 and NOGRR 027 Revise the Process for Submitting Biennial Unit Reactive Limits (Lead and Lag) - Consensus to forward the Recommendation Report and IA to ROS.  Ross Owen requested a summary sheet to help keep track of the testing dates.  Dennis Kunkel asked about tap changes being on the testing form, it what decided you would have to go to the plants to get that information.

NOGRR 032 Use of Consistent Rating Terminology - Consensus to recommend approval, will come back to OWG with IA.

NOGRR 033 Amend Telemetry Bus Accuracy Requirements (alignment with NPRR 203) – Consensus to recommend approval, will come back to OWG with IA.

NOGRR 034 Rescind Telemetry Performance Calculation Exclusions - Consensus to table for 1 month to allow NDSWG to comment.  Ross Owen said there needs to be a way to exclude approved maintenance.

Brad Calhoun suggested there was a conflict between ERCOT’s SOL Methodology and the Protocols.  Dennis Kunkel and Ross Owen had a different understanding.  Ross suggested having OTF review and make suggestions to the SOL Methodology.  Brad believes this should be resolved quickly.

Paul Hassink gave presentation on OGRR 240 CREZ Facility Protection and Control Requirements which has urgent status. Paul requested an Ad-Hoc task force under OWG.  Frank stated that the task force should be under ROS not OWG.  This subject needs cross-functional expertise and will recommend to ROS that OWG, SPWG, SSWG, DWG, CIPWG and communication experts to evaluate the OGRR. With direction to develop an evaluation matrix and have it ready for Aprils ROS meeting.

Operations Report – Naga Kota reviewed Operations Report.

Operations Task Force Report – Stan Morris reported that the Hurricane Drill will be this year in May and that the group will try and address the SOL Methodology within the next 2 weeks.

Black Start Task Force Report – Frank Owens reported that Black Start small group will meet on Feb 23 to work on the template for black start plans. The task force will need an NDA, Yvette will check with Legal to see if you already have one for an ERCOT group or if you will need a separate one for the BSTF.

Compliance Report – Andy Oliver reported that the Operations Training Seminar starts 2/22/10.  The Texas RE By-laws were approved by NERC and will go to FERC by end of month.  The separation between Texas RE and ERCOT should be complete by mid-year and Texas RE is currently going through a re-organization.

System Operations Report – Colleen reported that there’s nothing substantial to report.

Jerry Willms brought up the NDSWG and NATF discussion about the frequency of ERCOT database loads.  TSPs may need to model Pseudo switches which would not be a good solution.  This will require extra work by TSPs and is a resource issue.  The issue should go to ROS and recommend a joint task force to work this issue out.

Walter Reid stated that PRR 830 is still on hold because of the appeal.

Frank has action item to draft NOGRR for OGRR 226, Frank is having trouble on where it should go in the Nodal Guides.

Nodal task force was approved by ROS to ensure nodal guides are complete.  Any changes will need to be in by July to meet the December time-line.  Frank asked the members for volunteers for the NOGRR task force and several members stepped up. The group now consists of Frank Owens, Brad Calhoun, Jack Thormahlen, Dennis Sauriol, Sherry Looney, and Walter Reed.  Ross Owens said Oncor will supply someone.