- CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | March 12, 2010 |
| Revision Request Number | PRR845 |
| Revision Request Name | Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Protocol Revision Request (PRR) 845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, clarifies the meaning of Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP). In addition, due to the proposed definition of an IDR Meter, Protocol references to IDR and/or IDR Meter are being updated to ensure appropriate understanding and usage of the terms. After initial review, PRR845 will have an impact on Nodal systems, specifically Lodestar and related reporting. Due to time constraints, the modifications needed to support the PRR cannot be made before the May 1, 2010 environment freeze. The freeze is planned to help ensure stability throughout the ERCOT computing environment during the months leading up to the Texas Nodal Marekt Implementation Date (TMNID). As such, the ERCOT CEO has determined that PRR845, as written, is not necessary prior to the TNMID. The ERCOT CEO has the right to reevaluate the PRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Due to time constraints, the modifications needed to support the PRR can not be made before May 1, 2010 code freeze.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: Impact to Lodestar(reporting)..