- Section 4:

PRR841 – Revise Total ERCOT Wind Power Forecast (TEWPF)

This Protocol Revision Request (PRR) revises the probability of exceedance percentage applicable to the TEWPF from 80% to 50% to better reflect the total ERCOT Wind-powered Generation Resource (WGR) production that has been historically experienced.

Revised Subsection:  4.4.15

- Section 6:

PRR837 – Load Used in RMR Studies

This PRR provides guidance to ERCOT to use the peak Load forecast posted pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region, for the next 12 months for the Reliability Must-Run (RMR) study, except with respect to the Load in the RMR local area.  This aligns the Load forecast period with the RMR contract period and ensures that the Load forecast used for the analysis is one with a reasonable probability of occurrence.

Revised Subsection:  6.5.9.1