## Slide 1: IP Metering for EPS Meters
04/09/2010
Meter Working Group
Patrick Vinton
Supervisor, Meter Data Acquisition
Notes: <number>

## Slide 2: IP Metering
Meter Working Group
04/09/2010
ERCOT’s Methodology for IP Metering
Current Status/Overview of Operation
“Next Steps”
Questions

## Slide 3: IP Metering - Methodology
Meter Working Group
04/09/2010

## Slide 4: IP Metering – Current Status/Overview
Meter Working Group
04/09/2010
Uses existing WAN connection between ERCOT and TDSP.
Uses “PAT” (port address translation) on TDSP network.
Reduces the time “on-line” with the meter from approximately 2 minutes per interrogation to 15-20 seconds per interrogation.
Amount of communications related issues with IP communications is significantly lower than phone-based comms systems.
Most communications fixes appear to be accomplished remotely by the TDSP resetting the IP/protocol converter.
Currently have 4 TDSPs actively using IP for some, or all, of their EPS Meter communications.

## Slide 5: IP Metering – “Next Steps”
Meter Working Group
04/09/2010
If interested in IP, contact the MDAS Group
  ERCOT will provide the IP addresses that the TDSP must allow at the firewall level.
  We can arrange a conference call between the TDSP’s and ERCOT’s I.T. group’s if technical issues need clarification or discussion.

## Slide 6: IP Metering – Questions?
Meter Working Group
04/09/2010
  ?