## Slide 1: Process 000 Update - Communications Problems with EPS Meters
04/09/2010
Meter Working Group
Patrick Vinton
Supervisor, Meter Data Acquisition

## Slide 2: Process 000 Update
Meter Working Group
04/09/2010
Current Operation/Repair Timelines
What is the change to Process 000?
Why the Change?
Discussion/Questions?

## Slide 3: Process 000 Update - Current Operation/Repair Timelines
Meter Working Group
04/09/2010
12-hour notice is issued when both the Primary and Back-up meter communications is down
5-business day notice is issued when either the Primary or Backup meter communications is down

## Slide 4: Process 000 Update – What is the change to Process 000?
Meter Working Group
04/09/2010
Clarifies language to reflect current MDAS operation implemented in late 2005. That operation is;
  Once a meter point becomes a 12-hour notice, it remains a 12-nour notice regardless if one of the meter’s communications is restored.

## Slide 5: Process 000 Update – Why the Change?
Meter Working Group
04/09/2010
The situation existed where notices were toggling between a 12-hour notice and a 5-business day notice without ERCOT ever communicating with the Primary meter. The result;
  ERCOT was unable to fulfill it’s protocol obligation of performing a “redundant validation check” between the meters prior to settlements being run.
This change;
  Broke the cycle of closing and re-issuing notices thus ensuring facility repairs are performed in accordance with Process 000, the SMOG and Protocol requirements.
  Allowed ERCOT to fulfill it’s protocol obligation to perform a “redundant validation check” between the meters prior to settlements being run.

## Slide 6: Process 000 Update – Discussion/Questions?
?
Meter Working Group
04/09/2010