CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | December 3, 2009 |
| Revision Request Number | NOGRR032 |
| Revision Request Name | Use of Consistent Rating Terminology |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Operating Guide Revision Request (NOGRR) 032, Use of Consistent Rating Terminology, proposes language changes to align rating terminology in the Nodal Operating Guides with the terminology in the Nodal Protocols. The Nodal Operating Guides should be synchronized with Nodal Protocols in order to have consistent terminology. After initial review, NOGRR032 does not impact Nodal systems, budget or schedule; therefore, the ERCOT CEO believes this NOGRR should proceed through the stakeholder review process. The ERCOT CEO has determined that NOGRR032 is necessary prior to the Texas Nodal Market Implementation Date for synchronization reasons. The ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

032NOGRR-02  CEO Revision Request Review 120309

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.