| NPRR Number | 091 | NPRR Title | Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days |
| --- | --- | --- | --- |
| Date |  | April 5, 2010 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mike Cleary |  |
| E-mail Address |  | mcleary@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4668 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT reviewed the three options submitted for addressing stakeholder concerns for setting the System-Wide Offer Cap (SWCAP) during periods of extended cold weather when fuel oil could become the source of fuel for some generators:

- Option 1 (1/29/10 Luminant comments) - Change the mitigated SWCAP to the higher of Fuel Index Price (FIP) or Fuel Oil Price (FOP), which is based on a published fuel oil index price only for days when ERCOT forecasts the high temperature in any ERCOT Weather Zone to be 35° F or below.

- Option 2 (2/23/10 Luminant comments) - Revise the mitigated SWCAP to be the larger of either FIP times 18 mmBtu per MWh or $299 per MWh for only those days when ERCOT is forecasting the high temperature for the day in any ERCOT Weather Zone to be at or below 35° F.

- Option 3 (2/23/10 Luminant comments) - Allow a Market Participant to use the verifiable cost dispute process in those instances when fuel oil was burned in its Generating Resource instead of natural gas.

After considering the three options, ERCOT supports the selection of Option 3 as recommended in the 3/29/10 WMS comments.  ERCOT believes this approach is the most effective way to implement the NPRR.  Option 3 can be implemented by the Texas Nodal Market Implementation Date (TNMID) with minimal system impact.  If TAC elects to support an alternate option, further analysis by ERCOT will be required.

Revised Proposed Protocol Language

None.