Date: 	April 1, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following PRRs and NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

  - PRR844, Transmission and/or Distribution Service Provider (TDSP) Definition Revision [ERCOT].

Proposed Effective Date:  June 1, 2010

CEO Determination:  No opinion on whether or not PRR844 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; minor modifications to TDSP application process with ERCOT; no impact to grid operations.

Revision Description:  This PRR revises the definition of TDSP to include Entities that have been selected to own and operate Transmission Facilities and have a code of conduct approved by the Public Utility Commission of Texas (PUCT).

Procedural History:  PRR844 was posted on 1/15/10.  On 2/18/10, PRS unanimously voted to recommend approval of PRR844 as amended by the 1/22/10 CenterPoint Energy comments.  On 3/25/10, PRS unanimously voted to endorse and forward the 2/18/10 PRS Report and Impact Analysis for PRR844 to TAC.

NPRRs Recommended for Approval

  - NPRR205, Transmission and/or Distribution Service Provider (TDSP) Definition Revision [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the definition of TDSP to include Entities that have been selected to own and operate Transmission Facilities and have a code of conduct approved by the PUCT.

Procedural History:  NPRR205 was posted on 1/15/10.  On 2/18/10, PRS unanimously voted to recommend approval of NPRR205 as amended by the 1/22/10 CenterPoint Energy comments.  On 3/25/10, PRS unanimously voted to endorse and forward the 2/18/10 PRS Report and Impact Analysis for NPRR205 to TAC.

  - NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW [NOIE DRG TF].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR208 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; new business process will need to be put in place to produce the quarterly reports on the total unregistered installed capacity below the current threshold, summed by Load Zone; no impacts to ERCOT grid operations and practices.

Revision Description:  The NPRR includes proposed language changes by the Non-Opt-In Entity (NOIE) Distributed Renewable Generation (DRG) Task Force in regards to the registration requirements for DG greater than 50 kW and less than or equal to one MW.  In addition, this NPRR synchronizes language approved through PRR756, Distributed Renewable Generation Modifications, with some recommended revisions consistent with the NOIE DRG Task Force discussions.  PRR756 was approved by ERCOT Board on 5/20/08 and was implemented on 11/21/09.

Procedural History:  NPRR208 was posted on 1/25/10.  On 2/18/10, PRS voted to recommend approval of NPRR208 as amended by the 1/29/10 Profiling Working Group (PWG) comments.  There were two abstentions from the Consumer and Independent Generator Market Segments.  On 3/25/10, PRS voted to endorse and forward the 2/18/10 PRS Report as amended by the 3/3/10 ERCOT comments and as revised by PRS and Impact Analysis for NPRR208 to TAC.  There was one abstention from the Consumer Market Segment.

  - NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841 [Morgan Stanley].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for Reliability Unit Commitment (RUC) considerations.  This NPRR would align the Nodal Protocols with changes made to the zonal Protocols pursuant to PRR841, Revise Total ERCOT Wind Power Forecast (TEWPF), which was approved by the ERCOT Board on 3/23/10.

Procedural History:  NPRR210 was posted on 2/9/10.  On 2/18/10, PRS voted to recommend approval of NPRR210 as amended by the 2/11/10 Luminant comments and as revised by PRS.  There was one opposing vote from the Independent Generator Market Segment and three abstentions from the Municipal, Investor Owned Utility (IOU), and Independent Retail Electric Provider (IREP) Market Segments.  On 3/25/10, PRS voted to endorse and forward the 2/18/10 PRS Report for NPRR210 as revised by PRS to TAC.  There was one opposing vote from the Independent Power Marketer (IPM) Market Segment and four abstentions from the Consumer, IOU (2), and IPM Market Segments.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

None.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the April 22, 2010 PRS Meeting

  - PRR846, Deadlines for Initiating Alternative Dispute Resolution [Horizon Wind Energy].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR846 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR amends Section 20.3, Informal Dispute Resolution, to establish deadlines for the Alternative Dispute Resolution (ADR) procedures.

Procedural History:  PRR846 was posted on 2/15/10.  On 2/17/10, the motion to grant PRR846 Urgent status failed, via PRS email vote.  On 2/18/10, the motion to re-urge Urgency for PRR846 failed, via PRS roll call vote.  On 3/25/10, PRS unanimously voted to recommend approval of PRR846 as amended by the 3/17/10 ERCOT comments and as revised by PRS.  Credit review is pending.

- NPRR209, Data Posting Changes to Comply with P.U.C. Subst. R. 25.505 [NRG Texas and Calpine].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR209 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR removes a requirement to post certain State Estimator information that can be used to determine Resource status, which is confidential information as per PUCT rules.

Procedural History:  NPRR209 was posted on 2/5/10.  On 2/18/10, the motion to recommend approval of NPRR209 as submitted failed via roll call vote.  PRS then voted to table NPRR209.  There were two abstentions from the Cooperative and IOU Market Segments.  On 3/25/10, PRS voted to recommend approval of NPRR209 as submitted via roll call vote.  Credit review is pending.

  - NPRR211, Modify RUC Capacity Short Charge to Use Final Energy Trades [J. Aron].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR specifies that Energy Trades representing firm physical products that are entered and confirmed through ERCOT must be submitted by 1430 in the Day-Ahead for the Operating Day, and that Energy Trades representing firm physical products that are executed during the adjustment period and confirmed through ERCOT must be submitted prior to the next Hourly Reliability Unit Commitment (HRUC) execution.

Procedural History:  NPRR211 was posted on 2/11/10.  On 2/18/10, PRS unanimously voted to refer NPRR211 to WMS.  On 3/25/10, PRS unanimously voted to recommended approval of NPRR211 as amended by the 3/25/10 WMS comments.  Credit review is pending.

- NPRR213, Deadlines for Initiating Alternative Dispute Resolution [Horizon Wind Energy].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR amends Section 20, Alternative Dispute Resolution Procedures, to establish deadlines for the ADR procedures.

Procedural History:  NPRR213 was posted on 2/25/10.  On 3/25/10, PRS unanimously voted to recommend approval of NPRR213 as amended by the 3/18/10 ERCOT comments and as revised by PRS.  Credit review is pending.

- NPRR214, Wind-powered Generation Resource (WGR) High Sustained Limit (HSL) Update Process [Wind Coalition].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR214 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR establishes the specific timing of the WGR’s HSL update to ERCOT and specifies that, when not curtailed, the WGR’s HSL should equal the WGR’s current meter reading.

Procedural History:  NPRR214 was posted on 3/12/10.  On 3/25/10, PRS voted to recommend approval of NPRR214 as amended by the 3/16/10 Luminant comments.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR826, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that PRR826 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  PRR826 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table PRR826 for one month.  On 9/17/09, PRS unanimously voted to table PRR826 for one month.  On 10/22/09, PRS unanimously voted to table PRR826 for one month.  On 11/19/09, PRS unanimously voted to table PRR826.  On 12/17/09, PRS unanimously voted to table PRR826 indefinitely.  Credit review is pending.

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  On 12/17/09, PRS unanimously voted to table PRR834 until after the Load forecasting workshop.  Credit review is pending.

  - PRR843, Add Regional Planning Section to Protocols [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR843 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This PRR adds the entirety of the Regional Planning Group (RPG) Charter and Procedures (Charter) document, as it was recently approved by the ERCOT Board, to the Protocols.

Procedural History:  PRR843 was posted on 12/18/09.  On 1/21/10, PRS unanimously voted to create a task force to discuss the policy issues relating to PRR843, to refer PRR843 to the task force, and to instruct the task force report back at the February 2010 PRS meeting.  On 2/18/10, PRS unanimously voted to table PRR843 indefinitely.  Credit review is pending.

- PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [RMWG].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR clarifies the meaning of Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the TDSP.  In addition, due to the proposed definition of an IDR Meter, Protocol references to IDR and/or IDR Meter are being updated to ensure appropriate understanding and usage of the terms.

Procedural History:  PRR845 was posted on 1/22/10.  On 2/18/10, PRS unanimously voted to recommend approval of PRR845 as amended by the 2/9/10 ERCOT comments.  On 3/25/10, PRS voted to table PRR845.  There was one abstention from the Independent Generator Market Segment.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  Credit review is pending.

- NPRR212, Disputing Fuel Oil Price (FOP) Costs [CPS Energy].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR212 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR allows for disputes of FOP.

Procedural History:  NPRR212 was posted on 2/11/10.  On 2/18/10, PRS unanimously voted to recommend approval of NPRR212 as amended by the 2/17/10 WMS comments.  On 3/25/10, PRS unanimously voted to table NPRR212.

- NPRR215, Resolution of Alignment Item A151 - Removal of Posting Requirement for RMR Services [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR removes the redundant posting of Reliability Must-Run (RMR) energy deployment.

Procedural History:  NPRR215 was posted on 3/15/10.  On 3/25/10, PRS unanimously voted to table NPRR215 for one month.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- PRR838, Fast Response Distributed Energy Resource (DER) [Enchanted Rock].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR allows for participation of Distributed Energy Resources (DERs) in Responsive Reserve Service (RRS) on an equivalent basis with synchronous condenser fast-response hydro.

Procedural History:  PRR838 was posted on 10/22/09.  On 11/19/09, PRS unanimously voted to refer PRR838 to ROS with instruction to have the Performance, Disturbance and Compliance Working Group (PDCWG) assist in constructing the DER operational prototype test, to provide transparency to Market Participants on the type of the test and to report the results to ROS.  Credit review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the Congestion Revenue Right (CRR) Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the Transition Plan Task Force (TPTF) for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the April 22, 2010 PRS Meeting

  - PRR847, Additional Exemptions for Uninstructed Resource Charge [Formosa]

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PPR proposes two changes to Section 6.8.1.15.1: (1) When a Qualified Scheduling Entity (QSE) is given a verbal Dispatch Instruction from ERCOT, the QSE shall be exempt from any Uninstructed Resource Charge during the specified verbal Dispatch Instruction time period, provided that the QSE followed instructions to within the Schedule Control Error (SCE) of the verbal Dispatch Instruction given; and (2) After a Load acting as a Resource (LaaR) has been activated, the QSE representing the LaaR can request a three hour extension for scheduling under paragraph (11) of Section 6.10.6, Ancillary Service Deployment Performance Conditions, and during this rescheduling time, a Private Use Network shall not incur Uninstructed Resource Charges for three hours as the Load returns back to service.

Procedural History:  PRR847 was posted on 3/15/10.  Credit review is pending.

  - PRR848, Allow ERCOT Option to Cancel RPRS Capacity Commitments [ERCOT]

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR848 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This PRR adds statements allowing ERCOT the option of canceling capacity commitments made by Replacement Reserve Service (RPRS).

Procedural History:  PRR848 was posted on 3/22/10.  Credit review is pending.

  - NPRR216, Allow ERCOT Option to Cancel Commitments Previously Issued Through RUC [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds statements allowing ERCOT the option of cancelling commitments, prior to breaker close, previously issued through RUC.

Procedural History:  NPRR216 was posted on 3/22/10.  Credit review is pending.

  - NPRR217, Resolution of Alignment Item A58 - Use of Different Computational Modules [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Security Sequence since ERCOT does not use the same computational modules to perform both the Real-Time sequence and Day-Ahead and hour-ahead security analysis.

Procedural History:  NPRR217 was posted on 3/23/10.  Credit review is pending.

  - NPRR218, Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in the SCED [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will add a description of the power balance penalty factor to the Nodal Protocol sections that describe the implemented constraint set utilized in the Security-Constrained Economic Dispatch (SCED) optimization.

Procedural History:  NPRR218 was posted on 3/23/10.  Credit review is pending.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require the Resource Entity to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself.  This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the Market Information System (MIS).

Procedural History:  NPRR219 was posted on 3/24/10.  Credit review is pending.

  - NPRR220, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement to declare an Energy Emergency Alert (EEA) prior to deploying more than 500 MW of RRS.

Procedural History:  NPRR220 was posted on 3/24/10.  Credit review is pending.

  - NPRR221, Day-Ahead Market and Real-Time Market Default Allocation Changes [MCWG].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way default amounts (amounts owed to ERCOT by defaulting Counter-Party 180 days after the default occurs) in the DAM and Real-Time Market (RTM) are allocated.  This NPRR assigns a share of the default to each Counter-Party based on the greatest of the Counter-Party’s MWh activity in either the CRR market or DAM or RTM at the Counter-Party level for the calendar month prior to the month in which the default occurs.

Procedural History:  NPRR221 was posted on 3/30/10.  Credit review is pending.