| NPRR Number | 207 | NPRR Title | Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | February 18, 2010 |  |  |
| Proposed Effective Date |  | Upon System Implementation - Post Texas Nodal Market Implementation Date (TNMID) |  |  |
| Priority and Rank Assigned |  | Priority High |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 5.5.2, Reliability Unit Commitment (RUC) Process 5.7.2, RUC Clawback Charge |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) would accomplish three objectives: - The NPRR creates definitions for Half-Hour Start Units and Hour Start Units. - The NPRR deselects Hour Start Units from Reliability Unit Commitment (RUC) processes except the final Hourly Reliability Unit Commitment (HRUC) before the Operating Hour. - The NPRR removes RUC Clawback on all Half-Hour Start Units (a) that participate in the Day Ahead Market and (b) during Energy Emergency Alert (EEA) events. The NPRR also changes the RUC Clawback on all Half-Hour Start Units that did not participate in the Day-Ahead Market (DAM) to 50%. |  |  |
| Reason for Revision |  | Several Market Participants own Generation Resources that can, from an Off-Line state, start up, synchronize and reach an instructed output level in a short time period. This ability is inherently valuable because it provides ERCOT with operational flexibility to manage the ERCOT Transmission Grid, while avoiding costs incurred by On-Line Resources. Such costs include inefficient operation of Resources, fuel, water and emissions. This NPRR defines two types of such Generation Resources, including those that can start in 60 minutes and 30 minutes. RUC processes consider all remaining Operating Hours for a given Operating Day and issue RUC Dispatch Instructions to ensure reliability. To issue a unit commitment decision well in advance of an Hour Start Unit’s capabilities, however, ignores its unique operational flexibility and may lead to over-commitment of Generation Resources, increasing uplifted RUC costs. This NPRR would “deselect” Hour Start Units from all RUC processes except the final HRUC. Currently, the Nodal Systems assume that only Generation Resources with current On-Line telemetered breaker status in the final HRUC process will be On-Line for the Operating Hour; Generation Resources with telemetered Off-Line status are assumed to be Off-Line for the Operating Hour. However, approval of this NPRR will initiate minor changes needed to allow the last Hourly RUC process for an Operating Hour to execute and solve as if Hour Start Units were indeed synchronously interconnected. The actual Dispatch Instruction would not be issued until one hour before the Operating Hour, which is sufficient time for the Generation Resource to respond. Finally, the NPRR removes RUC Clawback on Half Hour Start Units. Even with the implementation of HRUC deselection, RUC deprives Market Participants of their ability to make the decision to deliver energy from Half Hour Start Units in the hour preceding Real Time. The ability to start up in such a short time period represents valuable operational flexibility. To mitigate Resources for revenues earned for providing such a valuable service is inequitable and discourages existing and future Resources from providing the service. |  |  |
| Overall Market Benefit |  | This NPRR has the potential to lower uplifted RUC costs. Load and generation forecasts have historically shifted within the Adjustment Period. By delaying the RUC commitments until the last possible time, over-commitment of capacity by the RUC process will be minimized without compromising ERCOT’s ability to utilize this significant quantity of capacity to ensure grid reliability. The removal of RUC Clawback for a subset of Generation Resources would send an appropriate signal to Market Participants, capital markets and manufacturers, thereby encouraging investment in more low cost operational flexibility. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 1/22/10, NPRR207 and a CEO Revision Request Review were posted. - On 2/11/10, Topaz comments were posted. - On 2/15/10, Reliant Energy comments were posted. - On 2/17/10, WMS comments were posted. - On 2/18/10, PRS considered NPRR207. |  |  |
| PRS Decision |  | On 2/18/10, PRS voted to recommend approval of NPRR207 as submitted, to forward NPRR207 to TAC, and to recommend a priority of High. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/18/10, ERCOT Staff explained that the impacts to the Commercial Systems (COMS) reported in the CEO Revision Request Review were related to both the Hour Start Unit deselection and Half Hour Start Unit RUC Clawback portions of NPRR207. Participants requested that the ERCOT CEO explain the extent of the system impacts related to each of the two portions of the NPRR and indicate whether either or both portions could be implemented prior to the TNMID. ERCOT Staff indicated that NPRR207 would be reevaluated by the ERCOT CEO for consideration of these issues. In considering what priority to recommend for NPRR207, it was suggested that the priority be High for the portions of NPRR207 that cannot be implemented prior to the TNMID. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | See “Overall Market Benefit” above. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Seth Cochran and Tom Jackson, co-chairs, for the Quick Start Task Force (QSTF) on behalf of WMS |
| E-mail Address | scochran@sempratrading.com; tom.jackson@austinenergy.com |
| Company | Sempra Energy Trading; Austin Energy |
| Phone Number | 203-962-5188; 512-322-6324 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM); Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Topaz 021110 | Expressed support for NPRR207 as submitted, requested reconsideration of the CEO determination, and suggested possible means to mitigate system impacts. |
| Reliant Energy 021510 | Proposed revisions to place the RUC Clawback modifications in the parking deck while moving forward with the deselection revisions. |
| WMS 021710 | Endorsed NPRR207 as submitted and requested review by the ERCOT CEO of whether NPRR207 as amended by the 2/11/10 Topaz comments is necessary prior to the TNMID; stated that if the ERCOT CEO still determines that NPRR207 is not necessary prior to the TNMID, then WMS recommends that NPRR207 be amended as recommended in the 2/15/10 Reliant Energy comments so that the proposed revisions that can be implemented prior to the TNMID can move forward through the stakeholder process. |

Proposed Protocol Language Revision

2.1	DEFINITIONS

Half-Hour Start Unit

A Generation Resource that in its cold-temperature state can deliver energy at its LSL within 30 minutes of receiving ERCOT notice.

Hour Start Unit

A Generation Resource that in its cold-temperature state can deliver energy at its LSL within 60 minutes of receiving ERCOT notice.

5.5.2	Reliability Unit Commitment (RUC) Process

(1)	The RUC process recommends commitment of Generation Resources, to match ERCOT’s forecasted Load, subject to all transmission constraints and Resource performance characteristics.  The RUC process takes into account Resources already committed in the Current Operating Plans (COPs), Resources already committed in previous RUCs, and Resource capacity already committed to provide Ancillary Service.  The formulation of the RUC objective function must employ penalty factors on violations of security constraints. The objective of the RUC process is to minimize costs based on Three-Part Supply Offers, substituting a proxy Energy Offer Curve for the Energy Offer Curve, over the RUC Study Period.

(2)	The RUC process can recommend Resource decommitment.  ERCOT may only decommit a Resource to resolve transmission constraints that are otherwise unresolvable. Qualifying Facilities (QFs) may be decommitted only after all other types of Resources have been assessed for decommitment.  In addition, the HRUC process provides decision support to ERCOT regarding a Resource decommitment requested by a Qualified Scheduling Entity (QSE).

(3)	ERCOT shall review the RUC-recommended Resource commitments to assess feasibility and shall make any changes that it considers necessary, in its sole discretion.  ERCOT shall deselect Hour Start Units recommended in DRUC and in all HRUC processes if in its sole discretion there is enough time to commit those Resources in future HRUC processes to meet ERCOT System reliability.  ERCOT shall notify each QSE which of its Resources have been committed as a result of the RUC process.  ERCOT shall, within one day after making any changes to the RUC-recommended commitments, post to the MIS Secure Area any changes that ERCOT made to the RUC-recommended commitments with an explanation of the changes.

5.7.2	RUC Clawback Charge

(1)	A QSE for a Resource shall pay a RUC Clawback Charge for the Operating Day if the RUC Guarantee is less than the sum of:

(a)	RUC Minimum-Energy Revenue calculated in Section 5.7.1, RUC Make-Whole Payment;

(b)	Revenue Less Cost Above LSL During RUC-Committed Hours calculated in Section 5.7.1.3, Revenue Less Cost Above LSL During RUC-Committed Hours; and

(c)	Revenue Less Cost During QSE-Clawback Intervals calculated in Section 5.7.1.4, Revenue Less Cost During QSE Clawback Intervals.

(2)	The amount of the RUC Clawback Charge is a percentage of the difference calculated in paragraph (1), above.  Whether or not the QSE submits a Three-Part Supply Offer for a Resource in the Day-Ahead Market (DAM) determines the clawback percentage.  If the QSE submitted a validated Three-Part Supply Offer for the Resource into the DAM, then the clawback percentage in RUC-Committed Hours is 50% for Resources that are not Half-Hour Start Units, the clawback percentage in RUC-Committed Hours is 0% for Resources that are Half-Hour Start Units and the clawback percentage in QSE Clawback Intervals is 0%.  If the QSE did not submit a validated Three-Part Supply Offer for the Resource that is not a Half-Hour Start Unit, then the clawback percentage in RUC-Committed Hours is 100% and the clawback percentage in QSE Clawback Intervals is 50%.  If the QSE did not submit a validated Three-Part Supply Offer for the Resource that is a Half-Hour Start Unit, then the clawback percentage for RUC-Committed Hours is 50% and the clawback percentage in QSE Clawback Intervals is 0%.

(3)	If an Energy Emergency Alert (EEA) is in effect for any hour that a Resource that is not a Half-Hour Start Unit is RUC-committed, then in all RUC-Committed Hours of the Operating Day the clawback percentage is 0% if the QSE submitted a validated Three-Part Supply Offer for the Resource into the DAM and 50% otherwise.  If an EEA is in effect for any hour that a Resource that is a Half-Hour Start Unit is RUC-Committed, then in all RUC-Committed Hours of the Operating Day the clawback percentage is 0%.

(4)	The RUC Clawback Charge for a Resource, including RMR units, for each Operating Day is allocated evenly over the RUC-Committed Hours for that Resource.

(5)	For each RUC-committed Resource, the RUC Clawback Charge for each RUC-Committed Hour of the Operating Day is calculated as follows:

If (RUCMEREVq,r,d + RUCEXRRq,r,d – RUCGq,r,d) > 0,

Then, RUCCBAMTq,r,h	=	[(RUCMEREVq,r,d + RUCEXRRq,r,d – RUCGq,r,d) * RUCCBFRq,r,d + RUCEXRQCq,r,d * RUCCBFCq,r,d]/RUCHRq,r,d

Otherwise, RUCCBAMTq,r,h = [Max (0, RUCMEREVq,r,d + RUCEXRRq,r,d + RUCEXRQCq,r,d – RUCGq,r,d) * RUCCBFCq,r,d] / RUCHRq,r,d

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| RUCCBAMTq,r,h | $ | RUC Clawback Charge––The RUC Clawback Charge to a QSE for a Resource as described in this Section, for each RUC-Committed Hour of the Operating Day for that Resource. |
| RUCGq,r,d | $ | RUC Guarantee—The sum of the Resource’s eligible Startup Costs and Minimum-Energy Costs during all RUC-Committed Hours, for the Operating Day. See Section 5.7.1.1, RUC Guarantee. |
| RUCMEREVq,r,d | $ | RUC Minimum-Energy Revenue—The sum of the energy revenues for the Resource’s generation up to LSL during all RUC-Committed Hours, for the Operating Day. See Section 5.7.1.2, RUC Minimum-Energy Revenue. |
| RUCEXRRq,r,d | $ | Revenue Less Cost Above LSL During RUC-Committed Hours—The sum of the total revenue for the Resource above the LSL less the cost during all RUC-Committed Hours, for the Operating Day. See Section 5.7.1.3. |
| RUCEXRQCq,r,d | $ | Revenue Less Cost from QSE-Clawback Intervals—The sum of the profits during QSE-Clawback Intervals, for the Operating Day. See Section 5.7.1.4. |
| RUCCBFRq,r,d | none | RUC Clawback Factor for RUC-Committed Hours—The Resource’s Clawback factor is defined in paragraphs (2) and (3) above. |
| RUCCBFCq,r,d | none | RUC Clawback Factor for QSE Clawback intervals—The Resource’s Clawback factor is defined in paragraphs (2) and (3) above. |
| RUCHRq,r,d | none | RUC Hour—The total number of RUC-Committed Hours, for the Resource for the Operating Day. |
| q | none | A QSE. |
| r | none | A RUC-committed Generation Resource. |
| d | none | An Operating Day containing the RUC-commitment. |
| h | none | An hour in the RUC-commitment period. |