| ERCOT Retail Client Services |  |  |
| --- | --- | --- |
| Event Description: RMWG WebEx / Conference Call | Date: April 5, 2010 | Completed by: Dwight Page |
| Attendees: Terry Bates (ONCOR), Don Tucker (ERCOT), Dwight Page (ERCOT), Sandra Tindall (ERCOT), Rachel Patterson (GEXA), Lloyd Young (AEP), Kevin Kulhanek (CENTERPOINT), Gricelda Calzada (AEP), Jennifer Fredericks (DIRECT) |  |  |
| Summary of Event: |  |  |
| - Antitrust – Terry Bates - Introductions – Terry Bates - Terry Bates reminded the team that RMWG has basically 4 options with regard to PRR845: - Do nothing and let PRS consider as is. - Withdraw PRR845 and submit a NPRR - Withdraw PRR845 altoghter - Leave (don’t remove the word) “profiled” in PRR845 18.6.2, and synch 18.6.1 – Review meeting notes for the August and September 2009 meetings as reference for the reasoning to replace an Advanced Meter with an IDR meter if the Premise exceeds the 700KW/KVA threshold. - This option would allow an AMS meter that reaches threshold to stay as an AMS meter. - A CR expressed the desire for 867_03 IDR usage when the Premise exceeds the 700KW/KVA threshold. - A TDSP asked if a Premise is scheduled to have an advanced meter installed in the future and the Premise exceeds the 700KW/KVA threshold and is listed on the IDR Requirement Report, can the TDSP install an AMS meter and not install an IDR Meter. If option #4 is implemented and a Premise with a non-IDR meter is listed on the IDR Requirement Report, Protocols and the Retail Market Guide wording seem to require that an IDR Meter be installed. - Team reviewed wording submitted by Don Tucker and Sandra Tindall that provided for option #4 - Team decided to submit PRR845 option #4 to RMS with RMWG’s comments for discussion and request RMS endorsement. - Next steps required if RMS endorses this concept: - The revised PRR845 will undergo a CEO Review before PRS looks at the revised language - The drafted RMGRR will need to be filed in support of this PRR - A synch NPRR will need to be filed - After the synch NPRR is approved, the RMWG will submit another NPRR to implement the changes consistent with the original PRR. The NPRR would add Premises with AMS Meters, that exceed the 700 KW/KVA threshold to the IDR Requirement Report. - Next meeting TBD |  |  |