OWG Report to ROS

April 12, 2010

The Operations Working Group (OWG) met March 17, 2010.

On March 17, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – Stan (TNMP) reported on the meeting that was held to discussion the +/-2% voltage set point requirement.  The Task Force is recommending a Protocol and Operating Guide change to limit +/-2% voltage set point, not to exceed +/-5% nominal.  Larry (CPS) also stated that the Voltage Profile group was not a formal group and thought it needed to be.

Black Start Task Force Report – Frank reported that the Black Start Dry Run was held.  Black Start Task Force did not meet last month.

The Texas RE Report: Curtis Crews (Texas RE) stated that the TADS time period was up March 1st, there were a couple of issues.  ERCOT Training Seminar was going well.

The OWG reviewed the following:

OGRR 236 Fast Response Distributed Energy Resource (DER) - Tabled until May.

OGRR 238 WGR Primary Frequency Response – OWG reviewed and made comments.

Much discussion surrounded the sentence in Section 2.2.5, “ERCOT may direct generators under the control of a SPS to disable their Governor if there is risk of a generator trip when responding to low frequency events”.  The Generation Resource Base Load definition was also discussed with the differences between conventional units and WGR’s. Jack (LCRA) recommended that OWG accept these comments.  OGRR will come back to OWG next month with IA.

NOGRR 032 Use of Consistent Rating Terminology – OWG reviewed IA, will recommend to ROS.

NOGRR 033 Alignment with NPRR203, Amend Telemetry Bus Accuracy Requirements – OWG reviewed IA, will recommend to ROS.

NOGRR 034 Rescind Telemetry Performance Calculation Exclusions – Jim (AEP), NDSWG Chair, stated that ERCOT needs a tool to track telemetry outages so these can be removed from the performance matrix.  NATF will be brought into the discussion of a tracking system.  Alex (ERCOT) explained why ERCOT stuck the sentence “When ERCOT receives notification, the associated points shall be removed from the TAC approved Telemetry Standard performance metrics calculations”.  The sentence needs clarification that these notifications are for planned telemetry outages. OWG tabled this for a month to give more time to resolve the issues.  Yvette (ERCOT) will work on getting this on the NATF agenda.

OGRR 241 Special Protection System Monitoring Requirements – Chad (ERCOT) explained the ERCOT comments.  Jerry (Luminant) expressed concern that all the arming status information was not useful information.   OWG recommends approval; OGRR will come back to OWG with IA.

NOGRR 035 Synchronization – Special Protection System Monitoring Requirements – OWG recommends approval, NOGRR will come back to OWG with IA.

System Operations Report – Colleen (ERCOT) reported that Power Operation Bulletin #468 and #467 had some procedure changes to incorporate NUC-001 that becomes effective 4/1/2010.

OGRR 240/242 Task Force - met on March 25, 2010 The Task Force reviewed OGRR 240 and OGRR 242 and identified the proposed changes where broad consensus among the attendees existed and agreed on the language to be submitted to ROS. Seven items that needed further discussion were tabled.

The Task Force took up the seven items that needed further discussion to identify the issues preventing consensus from developing and to identify groups that could provide subject matter experts that may help in resolving the issues. The attached spreadsheet identifies the seven areas and the groups that might be able to provide subject matter experts.

The proposed revision in OGRR 242 to Section 7.2.5.2 Equipment and Design Consideration “Communications Channels” Item (5) was identified as needing special consideration by the Transmission Service Providers (TSPs) selected by the Public Utility Commission to construct CREZ facilities. The Task Force assigned Ron Gallagher to assemble representatives from the CREZ TSPs to review and evaluate the technical merits of the proposal.

A tentative date of April 5, 2010 was identified for a future meeting to review the seven items needing further discussion.

NOGRR Task Force will have its first meeting on April 6, 2010 from 9:30 – 3:30 at the ERCOT Met Center.

Next OWG meeting will be on April 21st in Austin at the Met Center.