Metering Working Group Meeting Notes

April 9, 2010

9:00 AM – 2:00 PM

ERCOT Taylor - Building TCC2, Room 200

2705 West Lake Dr.

Taylor, TX 76574

- Reading of ERCOT Anti-Trust Rules                                                  Dotty DiSanto

Dotty DiSanto read the ERCOT Anti-Trust admonition to

open the meeting.

- Review of SMOGRR 008				    	               ERCOT

Reviewed proposed updates to SMOG for NODAL.

Discussed the inclusion of ERCOT Processes 000 (with changes approved –see below), 020 and 030 in the SMOG.

MWG approved both the changes.

3.  Update on TDSP notification by ERCOT of communication problems with EPS Meters.                                                                                                         ERCOT

Minor changes to process 000 were reviewed and approved

by the group.

- Update on PRR208 and implications to DG registration and data reporting requirements                                                                                                 ERCOT

Discussed NPRR 208: Registration and Settlement of Distributed Generation (DG) Less Than One MW. This PRR has not yet been approved by TAC or the

ERCOT board.

- Update on PRR845 and IDR meter definition                                              ERCOT

Discussed PRR845: Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter can be provisioned. This PRR has not yet been approved by TAC or ERCOT board.

6. CCVT and MOCT’s 	                   ERCOT

Reviewed testing and compliance statistics for CCVT’s and OCT’s based on the test results supplied by TDSP’s.

7. IP Metering	                   ERCOT

ERCOT discussed the IP metering requirements for EPS meters.

8. EPS Meter Design Proposal and Generation Site Modeling and Mapping  ERCOT

ERCOT discussed the impact of Generation Site Modeling and Mapping Requirement on EPS Meter Design Proposal timeline in the Nodal Market.

9. New Business	          Dotty DiSanto

A question concerning testing requirements for multi-ratio current transformers was brought before the group and was discussed.

10. Meeting Wrap-up 	          Dotty DiSanto