| - Antitrust Admonition See Insert below | Owens |
| --- | --- |
| - Review of Issues List/Progress (All) - 7.2.2 (16) Design and Operating Requirements for ERCOT System Facilities, Should a standard be developed for a limited set of projects or facilities? - 7.2.5.1 General Protection Criteria "Dependability and Security", Item 7, Define the meaning of "best technology". Consideration should be given to overall communications needs not specifically communication aided protection. *Review document submitted by AEPSC - 7.2.5.3 Specific Application Considerations "Transmission Line Protection" Item (3), Current differential | ALL |
| - Review of Outstanding Assignments (Peter Belkin, Mark Chronister) - 7.2.5.2, "Control Cables and Wiring" (2) (last bullet), Review context of applicability to CREZ. - 7.2.5.3, "Transmission Station Protection" (4), Resolve language regarding "Breaker Failure" scheme requirement. - 7.2.5.1 General Protection Criteria "Testing and Maintenance" Item (1), Need to address design and the idea of keeping facilities in service. | Peter Belkin / Mark Chronister |
| - Data Requirements (NDSWG/ERCOT) - 7.2.5.2 Equipment and Design Considerations "Communications Channels" Item (5), Define actual data requirements for CREZ infrastructure. (1 Protection Data, (relay communications); 2) SCADA Data 3) historical Data (non-operational data; 4) CIP data (alarm, camera, video); 5) Real Time Data (synchrophasor data); 6) Regional and system wide control (sps schemes, RAP) ; 7) future requirements (small signal and subsynchronous) | David Bogen / ERCOT |
| - Discuss Communications Channels Performance Criteria (7.2.5.2 Equipment and Design Considerations) | ALL |
| - Finalize OGRR Language and Prepare Comments to ROS. | ALL |
| - Adjourn |  |

Updated – 4/15/2010

WebEx -

Dial-In #:  512-225-7262;   Passcode:  4451

Antitrust Admonition

ERCOT strictly prohibits Market Participants and their employees who are participating in ERCOT activities from using their participation in ERCOT activities as a forum for engaging in practices or communications that violate the antitrust laws. The ERCOT Board has approved guidelines for members of ERCOT Committees, Subcommittees and Working Groups to be reviewed and followed by each Market Participant attending ERCOT meetings. If you have not received a copy of these Guidelines, copies are available at the Client Relations desk. Please remember your ongoing obligation to comply with all applicable laws, including the antitrust laws.

Disclaimer

All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

Evacuation Route