## Issues
OGRR Section | Issue | ERCOT Operations | ERCOT Planning | TRE | CIPWG | OWG | SPWG | DWG | SSWG | NDSWG | PDCWG | Comm WG?
7.2.2 (16) Design and Operating Requirements for ERCOT System Facilities | Should a standard be developed for a limited set of projects or facilities? | X | X |  | X | X | X | X | X | X | X
7.2.4 (1) Maintenance and Testing Requirements for ERCOT System Facilities | Method vs. Intent and what tests of protection systems are appropriate. Need to address what constitues compliance. Review the context of testing and maintenance. | X |  | X |  | X | X | X
7.2.5.1 General Protection Criteria "Dependability and Security", Item 7 | Define the meaning of "best technology". Consideration should be given to overall communications needs not specifically communication aided protection.
7.2.5.1 General Protection Criteria "Testing and Maintenance" Item (1) | Need to address design and the idea of keeping facilities in service. Can one of two relay schemes be removed during testing and ability to comply with NERC testing requirements. | X | X | X |  | X | X
7.2.5.2 Equipment and Design Considerations "Communications Channels" Item (5) | Define actual data requirements for CREZ infrastructure. (1 Protection Data, (relay communications); 2) SCADA Data 3) historical Data (non-operational data; 4) CIP data (alarm, camera, video); 5) Real Time Data (synchrophasor data); 6) Regional and system wide control (sps schemes, RAP) ; 7) future requirements (small signal and subsynchronous) | X | X |  | X | X | X | X |  | X
7.2.5.2 Equipment and Design Considerations "Communications Channels" Item (5) -- Business Issues | 1) Cost Allocations; 2) Maintenance; 3) Bandwidth issues (Dark fiber vs. bandwidth); 4) Easements | X | X |  |  | X | [5 empty] | X
7.2.5.2 Equipment and Design Considerations "Communications Channels" Item (5) -- CIP Issues | Access to equipment at others' sites | X |  |  | X | X | X |  |  | X |  | X
7.2.5.2 Equipment and Design Considerations "Communications Channels" Item (5) -- Technical Issues | 1) Reliability (frequency vs duration, SCADA/relay, MTTR); 2) Bandwidth; 3) Data Latency; 4) Backup power requirements for comm sites | [5 empty] | X |  |  | X |  | X
7.2.5.3 Specific Application Considerations "Transmission Line Protection" Item (3) & "Breaker Failure Protection" item (5) | Current differential and sub cycle dropout to be discussed at next meeting

## Assignments
Responsible Party | Section | Task
Mark Chronister | 7.2.4 (1) | Develop more agreeable langauge
Don Sevcik | 7.2.5.2 (5) | Review that provision on applies to 100kV and above. Also need determine if date excludes CREZ lines.
Don Sevcik | 7.2.5.2, "Voltage Transformers and Potential Devices" (4) | CenterPoint has requested review of impact of using dual line VTs. Utlize isolated and separate VT/secondary windings were both protection systems require voltage.
Peter Belkin | 7.2.5.2, "Voltage Transformers and Potential Devices" (8) | Review and detemine if language is necessary and provide alternate language if appropriate
Don Sevcik | 7.2.5.2, "Batteries and Direct Curent (DC) Supply" (2) | Review date
Mark Chronister | 7.2.5.2, "Batteries and Direct Curent (DC) Supply" (2) | Confirm whether or not this is addressed appropriately eslewhere in the guides
Mark Chronister & Peter Belkin | 7.2.5.2, "Circuit Breakers" | Review in light of breaker failure section below (see line 12 in this document). See about making langauge more generic or applicable to all new facilities.
Peter Belkin | 7.2.5.2, "Control Cables and Wiring" (2) (last bullet) | Review context of applicability to CREZ.
Don Sevcik | 7.2.5.3, "Transmission Line Protection" (2) | Review date and decide if applicable.
Peter Belkin | 7.2.5.3, "Transmission Line Protection" (3) (last bullet) | Review language regarding settings for synch check relays.
Mark Chronister & Peter Belkin | 7.2.5.3, "Transmission Station Protection" (4) | Resolve language in this and in section regarding "Circuit Breakers Breaker Failure". (see line 8 in this document)
Mark Chronister & Peter Belkin | 7.2.5.1 General Protection Criteria "Testing and Maintenance" Item (1) | Need to address design and the idea of keeping facilities in service. Can one of two relay schemes be removed during testing and ability to comply with NERC testing requirements.