OWG Meeting Notes 03/17/10

Attendance:

Rand Westbrook	CNP (TO)		Brad Calhoun		CNP (TO)

Curtis Crews		Texas RE		Jerry Ward		Luminant (QSE)

Jack Thormahlen	LCRA (QSE)		Wayne Bolton 	Brazos (QSE)

Robert Avila		BPUB (TO)		Chad Thompson	ERCOT

Frank Owens		TMPA	(TO)		Walter Reed 		Wind Coalition

Rick Keetch		NRG (QSE)		Larry Parr		CPS Energy (QSE)

Yvette Landin		ERCOT		Colleen Frosch	ERCOT

Kevin Brown		AEN (TO)		Ross Owen (phone)	ONCOR (TO)

Eric Easton (phone)	CNP (TO)		Sandra Tindall		ERCOT

Stan Morris (phone)	TNMP	(TO)		John Moore (phone)	BTU (TO)

Tip Tipton (phone)	Brazos (TO)		David Bogen (phone)	ONCOR (TO)

Jim Jacoby (phone)	AEP (TO)		Alex Sills (phone)	ERCOT

Henry Wood (phone)	STEC (TO)		Scot Williams (phone) ONCOR(TO)

Sydney Niemeyer (phone) NRG (QSE)

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

Frank (TMPA) reviewed the ROS meeting.

- OGRR 233 and NOGRR 028 tabled for another month.

- OGRR 240 and 242 tabled for one month to have new task force review

- Brad Calhoun (CNP) will chair the Nodal Operating Guide Task Force charged to clean up the Nodal Operating Guides.

- The ROS Planning Working Group (PLWG) leadership has set a meeting for Thursday (3/18) to work on the working group scope and guide outline.  It is an open meeting and interested stakeholders are invited to attend.

The February meeting notes were reviewed, Rick (NRG) pointed out a typo.

OGRR 236 Fast Response Distributed Energy Resource (DER) - Tabled until May.

OGRR 238 WGR Primary Frequency Response – OWG reviewed and made comments.

Much discussion surrounded the sentence in Section 2.2.5, “ERCOT may direct generators under the control of a SPS to disable their Governor if there is risk of a generator trip when responding to low frequency events”.  The Generation Resource Base Load definition was also discussed with the differences between conventional units and WGR’s. Jack (LCRA) recommended that OWG accept these comments.  OGRR will come back to OWG next month with IA.

NOGRR 032 Use of Consistent Rating Terminology – OWG reviewed IA, will move to ROS.

NOGRR 033 Alignment with NPRR203, Amend Telemetry Bus Accuracy Requirements – OWG reviewed IA, will move to ROS.

NOGRR 034 Rescind Telemetry Performance Calculation Exclusions – Jim (AEP), NDSWGChair, stated that ERCOT needs a tool to track telemetry outages so these can be removed from the performance matrix.  NATF will be brought into the discussion of a tracking system.  Alex (ERCOT) explained why ERCOT stuck the sentence “When ERCOT receives notification, the associated points shall be removed from the TAC approved Telemetry Standard performance metrics calculations”.  The sentence needs clarification that these notifications are for planned telemetry outages. OWG tabled this for a month to give more time to resolve the issues.  Yvette (ERCOT) will work on getting this on the NATF agenda.

OGRR 241 Special Protection System Monitoring Requirements – Chad (ERCOT) explained the ERCOT comments.  Jerry (Luminant) expressed concern that all the arming status information was not useful information.   OWG recommends approval; OGRR will come back to OWG with IA.

NOGRR 035 Synchronization – Special Protection System Monitoring Requirements – OWG recommends approval, NOGRR will come back to OWG with IA.

Operations Report – February Operations Report was opened up to questions, no questions were asked about the report.  Ross (Oncor) and Scott (Oncor) asked Chad (ERCOT) where ERCOT was with the reactive test result data this is being posted.  Chad (ERCOT) said that they are still working on it.

Jack (LCRA) asked Chad (ERCOT) about the AVR/PSS spreadsheet that is posted on the ERCOT website.  Every quarter ERCOT sends out notices if ERCOT shows an AVR or PSS has not returned to service.

Operations Task Force Report – Stan (TNMP) reported on the meeting that was held to discussion the +/-2% voltage set point requirement.  The Task Force is recommending a Protocol and Operating Guide change to limit +/-2% voltage set point, not to exceed +/-5% nominal.  Larry (CPS) also stated that the Voltage Profile group was not a formal group and thought it needed to be.

Black Start Task Force Report – Frank reported that the Black Start Dry Run was held.  Black Start Task Force did not meet last month.

Compliance Report – Curtis Crews (Texas RE) stated that the TADS time period was up March 1st, there were a couple of issues.  ERCOT Training Seminar was going well.

System Operations Report – Colleen (ERCOT) reported that Power Operation Bulletin #468 and #467 had some procedure changes to incorporate NUC-001 that becomes effective 4/1/2010.

Jack (LCRA) stated that PDCWG working group will be looking at defining what PSS turned on means.

Walter (Wind Coalition) stated that he was still going to draft an NOGRR to synch with PRR 824 Primary Frequency Response from WGRs.

NOGRR Task Force will be moving forward to review the Nodal Operating Guides to correct any inconsistencies with the Nodal Protocols.

Jack (LCRA) brought up reactive test graphs that John Dumas (ERCOT) mentioned at ROS.    ERCOT will be requesting three graphs instead of two graphs.  Jack (LCRA) requested a chance to look at Operations Planning procedure surrounding reactive testing.  Walter (Wind Coalition) stated that this should be in the Operating Guides and not an ERCOT procedure.

Frank (TMPA) is requesting a couple of more volunteers from OWG for the adhoc meeting to review OGRR 240 and 242.  Frank (TMPA) will send an e-mail to Ross (Oncor) and Dennis (AEP) to get participation from Oncor and AEP.

13:05 meeting adjourned.