Date: 	April 29, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

None.

NPRRs Recommended for Approval

  - NPRR207, Unit Deselection (formerly “Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback”) [Wholesale Market Subcommittee (WMS)].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This NPRR would provide that ERCOT may deselect units from Reliability Unit Commitment (RUC) processes.  The NPRR also creates the term “RUC Notification” to refer to an ERCOT instruction preceding a Resource’s startup time.  The NPRR enables the Qualified Scheduling Entity (QSE) to self-commit, a Resource after receiving a RUC Notification but before the Resource’s startup time.

Procedural History:  NPRR207 was posted on 1/22/10.  On 2/18/10, PRS voted to recommend approval of NPRR207 as submitted, to forward NPRR207 to TAC, and to recommend a priority of High.  There was one abstention from the Consumer Market Segment.  On 3/4/10, TAC unanimously voted to table NPRR207 for one month.  On 4/8/10, TAC unanimously voted to remand NPRR207 to PRS.  On 4/8/10, TAC unanimously voted to remand NPRR207 to PRS.  On 4/22/10, PRS voted to recommend approval of NPRR207 as amended by the 4/22/10 WMS comments and as revised by PRS.  There was one abstention from the Consumer Market Segment.

- NPRR209, Data Posting Changes to Comply with P.U.C. Subst. R. 25.505 [NRG Texas and Calpine].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR209 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business processes or functions; no impacts to ERCOT grid operations or practices.

Revision Description: This NPRR removes a requirement to post certain State Estimator information that can be used to determine Resource status, which is confidential information as per Public Utility Commission of Texas (PUCT) rules.

Procedural History:  NPRR209 was posted on 2/5/10.  On 2/18/10, the motion to recommend approval of NPRR209 as submitted failed via roll call vote.  PRS then voted to table NPRR209.  There were two abstentions from the Cooperative and Investor Owned Utility (IOU) Market Segments.  On 3/25/10, PRS voted to recommend approval of NPRR209 as submitted via roll call vote.  On 4/22/10, PRS voted to endorse and forward the 3/25/10 PRS Report and Impact Analysis for NPRR209 to TAC via roll call vote.

  - NPRR211, Clarify Capacity Obligations of Energy Trades (formerly “Modify RUC Capacity Short Charge to Use Final Energy Trades”) [J. Aron].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR211 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business processes or functions; no impacts to ERCOT grid operations or practices.

Revision Description:  This NPRR specifies that Energy Trades representing firm physical products that are entered and confirmed through ERCOT must be submitted by 1430 in the Day-Ahead for the Operating Day, and that Energy Trades representing firm physical products that are executed during the adjustment period and confirmed through ERCOT must be submitted prior to the next Hourly Reliability Unit Commitment (HRUC) execution.

Procedural History:  NPRR211 was posted on 2/11/10.  On 2/18/10, PRS unanimously voted to refer NPRR211 to WMS.  On 3/25/10, PRS unanimously voted to recommended approval of NPRR211 as amended by the 3/25/10 WMS comments.  On 4/22/10, PRS unanimously voted to endorse and forward the 3/25/10 PRS Report and Impact Analysis for NPRR211 to TAC.  PRS then voted to reconsider NPRR211.  There was one abstention from the Independent Generator Market Segment.  Upon reconsideration, PRS voted to endorse and forward the 3/25/10 PRS Report as revised by PRS and Impact Analysis for NPRR211 to TAC.  There was one abstention from the Independent Generator Market Segment.

- NPRR214, Wind-powered Generation Resource (WGR) High Sustained Limit (HSL) Update Process [Wind Coalition].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR214 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business processes or functions; no impacts to ERCOT grid operations or practices.

Revision Description: This NPRR establishes the specific timing of the WGR’s HSL update to ERCOT and specifies that, when not curtailed, the WGR’s HSL should equal the WGR’s current meter reading.

Procedural History:  NPRR214 was posted on 3/12/10.  On 3/25/10, PRS voted to recommend approval of NPRR214 as amended by the 3/16/10 Luminant comments.  There was one abstention from the Consumer Market Segment.  On 4/22/10, PRS voted to endorse and forward the 3/25/10 PRS Report and Impact Analysis for NPRR214 to TAC.  There was one abstention from the Consumer Market Segment.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

None.

Revision Requests Rejected and Failed Motions

  - PRR848, Allow ERCOT Option to Cancel RPRS Capacity Commitments [ERCOT]

Proposed Effective Date:  Not applicable.

CEO Determination:  No opinion on whether or not PRR848 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This Protocol Revision Request (PRR) adds statements allowing ERCOT the option of canceling capacity commitments made by Replacement Reserve Service (RPRS).

Procedural History:  PRR848 was posted on 3/22/10.  On 4/22/10, PRS unanimously voted to reject PRR848.  Credit review is not applicable.

Revision Requests Withdrawn (no TAC action required)

- NPRR215, Resolution of Alignment Item A151 - Removal of Posting Requirement for RMR Services [ERCOT].

Proposed Effective Date:  Not applicable.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR removes the redundant posting of Reliability Must-Run (RMR) energy deployment.

Procedural History:  NPRR215 was posted on 3/15/10.  On 3/25/10, PRS unanimously voted to table NPRR215 for one month.  On 4/21/10, NPRR215 was withdrawn by the submitter.  Credit review is not applicable.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the May 20, 2010 PRS Meeting

- PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [RMWG].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR845 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR clarifies the meaning of Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP).  In addition, due to the proposed definition of an IDR Meter, Protocol references to IDR and/or IDR Meter are being updated to ensure appropriate understanding and usage of the terms.

Procedural History:  PRR845 was posted on 1/22/10.  On 2/18/10, PRS unanimously voted to recommend approval of PRR845 as amended by the 2/9/10 ERCOT comments.  On 3/25/10, PRS voted to table PRR845.  There was one abstention from the Independent Generator Market Segment.  On 4/22/10, PRS unanimously voted to recommend approval of PRR845 as amended by the 4/8/10 RMWG comments.

  - PRR846, Deadlines for Initiating Alternative Dispute Resolution [Horizon Wind Energy].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR846 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This PRR amends Section 20.3, Informal Dispute Resolution, to establish deadlines for the Alternative Dispute Resolution (ADR) procedures.

Procedural History:  PRR846 was posted on 2/15/10.  On 2/17/10, the motion to grant PRR846 Urgent status failed, via PRS email vote.  On 2/18/10, the motion to re-urge Urgency for PRR846 failed, via PRS roll call vote.  On 3/25/10, PRS unanimously voted to recommend approval of PRR846 as amended by the 3/17/10 ERCOT comments and as revised by PRS.  On 4/22/10, PRS unanimously voted to table PRR846 for one month.

- NPRR212, Disputing Fuel Oil Price (FOP) Costs [CPS Energy].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR212 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR allows for disputes of FOP.

Procedural History:  NPRR212 was posted on 2/11/10.  On 2/18/10, PRS unanimously voted to recommend approval of NPRR212 as amended by the 2/17/10 WMS comments.  On 3/25/10, PRS unanimously voted to table NPRR212.

- NPRR213, Deadlines for Initiating Alternative Dispute Resolution [Horizon Wind Energy].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR amends Section 20, Alternative Dispute Resolution Procedures, to establish deadlines for the ADR procedures.

Procedural History:  NPRR213 was posted on 2/25/10.  On 3/25/10, PRS unanimously voted to recommend approval of NPRR213 as amended by the 3/18/10 ERCOT comments and as revised by PRS.  On 4/22/10, PRS unanimously voted to table NPRR213 for one month.

  - NPRR217, Resolution of Alignment Item A58 - Use of Different Computational Modules [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Security Sequence since ERCOT does not use the same computational modules to perform both the Real-Time sequence and Day-Ahead and hour-ahead security analysis.

Procedural History:  NPRR217 was posted on 3/23/10.  On 4/22/10, PRS voted to recommend approval of NPRR217 as submitted.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR221, Day-Ahead Market and Real-Time Market Default Allocation Changes [MCWG].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way default amounts (amounts owed to ERCOT by defaulting Counter-Party 180 days after the default occurs) in the Day-Ahead Market (DAM) and Real-Time Market (RTM) are allocated.  This NPRR assigns a share of the default to each Counter-Party based on the greatest of the Counter-Party’s MWh activity in either the Congestion Revenue Right (CRR) market or DAM or RTM at the Counter-Party level for the calendar month prior to the month in which the default occurs.

Procedural History:  NPRR221 was posted on 3/30/10.  On 4/22/10, PRS voted to recommend approval of NPRR221 as revised by PRS.  There was one opposition from the Consumer Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment.  Credit review is pending.

  - NPRR222, Half-Hour Start Unit RUC Clawback (Companion to NPRR207) [WMS].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This NPRR removes Reliability Unit Commitment (RUC) Clawback on all Half-Hour Start Units (a) that participate in the DAM and (b) during Energy Emergency Alert (EEA) events.  This NPRR also changes the RUC Clawback on all Half-Hour Start Units that did not participate in the DAM to 50%.

Procedural History:  NPRR222 was posted on 4/22/10.  On 4/22/10, PRS unanimously voted to recommend approval of NPRR223 as submitted.  Credit review is pending.

  - NPRR223, Resolution of Alignment Item A73 – Removal of IMM and PUC Staff Nightly Report [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes a reporting requirement.  There are no specific reporting requirements from the Independent Market Monitor (IMM) and PUCT for ERCOT to provide a nightly report.  Based on IMM requirements, a nightly report is not required.

Procedural History:  NPRR223 was posted on 4/9/10.  On 4/22/10, PRS unanimously voted to recommend approval of NPRR223 as submitted.  Credit review is pending.

  - NPRR225, Standard Cost Option in Verifiable Costs [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR225 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR provides the option for the election of standard Operations and Maintenance (O&M) costs as a component of Startup Costs and minimum energy costs in place of filing verifiable costs.

Procedural History:  NPRR225 was posted on 4/12/10.  On 4/22/10, PRS voted to recommend approval of NPRR225 as amended by the 4/22/10 CPS Energy comments and as revised by PRS.  There was one opposing vote from the Consumer Market Segment and two abstentions from the IOU and Independent Retail Electric Provider (IREP) Market Segments.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR826, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that PRR826 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  PRR826 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table PRR826 for one month.  On 9/17/09, PRS unanimously voted to table PRR826 for one month.  On 10/22/09, PRS unanimously voted to table PRR826 for one month.  On 11/19/09, PRS unanimously voted to table PRR826.  On 12/17/09, PRS unanimously voted to table PRR826 indefinitely.  Credit review is pending.

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  On 12/17/09, PRS unanimously voted to table PRR834 until after the Load forecasting workshop.  Credit review is pending.

  - PRR843, Add Regional Planning Section to Protocols [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR843 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This PRR adds the entirety of the Regional Planning Group (RPG) Charter and Procedures (Charter) document, as it was recently approved by the ERCOT Board, to the Protocols.

Procedural History:  PRR843 was posted on 12/18/09.  On 1/21/10, PRS unanimously voted to create a task force to discuss the policy issues relating to PRR843, to refer PRR843 to the task force, and to instruct the task force report back at the February 2010 PRS meeting.  On 2/18/10, PRS unanimously voted to table PRR843 indefinitely.  Credit review is pending.

  - PRR847, Additional Exemptions for Uninstructed Resource Charge [Formosa]

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes two changes to Section 6.8.1.15.1: (1) When a QSE is given a verbal Dispatch Instruction from ERCOT, the QSE shall be exempt from any Uninstructed Resource Charge during the specified verbal Dispatch Instruction time period, provided that the QSE followed instructions to within the Schedule Control Error (SCE) of the verbal Dispatch Instruction given; and (2) After a Load acting as a Resource (LaaR) has been activated, the QSE representing the LaaR can request a three hour extension for scheduling under paragraph (11) of Section 6.10.6, Ancillary Service Deployment Performance Conditions, and during this rescheduling time, a Private Use Network shall not incur Uninstructed Resource Charges for three hours as the Load returns back to service.

Procedural History:  PRR847 was posted on 3/15/10.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  Credit review is pending.

  - NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841 [Morgan Stanley].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for RUC considerations.  This NPRR would align the Nodal Protocols with changes made to the zonal Protocols pursuant to PRR841, Revise Total ERCOT Wind Power Forecast (TEWPF), which was approved by the ERCOT Board on 3/23/10.

Procedural History:  NPRR210 was posted on 2/9/10.  On 2/18/10, PRS voted to recommend approval of NPRR210 as amended by the 2/11/10 Luminant comments and as revised by PRS.  There was one opposing vote from the Independent Generator Market Segment and three abstentions from the Municipal, IOU, and IREP Market Segments.  On 3/25/10, PRS voted to endorse and forward the 2/18/10 PRS Report for NPRR210 as revised by PRS to TAC.  There was one opposing vote from the IPM Market Segment and four abstentions from the Consumer, IOU (2), and IPM Market Segments.  On 4/8/10, TAC unanimously voted to remand NPRR210 to PRS.  On 4/22/10, PRS unanimously voted to table NPRR210.

  - NPRR216, Allow ERCOT Option to Cancel Commitments Previously Issued Through RUC [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds statements allowing ERCOT the option of cancelling commitments, prior to breaker close, previously issued through RUC.

Procedural History:  NPRR216 was posted on 3/22/10.  On 4/22/10, PRS unanimously voted to table NPRR216.  Credit review is pending.

  - NPRR218, Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in the SCED [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will add a description of the power balance penalty factor to the Nodal Protocol sections that describe the implemented constraint set utilized in the SCED optimization.

Procedural History:  NPRR218 was posted on 3/23/10.  On 4/22/10, PRS unanimously voted to table NPRR218.  Credit review is pending.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require the Resource Entity to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself.  This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the Market Information System (MIS).

Procedural History:  NPRR219 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to table NPRR219.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- PRR838, Fast Response Distributed Energy Resource (DER) [Enchanted Rock].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR allows for participation of Distributed Energy Resources (DERs) in Responsive Reserve Service (RRS) on an equivalent basis with synchronous condenser fast-response hydro.

Procedural History:  PRR838 was posted on 10/22/09.  On 11/19/09, PRS unanimously voted to refer PRR838 to the Reliability and Operations Subcommittee (ROS) with instruction to have the Performance, Disturbance and Compliance Working Group (PDCWG) assist in constructing the DER operational prototype test, to provide transparency to Market Participants on the type of the test and to report the results to ROS.  Credit review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the CRR Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the Transition Plan Task Force (TPTF) for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

  - NPRR220, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement to declare an EEA prior to deploying more than 500 MW of RRS.

Procedural History:  NPRR220 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to refer NPRR220 to ROS.  Credit review is pending.

  - NPRR224, Remove Dynamic Rating Requirements for Annual Planning Models [Steady State Working Group (SSWG)]

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the use of Dynamic Rating for Annual Planning Models.

Procedural History:  NPRR224 was posted on 4/9/10.  On 4/22/10, PRS unanimously voted to refer NPRR224 to ROS.  Credit review is pending

New Revision Requests Scheduled for Consideration at the May 20, 2010 PRS Meeting

  - NPRR226, Procedure for Setting DAM Auction Credit Requirement Parameters [ERCOT]

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides language revisions to align the Nodal Protocols with the procedure developed to implement the changes approved by the ERCOT Board in NPRR 206, Nodal Market Day-Ahead Market Credit Requirements, on 2/16/10.

Procedural History:  NPRR226 was posted on 4/16/10.  Credit review is pending

  - NPRR227, Termination of Access Privileges to Restricted Computer Systems and Control Systems [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with the language in the zonal Protocols pursuant to Protocol Revision Request (PRR) 822, Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities formerly  Removing of Access to Restricted Computer Systems, Control Systems, and Facilities. PRR822 was approved by the ERCOT Board on 10/21/09.

Procedural History:  NPRR227 was posted on 4/23/10.    Credit review is pending

  - NPRR228, Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the Nodal Protocol language to include a description of the treatment and Settlement of Combined Cycle Generation Resources in the ERCOT Day-Ahead, reliability and Real-Time systems.

Procedural History:  NPRR228 was posted on 4/23/10.  Credit review is pending