| NPRR Number | 227 | NPRR Title | Termination of Access Privileges to Restricted Computer Systems and Control Systems |
| --- | --- | --- | --- |
| Date Posted |  | April 23, 2010 |  |
| Nodal Protocols Sections Requiring Revision |  | 2.1, Definitions 16.14, Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities (new) |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) synchronizes the Nodal Protocols with the language in the zonal Protocols pursuant to Protocol Revision Request (PRR) 822, Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities formerly Removing of Access to Restricted Computer Systems, Control Systems, and Facilities. PRR822 was approved by the ERCOT Board on 10/21/09. This NPRR also includes a definition used in the zonal Protocols but not defined in the Nodal Protocol Section 2, Definitions and Acronyms. |  |
| Reason for Revision |  | To incorporate into the Nodal Protocols provisions approved by the Board for the Zonal market and determined by the ERCOT stakeholders to be relevant to the Nodal market. |  |
| Overall Market Benefit |  | Improved protection of Restricted Computer Systems and control systems, and also the creation of the requirement to report violations. |  |
| Overall Market Impact |  | None. |  |
| Consumer Impact |  | None. |  |
| Credit Implications |  | To be determined. |  |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date |  | This NPRR will synchronize the Nodal Protocols to make them consistent with the processes outlined in the zonal Protocols. |  |
| CEO Determination |  | The ERCOT CEO has determined that NPRR227 is necessary prior to the Texas Nodal Market Implementation Date (i.e., Nodal Go-Live). |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved protection of Restricted Computer Systems and control systems, and also the creation of the requirement to report violations. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ann Delenela |
| E-mail Address | adelenela@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3987 |
| Cell Number |  |
| Market Segment | NA |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

Proposed Protocol Language Revision

2.1	Definitions

Facilities

Equipment situated for the purpose of conducting service and/or business through use of the ERCOT System.

16.14	Termination of Access Privileges to Restricted Computer Systems and Control Systems

(1)	All Market Participants and ERCOT are required to have processes in place to terminate access privileges, as soon as practicable, to Restricted Systems for any employee, consultant, or contractor, upon termination of employment or where access is no longer required.

(2)	“Restricted Systems” include computer or control systems that are essential to the operation of Restricted Facilities.

(3)	“Restricted Facilities” include Facilities and assets that support the reliable operation of the bulk ERCOT System (one hundred (100) kV and above), such as but not limited to:

(a)	Generation Resources;

(b)	Transmission substations;

(c)	Control/dispatch centers and backup control/dispatch centers related to items (a) and (b) above;

(d)	Systems and Facilities critical to system restoration (including but not limited to Black Start generators and substations); and

(e)	Systems and Facilities critical to automatic firm load shedding.

(4)	Access privilege is defined to include computer and electronic access.

(5)	Each Market Participant and ERCOT shall have internal controls in place to ensure these processes are reviewed at least on an annual basis.

(6)	Each Market Participant and ERCOT are required to notify the compliance monitoring authority within two Business Days after the discovery of any incident where a terminated employee, contractor or employee of a contractor has accessed a Restricted System when access privileges have been or should have been revoked.

(7)	Failure by a Market Participant or ERCOT to follow its processes that results in access to any Restricted Systems by any employee, consultant, contractor or affiliate after his or her termination will be considered a violation of these Protocols.