CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | February 9, 2010 |
| Revision Request Number | NPRR210 |
| Revision Request Name | Wind Forecasting Change to P50, Synchronization with PRR841 |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 210, Wind Forecasting Change to P50, Synchronization with PRR841, changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for Reliability Unit Commitment (RUC) considerations. NPRR210 synchronizes Nodal Protocol language with zonal Protocol language as a result of PRR841, Revise Total ERCOT Wind Power Forecast (TEWPF). Since it would be problematic to use outdated Protocol language, it is imperative that the Nodal Protocols are synchronized with the current Zonal Protocols in order to have a clear transition from one set of rules to another set of rules for ERCOT and Market Participants to operate within. Furthermore, after initial review, NPRR210 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the NPRR to proceed in the stakeholder review process. Assuming PRR841 is approved, the ERCOT CEO has determined that NPRR210 is necessary prior to the Texas Nodal Market Implementation Date (i.e., Nodal Go-Live). Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.