| SO-21 Evaluate Emergency Electric Curtailment Plan (EECP) Steps: Determine if the existing EECP steps need to be modified to take into account the increasing amount of variable wind generation in the ERCOT system. |  |
| --- | --- |
| Priority | Completed, low. |
| Considerations | Policy: While this is not an effort to implement a policy of the PUCT, it does have to be communicated to the Board of Directors and to the PUCT. |
|  | Reliability: It is reliability concern. |
|  | Technical: The technical challenge is generally the fact that installing more wind power on the network can leave the network vulnerable to larger changes in the total generation dispatched. |
|  | Market: No market considerations. |
|  | Performance/Compliance: It is ERCOT staff’s responsibility to follow the EECP. |
|  | Cost Allocation: No cost allocation considerations. |
| Strategy | Allow ERCOT management the flexibility to use operational judgment on when an energy conservation media appeal is needed. Recommendation: PRR 769 and NPRR 142 removed the required energy conservation medial appeal from EECP Step 2 and now allows ERCOT to issue a media appeal for energy conservation at management’s discretion, without requiring ERCOT CEO authorization. |
| Activities | ERCOT: None. |
|  | Market Participants: None. |
| Follow-Up | None . |
| Schedule | PRR 769 was approved by the ERCOT Board of Directors 11/17/2008. NPRR 142 (the nodal equivalent) was approved by the ERCOT Board of Directors 1/20/2009. |