Revised CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | 5/17/10 |
| Revision Request Number | NOGRR034 |
| Revision Request Name | Rescind Telemetry Performance Calculation Exclusions |
| ERCOT Position – Provided by CEO Needed for Go-Live (01/22/10 Submission) Not Needed for Go-Live (04/21/10 OWG Recommendation Report) No opinion on the need for Go-Live (See comments below for ERCOT CEO Position) |  |
| ERCOT submitted Nodal Operating Guide Revision Request (NOGRR) 034, Rescind Telemetry Performance Calculation Exclusions, to propose the removal of a requirement which would allow Market Participants to, at their discretion, have any of their Telemetry Performance data excluded from the periodic calculations in the Telemetry Performance Monitoring Program as this functionality was not accounted for in the current system build. The CEO Determination for NOGRR034, as submitted on 01/22/10, stated that if NOGRR034 was not approved, system changes would be needed to fulfill the Telemetry Performance data exclusion requirement. However, ERCOT finds that subsequent changes to NOGRR034, as documented in the 04/21/10 OWG Recommendation Report, will create a system impact by maintaining a requirement that ERCOT cannot build before the Texas Nodal Market Implementation Date (TNMID). As such, the ERCOT CEO has determined that NOGRR034, as modified in the 04/21/10 OWG Recommendation Report, is not necessary prior to the TNMID. The ERCOT CEO recommends adoption of the original language or grey-boxing of OWG modified language to remove Nodal system impact. The ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” (01/22/10 Submission) Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” (04/21/10 OWG Recommendation Report) Explain: As recommended by OWG on 04/21/10, NOGRR034 will have Nodal system impacts.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). (04/21/10 OWG Report) No impact to ERCOT (01/22/10 Submission) Explain: The ERCOT CEO finds no impact associated with NOGRR034 as submitted on 01/22/10; however, the ERCOT CEO does find system impact associated with NOGRR034 as submitted in the 04/21/10 OWG Recommendation Report..