| NPRR Number | 208 | NPRR Title | Registration and Settlement of Distributed Generation (DG) Less Than One MW |
| --- | --- | --- | --- |
| Date |  | May 14, 2010 |  |
| Submitter’s Information |  |  |  |
| Name |  | Sandra Morris |  |
| E-mail Address |  | smorris@lcra.org |  |
| Company |  | Lower Colorado River Authority |  |
| Phone Number |  | 512-473-3594 |  |
| Cell Number |  | 512-289-2505 |  |
| Market Segment |  | Cooperative |  |

Revised Proposed Protocol Language

LCRA requests that the Board remand Nodal Protocol Revision Request (NPRR) 208, Registration and Settlement of Distributed Generation (DG) Less Than One MW to TAC to reexamine the section of the NPRR deleted by TAC at the May 6, 2010 TAC meeting.  Upon further review, LCRA believes that the NPRR language approved by TAC may have unintended consequences resulting from striking part of Section 11.4.4.3, Load Reduction for Excess Non-PhotoVoltaic Distributed Generation.