OWG Meeting Notes 04/21/10

Attendance:

Rand Westbrook	CNP (TO)		Brad Calhoun		CNP (TO)

Brent Torgrimson	Texas RE		Sherry Looney		Luminant (QSE)

Jack Thormahlen	LCRA (QSE)		Wayne Bolton 	Brazos (QSE)

Robert Avila		BPUB (TO)		Frank Owens		TMPA	(TO)

Walter Reid 		Wind Coalition	Leo Villanueva	ERCOT

Larry Parr		CPS Energy (TO)	Shiraz Chopra		Texas RE

Yvette Landin		ERCOT		Colleen Frosch	ERCOT

Kevin Brown		AEN (TO)		Ross Owen 		ONCOR (TO)

Jerry Willms		LCRA (TO)		Leticia Soto-Reyes	ERCOT

Tip Tipton 		Brazos (TO)		David Bogen 		ONCOR (TO)

Randy Kelm (phone) ONCOR (TO)		Steven Solis (phone)	ERCOT

Alex Sills (phone)	ERCOT		Woody Rickerson (phone)	ERCOT

Mark Henry (phone)	Texas RE		Stan Morris (phone) 	TNP (TO)

Sandra Tindall (phone)ERCOT		Jim Jacoby (phone)	AEP (TO)

Bill Blevins (phone) 	ERCOT		Glen Hargrave (phone)CPS (TO)

Van Weldon (phone) 	ERCOT

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

Frank (TMPA) reviewed the ROS meeting.

- NOGRR 032 and 033 were approved by ROS.

- OGRR 240 and 242 group will meet one more time

- Comments need to be submitted for OGRR 233 and NOGRR 028 Backup Control Plan Submission Process.

The March meeting notes were reviewed – Walter (Wind Coalition) pointed out that his name was miss-spelled.  Also there was discussion on OGRR 238 that did not make it into the notes on weather related changes in capacity.

OGRR 236 Fast Response Distributed Energy Resource (DER) – No action, tabled until May (838).

OGRR 238 WGR Primary Frequency Response – OWG reviewed the no impact IA and recommended approval to ROS.  Walter (Wind Coalition) plans to move forward with a NOGRR to remove weather related adjustments for Wind.

NOGRR 034 Rescind Telemetry Performance Calculation Exclusions – Jim (AEP) gave update on the discussion with NDSWG.  David (ONCOR) discussed the preferred language, Alex (ERCOT) stated that this language makes more sense but still have issues with what the State Estimator is seeing.  Jim (AEP) stated that he was good with the new language.  ERCOT stated that it will need to be gray boxed since there is no tracking system.  David (ONCOR) proposed that the NDSWG comments be submitted has OWG comments.  Yvette (ERCOT) suggested that NDSWG submit comments to show they agree with the comments. The language will be modified when ERCOT has a tracking system in place.

OGRR 241 Special Protection System Monitoring Requirements – OWG reviewed no impact IA and recommended approval to ROS.

NOGRR 035 Synchronization – Special Protection System Monitoring Requirements – OWG reviewed no impact IA and recommended approval to ROS.

NOGRR 036 Synchronization - with PRR821 and PRR804 - This synchronizes the Nodal Operating Guides with PRR821, Update of Section 21, Process for Protocol Revision, and PRR804, Revisions to Section 21 Appeal Process. Specifically, this NOGRR revises Section 1.3 to more effectively align with the current stakeholder process and to provide that if a motion to approve a request fails, the revision request shall be deemed rejected by the body considering it and subject to appeal, unless at the same meeting that body later votes to recommend approval, remand, or refer the revision request. Changes were made to bring consistency between the NOGRR process, where applicable; remove arbitrary or conflicting timelines; clarify commenting process; expand on a revision request being deemed rejected to include email voting for the ROS and TAC; and include formatting and administrative changes. OWG recommends moving forward and will come back next month with IA.

NOGRR 037 Synchronization with OGRR217 - Relay Misoperation Report Format Change.  This changes the format for reporting yearly relay misoperations from a report format to a data format.  OWG recommended moving forward and will come back with IA next month.

OGRR 243 Disturbance Monitoring Requirements Clarification. This changes data recording and reporting requirements for equipment operating at 100kV or above at Facilities where fault recording equipment is required. OWG recommends moving forward and will come back next month with IA.

OGRR  244 Synchronization with PRR821, Update of Section 21, Process for Protocol Revision. This revises Section 1.3 to more effectively align with the current stakeholder process. Changes were made to bring consistency between the OGRR process, where applicable; remove arbitrary or conflicting timelines; clarify commenting process; expand on a revision request being deemed rejected to include email voting for the ROS and TAC; and include formatting and administrative changes. OWG recommends moving forward and will come back next month with IA.

OGRR 245 Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination. This aligns the Operating Guides with NERC Reliability Standards, specifically PRC-001-1, System Protection Requirements, Section B. Requirements, R2.2. There was much discussion, OWG made some recommended language changes, however it was tabled to be discussed further.  Bill Blevins will set up a WebEx to include SPWG, OWG, ERCOT and Texas RE.

NPRR 146 ICCP Telemetry Information Submittals. This changes the ICCP telemetry information submittal from 90 days to 14 days. ROS requested review of this NPRR and review ERCOT comments of 4/6/10.  Woody (ERCOT) gave update.  Jim (AEP) suggested that NDSWG would prefer a rolling two-week freeze and not a once a month freeze date (lock down 15th of each month.  Woody (ERCOT) said changes could still be made but it would be reported to IMM and Texas RE.  Sherry (Luminant) agreed with the NDSWG comments.  OWG agreed with the NDSWG and Jim (AEP) will submit comments on behalf of NDSWG.

NPRR 219 Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings. This will require the Resource Entity to designate a TSP as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself. This will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS. Bill (ERCOT) gave summary, there was some discussion.  This NPRR will be tabled at PRS to give time for ERCOT to make additional comments.

Operations Report – Letty (ERCOT) reviewed the March Operations Report.

Nodal Operating Guide Task Force – Brad (CNP) gave summary of implementation plan.  Walter (Wind Coalition) suggested that Protocol references in the Operating Guides be removed.  Frank (TNP) stated that an extra OWG meeting will be to be scheduled to review all the NOGRRTF changes.  Reviewed draft of Section 1 but since it is still a draft it will come back to OWG in June.

Operations Task Force Report – No report was given.

Black Start Task Force Report – Randy (ONCOR) gave update on Black Start training that is currently in progress.  The feedback so far has been 80% positive and 20% negative mostly due to the computer issues that have been occurring.

Compliance Report – Brent (Texas RE) stated the following:

- In March, FERC issued several orders impacting NERC.  One of which, FERC ordered NERC to submit specific proposed mods to standards development procedure.

- CIP-001regional variance to add TO & GO functions will be voted on by the Reliability Standards Committee 5/5/10.

- BAL-001 drafting still in progress, meetings on 5/10 & 11.

- Texas RE Standards and Compliance workshop 5/26.  Register at www.texasre.org

- If you want to be on the Operations Training Seminar Working Group, planning is starting, contact Lindley.

System Operations Report –.  Leo (ERCOT) stated that the Load Shed Table has been changed and Operating Guides will be updated.

Jack (LCRA) stated that a NOGRR will be submitted soon for his PSS action item.

Walter (Wind Coalition) stated that he was still going to draft an NOGRR to synch with PRR 824 Primary Frequency Response from WGRs.

15:15 meeting adjourned.