- Section 2:

PRR844 – Transmission and/or Distribution Service Provider (TDSP) Definition Revision

This Protocol Revision Request (PRR) revises the definition of Transmission and/or Distribution Service Provider (TDSP) to include Entities that have been selected to own and operate Transmission Facilities and have a code of conduct approved by the Public Utility Commission of Texas (PUCT).

Revised Subsection:  2.1

- Section 5:

PRR833 – Primary Frequency Response Requirement from Existing WGRs

This PRR places a Primary Frequency Response requirement on Wind-powered Generation Resources (WGRs) that are not covered by PRR824, Primary Frequency Response from WGRs.

Revised Subsection:  5.9.1.3