- Section 2:

NPRR205 – Transmission and/or Distribution Service Provider (TDSP) Definition Revision

This Nodal Protocol Revision Request (NPRR) revises the definition of Transmission and/or Distribution Service Provider to include Entities that have been selected to own and operate Transmission Facilities and have a code of conduct approved by the Public Utility Commission of Texas (PUCT).

Revised Subsection:  2.1

- Section 4:

NPRR211 – Clarify Capacity Obligations of Energy Trades (formerly “Modify RUC Capacity Short Charge to Use Final Energy Trades”)

This NPRR specifies that Energy Trades representing firm physical products that are entered and confirmed through ERCOT must be submitted by 1430 in the Day-Ahead for the Operating Day, and that Energy Trades representing firm physical products that are executed during the adjustment period and confirmed through ERCOT must be submitted prior to the next Hourly Reliability Unit Commitment (HRUC) execution.

Revised Subsection:  4.4.2

- Section 5:

NPRR211 – Clarify Capacity Obligations of Energy Trades (formerly “Modify RUC Capacity Short Charge to Use Final Energy Trades”)

See Section 4 above.

Revised Subsections:  5.4, 5.7.4.1.1

- Section 6:

NPRR214 – Wind-powered Generation Resource (WGR) High Sustained Limit (HSL) Update Process

This NPRR establishes the specific timing of the WGR’s HSL update to ERCOT and specifies that, when not curtailed, the WGR’s HSL should equal the WGR’s actual net output.

Revised Subsection:  6.5.5.2