ERCOT Nodal Protocols

Section 18:  Load Profiling

Updated: February 1, 2010

(Effective upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections)

18	Load Profiling	1

18.1	Overview	1

18.2	Methodology	1

18.2.1	Guidelines for Development of Load Profiles	1

18.2.2	Load Profiles for Non-Interval Metered Loads	2

18.2.3	Load Profiles for Non-Metered Loads	2

18.2.4	Generic Load Profiles for Interval Data Recorders	2

18.2.5	Identification of Weather Zones and Load Profile Types	3

18.2.6	Daily Profile Creation Process	3

18.2.7	Maintenance of Samples and Load Profile Models	3

18.2.7.1	Sample Maintenance	3

18.2.7.2	Model Maintenance	3

18.2.8	Adjustments and Changes to Load Profile Development	4

18.2.9	Special Requirement for Profiling Sample Points	5

18.2.10	Responsibilities for Sampling in Support of Load Profiling	5

18.2.10.1	ERCOT Sampling Responsibilities	5

18.2.10.2	Transmission Service Provider and/or Distribution Service Provider Sampling Responsibilities	5

18.3	Posting	6

18.3.1	Methodology Information	6

18.3.2	Load Profiling Models	6

18.3.3	Load Profiles	6

18.4	Assignment of Load Profile ID	7

18.4.1	Development of Load Profile ID Assignment Table	7

18.4.2	Load Profile ID Assignment	7

18.4.3	Validation of Load Profile Type and Weather Zone Assignments	7

18.4.3.1	Validation Tests	7

18.4.3.2	Correction Procedure	8

18.4.4	Assignment of Weather Zones to Electric Service Identifiers	9

18.5	Additional Responsibilities	9

18.5.1	ERCOT Responsibilities	9

18.5.2	Transmission Service Provider and/or Distribution Service Provider Responsibilities	9

18.5.3	Competitive Retailer Responsibilities	9

18.6	Installation and Use of Interval Data Recorders	9

18.6.1	Interval Data Recorder Installation and Use in Settlement	9

18.6.2	Interval Data Recorder Administration Issues	11

18.6.3	Adherence to Interval Data Recorder Requirements	11

18.6.4	Technical Requirements	11

18.6.5	Peak Demand Determination for Non-Interval Data Recorder Premises	11

18.6.6	Interval Data Recorder Optional Removal Threshold	12

18.7	Supplemental Load Profiling	12

18.7.1	Load Profiling of Time of Use Metered Electric Service Identifier	12

18.7.1.1	Overview	12

18.7.1.2	Methodology for Load Profiling of Time Of Use	13

18.7.1.3	Collection of Time Of Use Meter Data	13

18.7.1.4	Availability of Time Of Use Schedules	14

18.7.1.5	Post Market Evaluation	14

18.7.2	Other Load Profiling	14

# 18	Load Profiling

18.1	Overview

(1)	The ERCOT retail market requires a 15-minute Settlement Interval, yet the vast majority of Customers do not have the metering necessary to measure their consumption at this level of granularity.  Load Profiling provides a cost-effective way of estimating 15-minute Load for these Customers, enables the accounting of their energy usage in the market Settlement process, and allows the participation of these Customers in the retail market.

(2)	This Section details how Load Profiling will be implemented in ERCOT.

18.2	Methodology

(1)	ERCOT has developed Load Profiles for both non-interval metered Loads and Non-Metered Loads.  A Load Profiling methodology is the fundamental basis on which Load Profiles are created.  The implementation of a Load Profiling methodology may require statistical sampling, engineering methods, econometric modeling, or other approaches.

(2)	The following Load Profiling methods are used:

| Type of Load | Load Profiling Methodology |
| --- | --- |
| Non-interval metered | Adjusted static models |
| Non-Metered | Engineering estimates |

(3)	Load Profiles have also been developed for Interval Data Recorders (IDRs) and Advanced Meters for use in Settlements when actual 15-minute data is not available.  All Load Profiles shall conform to the ERCOT-defined Settlement Interval length.

(4)	Any change from one methodology to another will require approval of the Technical Advisory Committee (TAC), without the necessity of complying with the procedures in Section 21, Process for Nodal Protocol Revision.  TAC shall establish the implementation date for approved changes, recognizing the magnitude of the impacts on Market Participants.

18.2.1	Guidelines for Development of Load Profiles

In developing Load Profiles, ERCOT shall strive to achieve an optimal combination of the following:

(a)	Give no unfair advantage to any Entity;

(b)	Maximize usability by minimizing the total number of Load Profiles without compromising accuracy and cost effectiveness;

(c)	Minimize the Load Profiles’ contribution to Unaccounted For Energy (UFE) over all Settlement Intervals, paying particular attention to higher cost periods;

(d)	Reflect reasonably homogenous groups, with respect to Load shape and likely supply costs;

(e)	Develop Load Profiles that are distinctly different;

(f)	Develop Load Profiles for areas with incomplete Load data utilizing data from other sources, taking into account similarities and differences in Load;

(g)	Accommodate Time Of Use (TOU) rate classes;

(h)	Use the most accurate Load research data available; and

(i)	Develop Load Profiles based on readily identifiable parameters that are not subject to frequent change.

18.2.2	Load Profiles for Non-Interval Metered Loads

Load Profiles for non-interval metered Loads are created using statistical models developed from appropriate Load research sample data.  These models are referred to as adjusted static. These model equations relate daily Settlement Interval Load patterns to relevant weather descriptors such as maximum and minimum dry-bulb temperature and humidity.  Other daily characteristics such as day-of-the-week and sunrise/sunset times are also employed.

18.2.3	Load Profiles for Non-Metered Loads

Load Profiles for Non-Metered Loads, e.g. streetlights, traffic signals, security lighting, billboards, and parking lots are created using engineering estimates based on known criteria, such as hours of operation, with appropriate variation in sunrise/sunset times.  Transmission Service Providers (TSPs) and/or Distribution Service Providers (DSPs) are responsible for providing monthly consumption (kWh) for non-metered Electric Service Identifiers (ESI IDs).

18.2.4	Generic Load Profiles for Interval Data Recorders

(1)	Generic or default Load Profiles will be developed for IDRs.  These profiles will only be used when no historic Customer-specific interval data is available for Settlements.  The adjusted static methodology will be used to create these Load Profiles.

(2)	For details on the method to estimate IDR data for Settlement purposes, refer to Section 11, Data Acquisition and Aggregation.

18.2.5	Identification of Weather Zones and Load Profile Types

ERCOT, in coordination with the appropriate TAC subcommittee, will identify Weather Zones and Load Profile Types based on an analysis of the Load research data, weather data, effects of power price changes from interval to interval, and sunrise/sunset data.

18.2.6	Daily Profile Creation Process

ERCOT will maintain Load Profile Models to create profiles for the target Settlement day (backcast) and three days following the current day (forecast).  ERCOT will automatically collect actual weather conditions and weather forecasts to enable the creation of the Load Profiles.  ERCOT will maintain sunrise/sunset information for creating Load Profiles that require these parameters.

18.2.7	Maintenance of Samples and Load Profile Models

ERCOT, in coordination with TSPs and/or DSPs, shall periodically monitor, review, and maintain the validity and accuracy of the Load research samples and the Load Profiling models.  ERCOT shall take the necessary action to alleviate any situations whereby Load Profiles are no longer representative.

18.2.7.1	Sample Maintenance

(1)	ERCOT will review Load research sample validity (e.g. difference-of-means test) at the following times:

(a)	At least annually, and

(b) 	When discrepancies (such as excessive UFE) or disputes warrant.

(2)	ERCOT will monitor and review this sampling in accordance with ERCOT Protocols, the Load Profiling Guide and the most current Association of Edison Illuminating Companies (AEIC) Load Research manual.

18.2.7.2	Model Maintenance

ERCOT shall monitor the applicability of the Load Profiling models by comparing all available actual interval data samples with estimates generated from the profile model by interval for the same time period.  Should these comparisons reveal significant discrepancies, ERCOT should take appropriate action and coordinate with the appropriate TAC subcommittee.

18.2.8	Adjustments and Changes to Load Profile Development

(1)	ERCOT and the appropriate TAC subcommittee will conduct an ongoing evaluation of the current Load Profiling methodology.  Together they will determine whether appropriate changes to the methodology should be made or whether another approach or combination of approaches is warranted.  Any Market Participant may request a review of the Load Profiling methodology.  A change from one Load Profiling methodology to another must be approved by TAC, as provided in Section 18.2, Methodology.

(2)	Any Market Participant may petition ERCOT for adjustments to the existing Load Profiles and for development of new Load Profiles.  The Market Participant making the request shall submit their proposal in writing to ERCOT.  ERCOT will post to the Market Information System (MIS) Public Area the request and respond to such requests within 60 days.  ERCOT shall coordinate with the appropriate TAC subcommittee for each change request.  ERCOT shall strive to make the necessary changes within a reasonable period of time.

(3)	ERCOT, in coordination with the appropriate TAC subcommittee, may make changes to existing Load Profiles and establish additional Load Profiles.  All changes to Load Profiles shall adhere to these Protocols.  When additional Load Profiles are established, ERCOT shall evaluate the impact on existing Load Profiles and associated Load research samples.

(4)	A Market Participant may submit a request to ERCOT for conditional approval of a new Load Profile segment following the approval process as specified in the Load Profiling Guide Section 12, Request for Profile Segment Changes, Additions, or Removals.  In conjunction with this request, ERCOT shall specify the requirements for additional Load research sampling and shall define specific and objective criteria to be met by the analysis of this Load research data to meet the requirements for final approval.  Provided the request for conditional approval has received the appropriate ERCOT committee approval and ERCOT determines the specified criteria are met, the request shall be granted final approval.  If ERCOT determines the specified criteria are not met, the request shall be denied.

(5)	Section 9.18, Profile Development Cost Recovery Fee for a Non-ERCOT Sponsored Load Profile Segment, describes the process for compensating the originator of a profile segment change request by Retail Electric Providers (REPs) wishing to subscribe to the profile segment.

(6)	ERCOT shall give at least 150 days notice to all Market Participants prior to market implementation of any change in Load Profile Methodology, existing Load Profiles, or when any additional Load Profiles are developed.  This notice shall include a Load Profile change implementation timeline, which specifies dates on which key events during the Load Profile change process will take place.  Upon any change in Load Profile Types, TSPs and/or DSPs shall send any revised Load Profile ID assignments required by the change to the registration system within the implementation timeline.  After the new Load Profile(s) becomes available, changes to Load Profile Types will be effective on the next meter read date for each ESI ID.

(7)	If one or more Load Profiles require changes to reduce excessive UFE, as determined by the appropriate TAC subcommittee, TAC may provide a shorter notice period and implementation date, than otherwise provided herein, for such required changes to Load Profiles.  If the Load Profile Methodology requires changes to reduce excessive UFE, as determined by the appropriate TAC subcommittee, TAC may provide an expedited notice period and implementation date.  TAC may require the standard Load Profile revision process follow such expedited revisions for long-term resolution.

18.2.9	Special Requirement for Profiling Sample Points

When a Premise is used as part of a Load research sample used for Load Profiling, and that Premise or that Premise’s Competitive Retailer (CR) elects to use its interval data for Settlement purposes, it will be necessary to replace that Premise in the sample.  It will be incumbent on ERCOT to coordinate this type of change with the TSP and/or DSP, if appropriate.

18.2.10	Responsibilities for Sampling in Support of Load Profiling

18.2.10.1	ERCOT Sampling Responsibilities

ERCOT is responsible for the development and maintenance of Load Profiles used in the ERCOT market.  ERCOT shall follow the Load Profiling and Load research rules and procedures as specified in the Public Utility Commission of Texas (PUCT) rules.

18.2.10.2	Transmission Service Provider and/or Distribution Service Provider Sampling Responsibilities

(1)	The TSP’s and/or DSP’s Load research data are critical for Load Profile development by ERCOT.  TSPs and/or DSPs, other than Non-Opt-In Entities (NOIE), shall provide available Load research data when requested by ERCOT.

(2)	The TSPs and/or DSPs, other than NOIEs, shall provide ERCOT at least one year’s notice of any significant change in the status of the TSP’s and/or DSPs’ Load research programs.

(3)	TSPs and/or DSPs shall address the appropriate TAC subcommittee as a forum for their input in the development and refinement of Load Profiles.

(4)	TSPs and/or DSPs shall follow the rules and procedures as specified in PUCT rules.

(5)	ERCOT may request from TSPs and/or DSPs, and such TSPs and/or DSPs shall provide, the most current Load research data reasonably available to aid in the development or refinement of Load Profile Models, subject to Section 18.2.8, Adjustments and Changes to Load Profile Development.

18.3	Posting

ERCOT will make available to Market Participants the following information in a timely manner, subject to confidentiality agreements, proprietary arrangements, and Public Utility Commission of Texas (PUCT) rules and regulations.

18.3.1	Methodology Information

A complete description of all supporting models, documentation and data used in preparation of Load Profiles will be made available on the Market Information System (MIS) Public Area, including:

(a)	The historic Load data used to create the Load Profiles;

(b)	Average interval accuracy of each Load Profiling model;

(c)	Weather information;

(d)	Sunrise/sunset information;

(e)	Updates of Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP) Load research data as it becomes available to ERCOT; and

(f)	Any other data used for Load Profile development.

18.3.2	Load Profiling Models

ERCOT will make available the models used to produce the forecast and backcast profiles for the Settlement process.  The Load Profile Models shall be accessible via the MIS Public Area in a downloadable format.

18.3.3	Load Profiles

(1)	ERCOT will publish Load Profile data from the profile creation process, in accordance with Section 18.2.6, Daily Profile Creation Process, to the MIS and through the common application programming interface.  Load Profile data will be made available to Market Participants for a period of two years.

(2)	ERCOT will post to the MIS Public Area by 1000 Central Prevailing Time (CPT) each Business Day, forecasted Load Profiles for the three following days for each Load Profile Type and Weather Zone.  Backcast profiles for each Load Profile Type and Weather Zone will be available by 1000 CPT of the second Business Day following the backcast day.  No data will be provided that will allow identification of individual Customers.

18.4	Assignment of Load Profile ID

Each Electric Service Identifier (ESI ID) is required to be associated with an appropriate Load Profile ID.  This Section details the process of assigning a Load Profile ID to each ESI ID.

18.4.1	Development of Load Profile ID Assignment Table

ERCOT shall develop a cross-reference table of all Load Profile ID used in the ERCOT market.  The table shall clearly state class relationship to Load Profile Type.  This information shall be made accessible on the Market Information System (MIS) Public Area to all Market Participants.  The cross-reference information shall be compiled and expressed in clear, unambiguous language, and in a manner that will minimize Load Profile ID assignment disputes.

18.4.2	Load Profile ID Assignment

(1)	ERCOT and the appropriate Technical Advisory Committee (TAC) subcommittee shall review the Load Profile ID assignment process on an annual basis, make recommendations for enhancements, and evaluate the integration of the validation and assignment processes.

(2)	Any Market Participant may request temporary changes to the yearly process for assigning and validating Load Profile IDs to address unusual circumstances.  Such requests shall be submitted to the appropriate TAC subcommittee.  If the request is approved by the TAC subcommittee, it shall then be submitted to the TAC.  Change requests as a result of an extreme event such as a hurricane or ice storm may be submitted directly to TAC.  Such requests, if approved by the TAC, shall be in effect only for the requested year.

(3)	Should there be any change in Load Profile ID assignment to any ESI ID, it will be the responsibility of the Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP) to submit those changes to ERCOT.

18.4.3	Validation of Load Profile Type and Weather Zone Assignments

In this Section validation shall mean performing checks to ensure correct assignment of Load Profile Types and Weather Zones to ESI IDs.

18.4.3.1	Validation Tests

(1)	Validation tests of Load Profile Type and Weather Zone assignments, at a minimum, will occur at the following times:

(a)	Initial Load Profile ID assignment;

(b)	When a change is made in the Load Profile Type or Weather Zone assignment; and

(c)	At least one time per year.

(2)	ERCOT may utilize a sampling method for Load Profile Type assignment validation and when a change is made in the Load Profile ID assignment.

(3)	ERCOT shall validate the assignment of the Weather Zone component of the Load Profile ID for all ESI IDs.

(4)	ERCOT shall perform validation tests of the initial Load Profile Type and Weather Zone assignments of each TSP and/or DSP.  Samples of assignments from the Residential and Business Profile Groups will be randomly drawn from each TSP’s and/or DSP’s population of profiled ESI IDs.  If the assignment validation failure rate for any of these samples exceeds parameters specified in the Load Profiling Guide, ERCOT may request an audit of the corresponding TSP’s and/or DSP’s Load Profile ID assignment processes and systems at the expense of the TSP and/or DSP.  ERCOT may require TSPs and/or DSPs that fail sample Load Profile Type or Weather Zone assignment validations and/or audits to resubmit Load Profile ID assignments for all ESI IDs in their service territory.

(5)	Details of all validation tests will be specified in the Load Profiling Guide.  Competitive Retailers (CR) may dispute a Load Profile ID assignment through the ERCOT Settlement dispute process, as described in Section 9.14, Settlement and Billing Dispute Process, in conjunction with the Load Profiling Guide.

(6)	TSPs and/or DSPs shall change the assignment of a Load Profile ID based on a dispute outcome finding in favor of a CR.  If required to change an assignment, TSPs and/or DSPs must correct the assignment in their system and the ERCOT Customer registration system within three Business Days.

18.4.3.2	Correction Procedure

(1)	TSPs and/or DSPs are responsible for investigating each ESI ID identified by ERCOT as having a potentially incorrect Load Profile ID assignment.  Each TSP and/or DSP shall work closely and promptly with ERCOT during the correction procedure, which is detailed in the Load Profiling Guide.

(2)	Market Participants may dispute an assignment through the ERCOT Settlement dispute process, described in Section 9.14.

18.4.4	Assignment of Weather Zones to Electric Service Identifiers

(1)	TSPs and /or DSPs will assign each ESI ID to a Weather Zone, based on service address ZIP code.

(2)	ERCOT will post to the MIS Public Area a mapping of a Weather Zone to appropriate Customer registration element used in assigning Weather Zones.

18.5	Additional Responsibilities

This Section addresses responsibilities for Load Profiling not specified in other sections of the Protocols.

18.5.1	ERCOT Responsibilities

ERCOT will develop, administer, and maintain Load Profiles in accordance with these Protocols.  Disputes related to the accuracy or appropriateness of Load Profiles shall be handled in accordance with Section 9.14, Settlement and Billing Dispute Process.

18.5.2	Transmission Service Provider and/or Distribution Service Provider Responsibilities

Transmission Service Providers (TSPs) and/or Distribution Service Providers (DSPs) shall use the appropriate  Technical Advisory Committee (TAC) subcommittee as a forum for their input in the development and refinement of Load Profiles.

18.5.3	Competitive Retailer Responsibilities

(1)	Competitive Retailers (CRs) shall use the appropriate TAC subcommittee as a forum for their input in the development and refinement of Load Profiles.

(2)	CRs shall be responsible for reviewing any assignment of Load Profiles to Electric Service Identifiers (ESI IDs) they represent.

18.6	Installation and Use of Interval Data Recorders

18.6.1	Interval Data Recorder Installation and Use in Settlement

(1)	Interval Data Recorder (IDR) Mandatory Installation Threshold:  IDRs shall be installed and utilized for Settlement of Premises having either:

(a)	A peak demand greater than 700 kW (or 700 kVA), or

(b)	Service provided at transmission voltage (above 60 kV).

For the IDR installation process at Premises that meet the IDR Mandatory Installation Threshold identified above, refer to the Retail Market Guide Section 7.13.2.2, Mandatory IDR Installation Process.

(2)	A Competitive Retailer (CR), upon a Customer’s request or with a Customer’s authorization, may have an IDR installed and used for Settlement purposes at any associated Premise outside the IDR Mandatory Installation Threshold.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for Settlement.  Once an IDR is installed on a Premise and used for Settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Section 18.6.6, Interval Data Recorder Optional Removal Threshold.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of 12 consecutive months following such installation.

(3)	All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Threshold.  These Loads shall be settled using Load Profiles.

(4)	For Premises not subject to the IDR Mandatory Installation Threshold in item (1) of this Section:

(a)	IDRs installed at the request of ERCOT, a Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP), a Municipally Owned Utility (MOU), or an Electric Cooperative (EC) for Load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for Settlement purposes; or

(b)	IDRs previously used specifically for separating Non-Opt-In Entity (NOIE) Load from competitive Load shall be exempt from the requirement to use an IDR for retail Customer settlement purposes, provided that the IDR meter has been removed within 120 consecutive days after the NOIE has fully implemented Customer Choice.  IDR meters used for NOIE separation that do not meet the IDR Mandatory Installation Threshold shall not be used for retail Customer settlement purposes.

(5)	For IDR installation procedures reference Section 10.2.2, TSP and DSP Metered Entities.

(6)	TSPs and/or DSPs responsible for any Load transfer schemes between ERCOT and non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

18.6.2	Interval Data Recorder Administration Issues

ERCOT shall produce a report informing the appropriate Market Participants of profiled Premises that have become subject to the provisions of item (1) of Section 18.6.1, Interval Data Recorder Installation and Use in Settlement.  ERCOT shall put in place a system to track Market Participants’ timely adherence to this requirement.  This report shall be posted to the Market Information System (MIS) Private Area.

18.6.3	Adherence to Interval Data Recorder Requirements

MOUs and ECs that opt-in to Customer Choice must install IDR meters at all Premises subject to the IDR Mandatory Installation Threshold for metering prior to the effective date of their participation in the testing and integration requirements of ERCOT Systems for Customer Choice.

18.6.4	Technical Requirements

(1)	Regardless of data retrieval method, interval data shall be provided on a schedule that supports the requirements of final Settlement (typical monthly billing cycle).

(2)	Interval data that is provided for Settlement shall be consistent with the ERCOT defined Settlement Interval.

18.6.5	Peak Demand Determination for Non-Interval Data Recorder Premises

(1)	For the purpose of determining the peak Demand level for the IDR Mandatory Installation Threshold in Section 18.6.1, Interval Data Recorder Installation and Use in Settlement, the Demand will be determined in accordance with Public Utility Commission of Texas (PUCT) rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak Demand in the PUCT rulemaking, the following application shall be used in determining the peak Demand level for IDR Mandatory Installation Threshold in Section 18.6.1.

(2)	A Premise (Electric Service Identifier (ESI ID)) has a peak Demand greater than the applicable level in Section 18.6.1, above, when measured in any two billing months of the most recent 12 month period.  CRs may dispute an IDR assignment through the ERCOT Settlement dispute process, described in Section 9.14, Settlement and Billing Dispute Process.

(3)	ERCOT shall be responsible for receiving and storing Demand information necessary for determining mandatory IDR installations.

18.6.6	Interval Data Recorder Optional Removal Threshold

(1)	The CR, upon a Customer’s request or with a Customer’s authorization, may request, in accordance with PUCT rules and regulations, removal of an IDR at the Customer’s Premise unless service to the Premise is provided at transmission voltage (above 60 kV).   However, once the Customer’s Demand at the Premise meets the IDR Mandatory Installation Threshold identified in item (1) of Section 18.6.1, Interval Data Recorder Installation and Use in Settlement, the IDR will no longer qualify for removal.

(2)	The “IDR Optional Removal Threshold” for a Premise is established as follows:

(a)	For an existing Customer with a profile type code of BUSIDRRQ, where the Load at the Premise has never exceeded the IDR Optional Removal Threshold of 150 kW (kVA) during the most recent 12 consecutive months unless the existing Customer requested or authorized installation of an IDR pursuant to item (2) of Section 18.6.1 in which case the existing Customer may not request removal of the IDR for a period of 12 consecutive months following such installation; or

(b)	For a new Customer move-in, where the request is communicated to the CR within 120 consecutive days of the move-in provided the new Customer’s Demand at the Premise has remained below the IDR Mandatory Installation Threshold between the move-in date and the date the request is received, and that meter readings covering at least 45 consecutive days of usage at the Premise have been registered for the new Customer.

(3)	Once an IDR has been removed at a Premise by request, an IDR may not be reinstalled at that Premise for a period of 12 consecutive months following such removal, unless a change in Customer(s) has taken place at that Premise during the 12 month period or unless the IDR Mandatory Installation Threshold pursuant to item (1) of Section 18.6.1 has been met.  Removal or re-installation of an IDR is subject to applicable tariff charges.

18.7	Supplemental Load Profiling

ERCOT and the appropriate Technical Advisory Committee (TAC) subcommittee recognize the possible need to accommodate Load Profiling for programs or pricing schemes that encourage a Demand response to price in the retail market.  Accordingly, Load Profiling methods other than adjusted static methodology are necessary.

18.7.1	Load Profiling of Time of Use Metered Electric Service Identifier

18.7.1.1	Overview

(1)	A Time Of Use (TOU) meter is a programmable electronic device capable of measuring and recording electric energy in pre-specified time periods.  For Load Profiling purposes this definition does not include Interval Data Recorders (IDRs).  For additional information regarding TOU, reference the Load Profiling Guide.

(2)	The ERCOT Data Aggregation and Settlement systems must be able to accept and handle TOU meter data.  The profiling of Premises participating in TOU programs requires TOU meter reads so that consumption can be distributed within the appropriate time periods.

18.7.1.2	Methodology for Load Profiling of Time Of Use

The selected technique for generating profiles for TOU Premises is described as follows:

(a)	Each TOU Premise is assigned to a standard Load Profile Type.

(b)	Upon agreement between the Competitive Retailer (CR) and Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP), a Time of Use Schedule (TOUS) is submitted by the TSP and/or DSP to the ERCOT Data Aggregation System (DAS), which identifies the TOU period associated with each Settlement Interval.  The number of TOU periods is determined by the number of periods for which the meter will capture kWh.  These periods may include on-peak, off-peak, and shoulder periods.  The DAS shall collect and maintain the attributes of the TOUS (e.g. start and stop time, day of the week, and season.).

(c)	CRs shall communicate to TSPs and/or DSPs their Electric Service Identifiers (ESI IDs) associated with the proper TOUS.

(d)	The TSP and/or DSP shall communicate all TOUSs to DAS so that proper TOUS identification for each Premise will occur in the ERCOT System.

(e)	The ERCOT DAS shall use the standard Load Profile assigned to each TOU Premise and scale the energy for each TOU period in the Load Profile so that it is equal to the metered energy (kWh) for the TOU period.

(f)	TOU Load Profiling will not use TOU Demand values.

18.7.1.3	Collection of Time Of Use Meter Data

TSPs and/or DSPs will be responsible for providing the meter reads necessary to support TOUS available in their service territory.  The ERCOT DAS shall handle multiple TOU reads.  These TOU reads may include on-peak, off-peak, and shoulder periods.

18.7.1.4	Availability of Time Of Use Schedules

The availability of TOUSs will be dependent on the following:

(a)	For TSP and/or DSP service territories with TOU tariffs in effect prior to December 31, 2000, all CRs will be able to offer the TOUSs associated with those tariffs; and

(b)	The implementation of any new or modified TOUS would be subject to the ERCOT and Texas Standard Electronic Transaction (TX SET) change control process.

18.7.1.5	Post Market Evaluation

Starting at the first completed Settlement cycle, ERCOT and the appropriate TAC subcommittee shall periodically review the selected profiling technique of TOU ESI IDs for accuracy, and validity.  They may recommend enhancements, modifications, or a complete replacement of the technique.

18.7.2	Other Load Profiling

ERCOT, in coordination with the appropriate TAC subcommittee, may develop Load Profiles for particular Customer segments that require special Load Profiling techniques similar in nature to TOU and DLC programs.