| NPRR Number | 208 | NPRR Title | Registration and Settlement of Distributed Generation (DG) Less Than One MW |
| --- | --- | --- | --- |
| Date |  | May 5, 2010 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman |  |
| E-mail Address |  | kcoleman@andrewskurth.com |  |
| Company |  | Andrews Kurth, LLP on behalf of Texas Industrial Energy Consumers (TIEC) |  |
| Phone Number |  | (512) 320-9226 |  |
| Cell Number |  | (512) 773-0394 |  |
| Market Segment |  | Consumer |  |
| Comments |  |  |  |

TIEC is concerned that the Load reduction methodology for non-photovoltaic Distributed Generation (DG) described in Section 11.4.4.3, Load Reduction for Excess Non-PhotoVoltaic Distributed Generation, item (a) of Nodal Protocol Revision Request (NPRR) 208, Registration and Settlement of Distributed Generation (DG) Less Than One MW, conflicts with P.U.C. Subst. R. 25.213, Metering for Distributed Renewable Generation.  Specifically, P.U.C. Subst. R. 25.213(b)(9) requires ERCOT to “develop processes for settlement of electricity consumption and out-flow [by customers with renewable DG] that reflect time of generation by January 1, 2009.”  In its order adopting P.U.C. Subst. R. 25.213, the Commission stated that profiles could be used “as a means of accounting for time of generation.”  Accordingly, if customers with renewable DG are settled using a profile until they can obtain an advanced meter, that profile must approximately represent the time of the DG output in order to satisfy the Commission’s intent.

The equation for reducing the usage of customers with non-photovoltaic DG in Section 11.4.4.3(a) assumes a flat profile, which is not appropriate for all of the DG resources that have been assigned that profile.  For example, it is obvious that distributed wind generation would not have a flat profile, but it would be settled as if it did under the equation in Section 11.4.4.3(a).  From what TIEC understands, all non-photovoltaic DG was grouped together and assigned a flat profile because there was no actual data to use to create a realistic profile.  This does not comport with the Commission’s rules.

TIEC acknowledges that the language in Section 11.4.4.3(a) was transferred from the existing Protocols; however, this error should not be continued in the Nodal Protocols.  TIEC would propose removing this language from NPRR 208 and directing the Profile Working Group (PWG) to develop profiles for non-photovoltaic renewable DG that approximate the time of output.  A Settlement formula consistent with those profiles can then be added to the Nodal Protocols through a separate NPRR.

Proposed Protocol Language Revision

None at this time.

Emphasis added.

Project 34890, Order adopting new P.U.C. Subst. R. 25.213 at 9 (Apr. 24, 2008).

The Commission’s rule only applies to renewable DG.