Date: 	May 27, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Protocol Revision Requests (PRRs), Nodal Protocol Revision Requests (NPRRs), and System Change Requests (SCRs).

The PRS met and discussed several revision requests and presents the following PRRs, NPRRs, and SCR to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [Retail Metering Working Group (RMWG)].

Proposed Effective Date:  August 1, 2010

CEO Determination:  No opinion on whether or not PRR845 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This PRR clarifies the meaning of Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP).  In addition, due to the proposed definition of an IDR Meter, Protocol references to IDR and/or IDR Meter are being updated to ensure appropriate understanding and usage of the terms.

Procedural History:  PRR845 was posted on 1/22/10.  On 2/18/10, PRS unanimously voted to recommend approval of PRR845 as amended by the 2/9/10 ERCOT comments.  On 3/25/10, PRS voted to table PRR845.  There was one abstention from the Independent Generator Market Segment.  On 4/22/10, PRS unanimously voted to recommend approval of PRR845 as amended by the 4/8/10 RMWG comments.  On 5/20/10, PRS voted to endorse and forward the 4/22/10 PRS Report and Impact Analysis for PRR845 to TAC.  There was one abstention from the Municipally Owned Utility (MOU) Market Segment.

  - PRR846, Deadlines for Initiating Alternative Dispute Resolution [Horizon Wind Energy].

Proposed Effective Date:  August 1, 2010

CEO Determination:  No opinion on whether or not PRR846 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This PRR amends Section 20.3, Informal Dispute Resolution, to establish deadlines for the Alternative Dispute Resolution (ADR) procedures.

Procedural History:  PRR846 was posted on 2/15/10.  On 2/17/10, the motion to grant PRR846 Urgent status failed, via PRS email vote.  On 2/18/10, the motion to re-urge Urgency for PRR846 failed, via PRS roll call vote.  On 3/25/10, PRS unanimously voted to recommend approval of PRR846 as amended by the 3/17/10 ERCOT comments and as revised by PRS.  On 4/22/10, PRS unanimously voted to table PRR846 for one month.  On 5/20/10, PRS voted to endorse and forward the 3/25/10 PRS Report as amended by the 5/17/10 Horizon Wind Energy comments and as revised by PRS and Impact Analysis for PRR846 to TAC via roll call vote.

  - PRR849, Suspension of Annual CSC Determination [ERCOT].

Proposed Effective Date:  July 1, 2010

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This PRR revises Section 7.2.1 to suspend Commercially Significant Constraint (CSC) analyses for 2010.

Procedural History:  PRR849 was posted on 5/11/10.  On 5/13/10, the motion to grant PRR849 Urgent status failed, via PRS email vote.  On 5/20/10, PRS unanimously voted to grant PRR849 Urgent status.  PRS then unanimously voted to recommend approval of PRR849 as revised by PRS.  Credit review pending.

NPRRs Recommended for Approval

  - NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841 [Morgan Stanley].

Proposed Effective Date:  Partially Upon Texas Nodal Market Implementation.  Grey-boxed item (2) of Section 5.7.4, RUC Make-Whole Charges, will be Post Texas Nodal Market Implementation Date.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed item (2) of Section 5.7.4, is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.  Impact Analysis for grey-boxed portion will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR changes the wind forecasting methodology to use a 50% probability of exceedance calculation instead of an 80% for Reliability Unit Commitment (RUC) considerations.  This NPRR would align the Nodal Protocols with changes made to the zonal Protocols pursuant to PRR841, Revise Total ERCOT Wind Power Forecast (TEWPF), which was approved by the ERCOT Board on 3/23/10.

Procedural History:  NPRR210 was posted on 2/9/10.  On 2/18/10, PRS voted to recommend approval of NPRR210 as amended by the 2/11/10 Luminant comments and as revised by PRS.  There was one opposing vote from the Independent Generator Market Segment and three abstentions from the Municipal, Investor Owned Utility (IOU), and Independent Retail Electric Provider (IREP) Market Segments.  On 3/25/10, PRS voted to endorse and forward the 2/18/10 PRS Report for NPRR210 as revised by PRS to TAC.  There was one opposing vote from the Independent Power Marketer (IPM) Market Segment and four abstentions from the Consumer, IOU (2), and IPM Market Segments.  On 4/8/10, TAC unanimously voted to remand NPRR210 to PRS.  On 4/22/10, PRS unanimously voted to table NPRR210.  On 5/20/10, PRS voted to recommend approval of NPRR210 as recommended by PRS in the 3/25/10 PRS Report and as revised by PRS and to assign a priority of High to the proposed grey boxed language.  There was one abstention from the IREP Market Segment..

- NPRR212, Disputing Fuel Oil Price (FOP) Costs [CPS Energy].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR212 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR allows for disputes of FOP.

Procedural History:  NPRR212 was posted on 2/11/10.  On 2/18/10, PRS unanimously voted to recommend approval of NPRR212 as amended by the 2/17/10 WMS comments.  On 3/25/10, PRS unanimously voted to table NPRR212.  On 4/22/10, PRS unanimously voted to table NPRR212.  On 5/20/10, PRS unanimously voted to endorse and forward the 2/18/10 PRS Report as amended by the 5/17/10 CPS Energy comments and as revised by PRS and the Impact Analysis to TAC.

- NPRR213, Deadlines for Initiating Alternative Dispute Resolution [Horizon Wind Energy].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This NPRR amends Section 20, Alternative Dispute Resolution Procedures, to establish deadlines for the ADR procedures.

Procedural History:  NPRR213 was posted on 2/25/10.  On 3/25/10, PRS unanimously voted to recommend approval of NPRR213 as amended by the 3/18/10 ERCOT comments and as revised by PRS.  On 4/22/10, PRS unanimously voted to table NPRR213 for one month.  On 5/20/10, PRS voted to endorse and forward the 3/25/10 PRS Report as amended by the 5/17/10 Horizon Wind Energy comments and as revised by PRS and Impact Analysis for NPRR213 to TAC via roll call vote.

  - NPRR217, Resolution of Alignment Item A58 - Use of Different Computational Modules [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Security Sequence since ERCOT does not use the same computational modules to perform both the Real-Time sequence and Day-Ahead and hour-ahead security analysis.

Procedural History:  NPRR217 was posted on 3/23/10.  On 4/22/10, PRS voted to recommend approval of NPRR217 as submitted.  There was one abstention from the Independent Generator Market Segment.  On 5/20/10, PRS unanimously voted to endorse and forward the 4/22/10 PRS Report and Impact Analysis to TAC.

  - NPRR221, Day-Ahead Market and Real-Time Market Default Allocation Changes [MCWG].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact prior to the Texas Nodal Market Implementation Date (to support uplift of Day-Ahead Market (DAM) defaults, ERCOT will utilize the ‘Miscellaneous Invoice’ as a work-around.  There will be a cost impact after the Texas Nodal Market Implementation Date.  Those costs have not yet been determined); no project required prior to the Texas Nodal Market Implementation Date - after the Texas Nodal Market Implementation Date, ERCOT will initiate a project to make system changes which support an automated Default Uplift Invoice; no additional full-time equivalents (FTEs) needed - ongoing support will be absorbed by current staff; no impacts to ERCOT computer systems; current business processes will be modified to accommodate NPRR221; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR changes the way default amounts (amounts owed to ERCOT by defaulting Counter-Party 180 days after the default occurs) in the DAM and Real-Time Market (RTM) are allocated.  This NPRR assigns a share of the default to each Counter-Party based on the greatest of the Counter-Party’s MWh activity in either the Congestion Revenue Right (CRR) market or DAM or RTM at the Counter-Party level for the calendar month prior to the month in which the default occurs.

Procedural History:  NPRR221 was posted on 3/30/10.  On 4/22/10, PRS voted to recommend approval of NPRR221 as revised by PRS.  There was one opposition from the Consumer Market Segment and one abstention from the IPM Market Segment.  On 5/20/10, PRS voted to endorse and forward the 4/22/10 PRS Report as amended by the 5/7/10 ERCOT comments and Impact Analysis for NPRR221 to TAC.  There was one opposing vote from the Consumer Market Segment.  Credit review is pending.

  - NPRR223, Resolution of Alignment Item A73 – Removal of IMM and PUC Staff Nightly Report [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes a reporting requirement.  There are no specific reporting requirements from the Independent Market Monitor (IMM) and Public Utility Commission of Texas (PUCT) for ERCOT to provide a nightly report.  Based on IMM requirements, a nightly report is not required.

Procedural History:  NPRR223 was posted on 4/9/10.  On 4/22/10, PRS unanimously voted to recommend approval of NPRR223 as submitted.  On 5/20/10, PRS unanimously voted to endorse and forward the 4/22/10 PRS Report and Impact Analysis for NPRR223 to TAC.

  - NPRR225, Standard Cost Option in Verifiable Costs [WMS].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR225 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional FTEs needed - ongoing support will be absorbed by current staff; no impacts to ERCOT computer systems; current business processes will be modified to accommodate NPRR225; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides the option for the election of standard Operations and Maintenance (O&M) costs as a component of Startup Costs and minimum energy costs in place of filing verifiable costs.

Procedural History:  NPRR225 was posted on 4/12/10.  On 4/22/10, PRS voted to recommend approval of NPRR225 as amended by the 4/22/10 CPS Energy comments and as revised by PRS.  There was one opposing vote from the Consumer Market Segment and two abstentions from the IOU and IREP Market Segments.  On 5/20/10, PRS voted to endorse and forward the 4/22/10 PRS Report as amended by the 5/11/10 ERCOT comments and Impact Analysis for NPRR225 to TAC.  There was one opposing vote from the Consumer Market Segment and one abstention from the IREP Market Segment.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

  - NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841 [Morgan Stanley].

Only grey box item (2) of Section 5.7.4 recommended for inclusion in the parking deck (See NPRRs Recommended for Approval for additional information).

  - NPRR222, Half-Hour Start Unit RUC Clawback (Companion to NPRR207) [WMS].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This NPRR removes RUC Clawback on all Half-Hour Start Units (a) that participate in the DAM and (b) during Energy Emergency Alert (EEA) events.  This NPRR also changes the RUC Clawback on all Half-Hour Start Units that did not participate in the DAM to 50%.

Procedural History:  NPRR222 was posted on 4/22/10.  On 4/22/10, PRS unanimously voted to recommend approval of NPRR222 as submitted.  On 5/20/10, PRS unanimously voted to endorse and forward the 4/22/10 PRS Report and Impact Analysis for NPRR222 to TAC and to recommend a priority of High.

  - SCR756, Enhancement to the MarkeTrak Application [MarkeTrak Task Force (MTTF)].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This SCR will add functionality to the MarkeTrak Issue Resolution Tool to improve and standardize Market Participant administration functions, implement ERCOT validations requested by the MTTF, and redesign the workflows to leverage potential vendor upgrades to the MarkeTrak application.

Procedural History:  SCR756 was posted on 5/6/10.  On 6/10/09, RMS unanimously voted to recommend approval of SCR756 as submitted.  On 7/15/09, RMS unanimously voted to refer SCR756 to the MTTF.  On 8/12/09, RMS unanimously voted to table SCR756.  On 5/12/10, RMS unanimously voted to endorse and forward the 6/10/09 RMS Recommendation Report as amended by the 5/5/10 MTTF comments and Impact Analysis for SCR756 to PRS with a recommended priority of Critical.  On 5/20/10, PRS unanimously voted to endorse and forward the 5/12/10 RMS Report and Impact Analysis for SCR756 to TAC and to recommend a priority of Critical.  Credit review not applicable.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the June 17, 2010 PRS Meeting

  - PRR847, Additional Exemptions for Uninstructed Resource Charge [Formosa]

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR224 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes two changes to Section 6.8.1.15.1: (1) When a Qualified Scheduling Entity (QSE) is given a Verbal Dispatch Instruction (VDI) from ERCOT, the QSE shall be exempt from any Uninstructed Resource Charge during the specified VDI time period, provided that the QSE followed instructions to within the Schedule Control Error (SCE) of the VDI given; and (2) After a Load acting as a Resource (LaaR) has been activated, the QSE representing the LaaR can request a three hour extension for scheduling under paragraph (11) of Section 6.10.6, Ancillary Service Deployment Performance Conditions, and during this rescheduling time, a Private Use Network shall not incur Uninstructed Resource Charges for three hours as the Load returns back to service.

Procedural History:  PRR847 was posted on 3/15/10.  On 4/22/10, PRS unanimously voted to table PRR847.  On 5/20/10, PRS unanimously voted to recommend approval of PRR847 as amended by the 5/13/10 Formosa comments.  Credit review is pending.

  - NPRR224, Remove Dynamic Rating Requirements for Annual Planning Models [Steady State Working Group (SSWG)]

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR224 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the use of Dynamic Rating for Annual Planning Models.

Procedural History:  NPRR224 was posted on 4/9/10.  On 4/22/10, PRS unanimously voted to refer NPRR224 to ROS.  On 5/20/10, PRS voted to recommend approval of NPRR224 as submitted.  There was one opposing vote from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR226, Procedure for Setting DAM Auction Credit Requirement Parameters [ERCOT]

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides language revisions to align the Nodal Protocols with the procedure developed to implement the changes approved by the ERCOT Board in NPRR206, Nodal Market Day-Ahead Market Credit Requirements, on 2/16/10.

Procedural History:  NPRR226 was posted on 4/16/10.  On 5/20/10, PRS voted to recommend approval of NPRR226 as amended by the 5/19/10 WMS comments.  There were three abstentions from the IPM, Consumer, and MOU Market Segments.  Credit review is pending.

  - NPRR227, Termination of Access Privileges to Restricted Computer Systems and Control Systems [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with the language in the zonal Protocols pursuant to PRR822, Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities formerly  Removing of Access to Restricted Computer Systems, Control Systems, and Facilities.  PRR822 was approved by the ERCOT Board on 10/21/09.

Procedural History:  NPRR227 was posted on 4/23/10.    On 5/20/10, PRS unanimously voted to recommend approval of NPRR227 as submitted.  Credit review is pending

  - NPRR229, Additions to Section 2, Definitions and Acronyms [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR225 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR incorporates certain definitions and acronyms from the zonal Protocols for terms that are used in the Nodal Protocols but are not defined in Section 2, Definitions and Acronyms.

Procedural History:  NPRR229 was posted on 4/29/10.  On 5/20/10, PRS unanimously voted to recommend approval of NPRR229 as submitted.  Credit review is pending.

  - NPRR230, Resolution of Alignment Items A40, A108, A127 and A138 and Clarification/Updates to Load and Demand Forecast, Statement of Opportunities, and Long Term Wind Power Forecast [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A40, A108, A127, and A138 and provides clarification of the three-year Load and Demand forecast requirements as well as consistency for the medium-term System Adequacy Report.  The requirement to develop profile functionality for a Long-Term Wind Power Forecast has been removed.

Procedural History:  NPRR230 was posted on 5/7/10.  On 5/20/10, PRS unanimously voted to recommend approval of NPRR229 as revised by PRS.  Credit review is pending.

  - NPRR235, Resolution of Alignment Items A36 and A131 and Clarification of Miscellaneous Requirements [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A36 and A131 by clarifying Market Information System (MIS) posting requirements and validation of QSE telemetry for Ancillary Services Resource Responsibility and clarifies RUC initialization to data bases.

Procedural History:  NPRR235 was posted on 5/13/10.  On 5/20/10, PRS voted to approve NPRR235 as submitted.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR239, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR proposes a requirement that certain Wind-powered Generation Resources (WGRs) limit the unit ramp rate to 10% per minute of their nameplate rating as registered with ERCOT.  The proposed language is based on the concept set forth in zonal Protocol Section 6.5.13, WGR Ramp Rate Limitations.

Procedural History:  NPRR239 was posted on 5/13/10.  On 5/20/10, PRS voted to recommend approval of NPRR239 as submitted.  There were two abstentions from the Consumer and Independent Generator Market Segments.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR826, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that PRR826 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  PRR826 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table PRR826 for one month.  On 9/17/09, PRS unanimously voted to table PRR826 for one month.  On 10/22/09, PRS unanimously voted to table PRR826 for one month.  On 11/19/09, PRS unanimously voted to table PRR826.  On 12/17/09, PRS unanimously voted to table PRR826 indefinitely.  Credit review is pending.

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  On 12/17/09, PRS unanimously voted to table PRR834 until after the Load forecasting workshop.  Credit review is pending.

  - PRR843, Add Regional Planning Section to Protocols [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR843 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This PRR adds the entirety of the Regional Planning Group (RPG) Charter and Procedures (Charter) document, as it was recently approved by the ERCOT Board, to the Protocols.

Procedural History:  PRR843 was posted on 12/18/09.  On 1/21/10, PRS unanimously voted to create a task force to discuss the policy issues relating to PRR843, to refer PRR843 to the task force, and to instruct the task force report back at the February 2010 PRS meeting.  On 2/18/10, PRS unanimously voted to table PRR843 indefinitely.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  Credit review is pending.

  - NPRR216, Allow ERCOT Option to Cancel Commitments Previously Issued Through RUC [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds statements allowing ERCOT the option of cancelling commitments, prior to breaker close, previously issued through RUC.

Procedural History:  NPRR216 was posted on 3/22/10.  On 4/22/10, PRS unanimously voted to table NPRR216.  On 5/20/10, PRS unanimously voted to table NPRR216 until ERCOT Board approval of NPRR207, Unit Deselection (formerly “Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback”).  Credit review is pending.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require the Resource Entity to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself.  This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS.

Procedural History:  NPRR219 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to table NPRR219.  On 5/20/10, PRS unanimously voted to table NPRR219.  Credit review is pending.

  - NPRR228, Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the Nodal Protocol language to include a description of the treatment and Settlement of Combined Cycle Generation Resources in the ERCOT Day-Ahead, reliability and Real-Time systems.

Procedural History:  NPRR228 was posted on 4/23/10.  On 5/20/10, PRS unanimously voted to table NPRR228 for one month.  Credit review is pending.

  - NPRR231, Remove RMR Units from the Day-Ahead Market [Luminant].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR231 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes ERCOT’s ability to submit Three-Part Supply Offer curves for any Generation Resource providing Reliability Must-Run (RMR) Service from participation in the DAM and the Day-Ahead Reliability Unit Commitment (DRUC) process.  However, ERCOT will still have the ability to use an RMR Resource to resolve local congestion issues through VDI.

Procedural History:  NPRR231 was posted on 5/7/10.  On 5/20/10, PRS unanimously voted to table NPRR231.  Credit review is pending.

  - NPRR232, Clarification of Block Load Transfer Registration and Deployment [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR232 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to clarify the purpose of registering Block Load Transfers (BLTs) and to specify the instances of Load transfer between Control Areas for which registration is required or when optional.  The proposed revision clarifies the role of Market Participants regarding registering a BLT and related roles.

Procedural History:  NPRR232 was posted on 5/7/10.  On 5/20/10, PRS unanimously voted to table NPRR232 for one month.  Credit review is pending.

  - NPRR233, Clarifying Method of Enforcing CRR Auction Limitation on Market Submissions [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the procedures and system configurations that will be utilized to ensure market transactions for CRR Auctions do not exceed the system capabilities.

Procedural History:  NPRR233 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR233 for one month.  Credit review is pending.

  - NPRR236, Resolution of Alignment Item A83 partially, A86, A87 partially, A88 partially, and A142 - Clarify Default Actions for Missing Data and Range of Valid Data Entries for Energy Offers [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies system actions if the QSE cancels a Resource Parameter submission, if a Current Operating Plan (COP) is not submitted for any hour, and/or if a conflict in Resource Status is encountered.  The NPRR also clarifies that in each hour only one Combined Cycle Generation Resource in a Combined Cycle Train may be assigned one of the On-Line Resource Status codes.

Procedural History:  NPRR236 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR236.  Credit review is pending.

  - NPRR237, Resolution of Alignment Items A22, A143, A148, A153, A160 and A169 – Clarification of NERC Reliability Standards and MIS Posting Requirements [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A22, A143, A148, A153, A160 and A169 by clarifying the role of North American Electric Reliability Corporation (NERC) Reliability Standards in relation to Protocols and several MIS posting requirements.

Procedural History:  NPRR237 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR237 for one month.  Credit review is pending.

  - NPRR238, Resolution of Alignment Item A47, A59, A104, A105, A114, A115, A130, A188, and A189 - Provides Clarification and Updates to Network Operations Model Processes for Resource Entities [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A47, A59, A104, A105, A114, A115, A130, A188, and A189 by clarifying Network Model updates processes including clarification of the role the resource registration process in the model updates as well as the data submittal time requirements for Resource Entities.

Procedural History:  NPRR238 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR238.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- PRR838, Fast Response Distributed Energy Resource (DER) [Enchanted Rock].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR allows for participation of Distributed Energy Resources (DERs) in Responsive Reserve Service (RRS) on an equivalent basis with synchronous condenser fast-response hydro.

Procedural History:  PRR838 was posted on 10/22/09.  On 11/19/09, PRS unanimously voted to refer PRR838 to the ROS with instruction to have the Performance, Disturbance and Compliance Working Group (PDCWG) assist in constructing the DER operational prototype test, to provide transparency to Market Participants on the type of the test and to report the results to ROS.  Credit review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the CRR Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the Transition Plan Task Force (TPTF) for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

  - NPRR218, Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in the SCED [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will add a description of the power balance penalty factor to the Nodal Protocol sections that describe the implemented constraint set utilized in the Security Constrained Economic Dispatch (SCED) optimization.

Procedural History:  NPRR218 was posted on 3/23/10.  On 4/22/10, PRS unanimously voted to table NPRR218.  On 5/20/10, PRS unanimously voted to refer NPRR218 to WMS and NATF.  Credit review is pending.

  - NPRR220, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement to declare an EEA prior to deploying more than 500 MW of RRS.

Procedural History:  NPRR220 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to refer NPRR220 to ROS.  Credit review is pending.

  - NPRR234, Resolution of Alignment Item A32, A147, A155, A159, and A187 - Clarify General Capacity Testing and Net Dependable Capability [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies Seasonal reporting of Net Dependable Capability (NDC).  The NPRR also clarifies unannounced testing of High Sustained Limit (HSL).

Procedural History:  NPRR234 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to refer NPRR234 to WMS.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the June 17, 2010 PRS Meeting

  - NPRR240, Proxy Energy Offer Curve [Potomac Economics].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR states that the creation of a proxy energy offer curve by ERCOT for use in SCED will be considered for all purposes to be the same as the submission of an offer by a QSE.

Procedural History:  NPRR240 was posted on 5/26/10.  Credit review is pending.