| PRR Number | 791 | PRR Title | Shortage Pricing Mechanism |
| --- | --- | --- | --- |
| Date |  | February 4, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kenan Ögelman |  |
| E-mail Address |  | kogelman@cpsenergy.com |  |
| Company |  | CPS Energy |  |
| Phone Number |  | 512 542-7594 |  |
| Cell Number |  | 512 423-3570 |  |
| Market Segment |  | Municipal |  |

Comments

CPS Energy would like to offer comments regarding the values for the variables: X, Y, and Z that are in PRR791.

After consideration of the 12/18/08 WMS comments and analyzing the mechanism envisioned by PRR791, CPS Energy would recommend the following values:

X = 20;

Y = 500;

Z = system-wide offer cap.

CPS Energy differs from the WMS recommendation on the value of “X” which is the size in MWs of the bid curves in each Congestion Zone.  CPS asserts that a bid curve covering a price change between $500/MWh to the system-wide offer cap ($2250/MWh) over 5 MWs per zone and 20 MWs system-wide is too drastic a slope for the bid curve.  Instead CPS Energy recommends a value of 20 for X.  This would mean the bid curve will be cover 20 MWs per zone and 80 MWs system wide.

In picking the value of 20 for X we attempted to find a balance between an appropriate slope for the bids and operational concerns that arise for ERCOT if X becomes too large.

Revised Proposed Protocol Language

None at this time.