| PRR Number | 791 | PRR Title | Shortage Pricing Mechanism |
| --- | --- | --- | --- |
| Date |  | March 17, 2009 |  |
| Meeting |  | ERCOT Board of Directors |  |

Comments

At the March 17th ERCOT Board meeting, the motion to approve PRR791 as amended by the 3/2/09 Calpine comments and as revised by the ERCOT Board and to assign the variables “X”, “Y”, and “Z” in Section 6.5.2.2, Shortage Pricing Mechanism, values for the first sixty (60) Operating Days after implementation (“X”=20, “Y”=500, and “Z”=$1,500) after which the value for “Z” shall be set to the then effective system-wide offer cap, failed.

The failed language is as follows.

Failed Protocol Language

6.5.2.2	Shortage Pricing Mechanism

For hour ending 0700 through hour ending 2200:

(1)	ERCOT shall place Balancing Energy Service Up bid curves in each Congestion Zone with two points:

(a)  zero (0) MW at $Y/MWh; and

(b)  X MW at $Z/MWh,

These bid curves will be incorporated into the corresponding BES bid curve for each zone in accordance with Section 6.5.2, Balancing Energy Service.

(2)	The ramp rate associated with the curve shall be capable of fully deploying X MWs in a single interval.

(3)	The values of “X”, “Y”, and “Z” shall be recommended by the Technical Advisory Committee (TAC) and approved by the ERCOT Board at least annually or whenever the system-wide offer cap is changed.

(4)	The values of “Y” and “Z” shall not exceed the system-wide offer cap.

(5)	The values of “X”, “Y”, and “Z” shall be posted on the Market Information System (MIS).