CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | April 16, 2010 |
| Revision Request Number | OGRR238 |
| Revision Request Name | WGR Primary Frequency Response |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Operating Guide Revision Request (OGRR) 238, WGR Primary Frequency Response, includes: - New procedures for testing Wind-powered Generation Resource (WGR) Primary Frequency Response (new Section 6.2.1.7); - A new definition that applies testing of WGRs to the aggregation of all WGRs at a site; - Clarifying wording for all generators’ Primary Frequency Response design requirements (Section 2.2.5); and - A general change of “governor” to “Governor” in recognition of the fact that Governor is now a defined term in Protocol Section 2.1, Definitions. ERCOT has performed an initial assessment of OGRR238 and determined that it will not impact Nodal systems as long as the definition of Aggregated Wind-powered Generation Resource (AWGR) applies to testing only. As such, the ERCOT CEO has no opinion on whether or not OGRR238 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). The ERCOT CEO has the right to reevaluate the OGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: No impact as long as the definition of AWGR, as defined in OGRR238, is applicable to testing only..