| I. Revision Request Details |  |
| --- | --- |
| Date | February 17, 2010 |
| Revision Request Number | NOGRR035 |
| Revision Request Name | Synchronization - Special Protection System Monitoring Requirement |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Operating Guide Revision Request (NOGRR) 035, Synchronization - Special Protection System Monitoring Requirement, requires automated notification of Special Protection System (SPS) status and clarifies SPS arming and reporting requirements. NOGRR035 synchronizes Nodal Operating Guide language with Zonal Operating Guide language as a result of OGRR241, Special Protection System Monitoring Requirements. Since it would be problematic to use outdated language, it is imperative that the Nodal Operating Guides are synchronized with the current Zonal Operating Guides in order to have a clear transition from one set of rules to another set of rules for ERCOT and Market Participants to operate within. Furthermore, after initial review, NOGRR035 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the NOGRR to proceed in the stakeholder review process. Assuming OGRR241 is approved, the ERCOT CEO has determined that NOGRR035 is necessary prior to the Texas Nodal Market Implementation Date (i.e., Nodal Go-Live). Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.