| I. Revision Request Details |  |
| --- | --- |
| Date | March 26, 2010 |
| Revision Request Number | OGRR243 |
| Revision Request Name | Disturbance Monitoring Requirements Clarification |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Operating Guide Revision Request (OGRR) 243, Disturbance Monitoring Requirements Clarification, changes data recording and reporting requirements for equipment operating at 100kV or above at Facilities where fault recording equipment is required. After initial review, OGRR243 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the OGRR to proceed in the stakeholder review process. As such, the ERCOT CEO has no opinion on whether or not OGRR243 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the OGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.