CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | June 4, 2010 |
| Revision Request Number | NPRR146 |
| Revision Request Name | ICCP Telemetry Information Submittals |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live (applicable only to grey box item) No opinion on the need for Go-Live |  |
| ERCOT has reviewed the 6/3/10 TAC Report for NPRR146, ICCP Telemetry Information Submittals. ERCOT revises its 2/18/09 CEO comments, that NPRR146 is not necessary prior to the Texas Nodal Market Implementation Date (TNMID), to state that the ERCOT CEO has no opinion whether or not NPRR146 is necessary prior to TNMID. ERCOT would also like to note that the grey boxed items remain not needed for go-live and should be placed on the parking deck for consideration post Texas Nodal Market Imlementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Grey-boxed items. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: The statement of no impact is only applicable to un-boxed NPRR language..