## Slide 1
RELIABILITY AND OPERATIONS SUBCOMMITTEE Report to TAC Austin, TX June 3, 2010
Kenneth A. Donohoo, P.E.
Chairperson
Oncor Electric Delivery Company LLC

## Slide 2: TAC Voting Items
OGRR238, WGR Primary Frequency Response
  Provides further specificity needed as the result of the adoption of PRR824, Primary Frequency Response from WGRs
  Significant information has been provided in comments
  Benefit: Provides additional frequency control resources to the system thus enhancing reliability; will allow ERCOT to utilize more wind-powered
  Impact: Increased cost for equipment and operations of WGRs; reduced production cost for ERCOT as a whole

## Slide 3: TAC Voting Items
OGRR240, CREZ Facility Protection and Control Requirements
  Provides requirements for the protection and control for the CREZ transmission system that supports the transfer of renewable energy reliably from remote areas to large Load centers.
  Significant information has been provided in comments
  Benefit: reliable transmission of renewable energy across the ERCOT Region, promoting environmental conservation and economic power to reliably support Texas commerce
  Impact: Elevated protection and control standards promote ERCOT System stability while maximizing the utilization of renewable energy Resources

## Slide 4: ROS Next Meetings
Thursday, June 10, 9:30 AM at ERCOT Austin
  Long List of Voting Items
  TSP Load Forecasting and SSWG Base Cases
Friday, June 25, 9:30 AM at ERCOT Austin
  ERCOT Voltage Ride Through (VRT) Study Recommendations
  Planning Working Group (PLWG)
    Version 0 Planning Guide Vote
    Guide revision and change process, approval levels
    Other special topics being developed

## Slide 5: ROS Procedures
Stakeholder Structure
  Reports to TAC
Operations and Planning
Evaluates and Reviews ERCOT System Studies
Reviews Operations
  System Security
  Operating Guides Application
  Emergency Operations
Operating Guides and Planning Criteria
  Development
  Review
  Maintenance
Protocol Review
  Identify impacts to system reliability and operations
  Ancillary Service Provision
  Commercially Significant Constraints

## Slide 6: ROS Procedures
Review ERCOT Reports and Procedures
  Planning Assessment
  Blackout restoration procedures
  Coordination of protective relay settings
  Operational communication facilities
  Operating reserve obligations
  Emergency operations
  Abnormal system conditions
  Transmission interconnections to generation
  Coordination of outage schedules
  Other activities as they apply to reliability and operations

## Slide 7: ROS Procedures
Working Groups
  All actions are subject to subcommittee review
  Report planned activities/projects and results for review
  Submit any budget requirements (forwarded to TAC for approval)
    Dynamics
    Network Data Support
    Operations
    Performance, Disturbance, and Compliance
    Steady State
    System Protection
Task Forces
  Black Start (reports to OWG)
  Operations (reports to OWG)
    Plans and coordinates the annual Winter Storm Drill
    Operational issues as assigned by the OWG
  Wind Operations (no longer active)
  Long-Term Solution (not active)

## Slide 8: ROS Planning Working Group
Development of Planning Guides and Planning Working Group (PLWG)
  Increases focus on planning activities
  Bring all planning related documents together
  Increase transparency and communication
  Use same change control process as Protocols with approval to ERCOT Board (under review)
  Include planning charter, generation interconnect procedures, criteria and all procedures in one guide
  Consolidate several separate working groups under the new working group

## Slide 9: PLWG Scope
Non-voting group open to all stakeholders, PUCT Staff and ERCOT
Reports to the Reliability and Operations Subcommittee (ROS) on a regular basis
The ROS approves the PLWG chair and subgroup chairs as recommended by PLWG
The chair schedules meetings as required to discharge its responsibilities
When consensus cannot be achieved on an issue, the issue should be fully described and options presented to the ROS for disposition

## Slide 10: PLWG Scope
Functions of the PLWG include:
  Review the criteria, processes and data provision requirements included in the Planning Guides, to identify any needed improvements and recommend appropriate solutions for ROS action or approval.
  Review proposed Planning Guides Revisions and make recommendations for ROS approval.
  Assignments from the ROS

## Slide 11: PLWG Scope
Functions of the PLWG include:
  Review Planning Guides for alignment with North American Electric Reliability Corporation (NERC) Reliability Standards requirements and recommend appropriate Regional Standard Authorization Requests (SARs), Planning Guide Revision Requests (PLGRRs), or Protocol Revision Requests (PRRs) as needed.
  Assist with review and analysis of unusual or emergency type events having a significant impact on ERCOT

## Slide 12: Planning Guides Staging
Rev 0 indicates inserting document without change.
Rev 1 indicates inserting document with moves and deletions
Rev 2 indicates inserting new or significantly revised document