CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | February 25, 2010 |
| Revision Request Number | NPRR213 |
| Revision Request Name | Deadlines for Initiating Alternative Dispute Resolution, sync to PRR846 |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 213, Deadlines for Initiating Alternative Dispute Resolution, amends Sections 20.3, Informal Dispute Resolution, 20.4, Mediation Procedures and 20.5.2, Selection of Arbitrators to establish deadlines for the Alternative Dispute Resolution (ADR) procedures. NPRR213 synchronizes Nodal Protocol language with zonal Protocol language as a result of PRR846, Deadlines for Initiating Alternative Dispute Resolution. Since it would be problematic to use outdated Protocol language, it is imperative that the Nodal Protocols are synchronized with the current zonal Protocols in order to have a clear transition from one set of rules to another set of rules for ERCOT and Market Participants to operate within. Furthermore, after initial review, NPRR213 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the NPRR to proceed in the stakeholder review process. Assuming PRR846 is approved, the ERCOT CEO has determined that NPRR213 is necessary prior to the Texas Nodal Market Implementation Date (TNMID) (i.e., Nodal Go-Live). Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: PRR846; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.