Revised CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | May 27, 2010 |
| Revision Request Number | NPRR210 |
| Revision Request Name | Wind Forecasting Change to P50, Synchronization with PRR841 |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live (applicable only to grey box item (2) of Section 5.7.4) No opinion on the need for Go-Live |  |
| ERCOT has reviewed the 5/20/10 PRS Report for NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841. ERCOT retains its 2/9/10 CEO determination that NPRR210 is necessary prior to the Texas Nodal Market Implementation Date but notes that the grey box item (2) of Section 5.7.4, RUC Make-Whole Charges, is not needed for go-live and should be placed on the parking deck for consideration post Texas Nodal Market Imlementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Applicable only to grey box item (2) of Section 5.7.4.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.