| NPRR Number | 218 | NPRR Title | Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in the SCED |
| --- | --- | --- | --- |
| Date |  | May 17, 2010 |  |
| Submitter’s Information |  |  |  |
| Name |  | Matt Mereness |  |
| E-mail Address |  | mmereness@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3089 |  |
| Cell Number |  |  |  |
| Market Segment |  | NA |  |

Comments

ERCOT proposes the following changes to Nodal Protocol Revision Request (NPRR) 218, Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in SCED to better describe the process associated with the approval of the methodology for determining the amount of the transmission network and power balance maximum Shadow Prices referenced in Protocol Section 6.5.7.1.11, Transmission Network and Power Balance Constraint Management.  The proposed process contemplates that:

- ERCOT will develop a recommended methodology for calculating the suggested amounts for the transmission network and power balance Shadow Price caps, subject to ERCOT Board approval;

- TAC will review ERCOT’s submittal and make recommendations concerning approval of the methodology and amount of the Shadow Prices caps to the ERCOT Board; and

- The ERCOT Board will approve ERCOT’s methodology and the amount of the Shadow Price caps.

Additionally, this proposal will allow ERCOT in consultation with the Independent Market Monitor (IMM) and only under emergency circumstances to make changes to the approved methodology and amount of the Shadow Price caps without prior ERCOT Board approval.  In the event that ERCOT takes such actions, it must notify the IMM, the Public Utility Commission of Texas (PUCT) and Market Participants of its actions including the justification for taking such action.

Revised Proposed Protocol Language

6.5.7.1.11	Transmission Network and Power Balance Constraint Management

(1)	ERCOT may not allow any contingency anticipated to be active in SCED, identified by NSA, until it has verified that the contingency is accurate and appropriate given the current operating state of the ERCOT Transmission Grid.  ERCOT shall continuously post to the MIS Secure Area any active contingencies in SCED and any contingencies that it has determined to be inaccurate or inappropriate and thus excluded from SCED under Section 5.5.1, Security Sequence.  The ERCOT System Operator will flag for further review by ERCOT any contingencies deemed inaccurate or inappropriate.

(2)	ERCOT shall establish a maximum Shadow Price for each network constraint as part of the definition of contingencies.  The cost calculated by SCED to resolve an additional MW of congestion on the network constraint is limited to the maximum Shadow Price for the network constraint.

(3)	ERCOT shall establish a maximum Shadow Price for the power balance constraint.  The cost calculated by SCED to resolve either the addition or reduction of one MW of dispatched generation on the power balance constraint is limited to the maximum Shadow Price for the power balance constraint.

(4)	ERCOT shall determine the methodology for setting maximum Shadow Prices for network constraints and for the power balance constraint. The ERCOT Board shall review and approve ERCOT's methodology for setting maximum Shadow Prices.

(5)	The process for setting the maximum Shadow Prices as described above shall require ERCOT to obtain TAC recommendation and Board approval of the values assigned to these caps along with the effective date for application of the cap.  Within two Business Days following approval by the ERCOT Board, ERCOT shall post the Shadow Price caps and effective dates on the MIS Public Area.

(6)	In consultation with the Independent Market Monitor (IMM), ERCOT may revise the methodology and establish new Shadow Price caps without prior ERCOT Board approval only under emergency circumstances.  ERCOT shall notify the Board, the IMM, and the Public Utility Commission of Texas (PUCT) of such an emergency revision within one Business Day of such an action along with a description of the emergency circumstances and ERCOT’s justification.  ERCOT shall post the revised methodology, the effective date of new Shadow Price caps, and the justification for these changes on the MIS Public Area within one Business Day following such action.  All changes shall be submitted to the ERCOT Board for its consideration and subsequent action as it deems appropriate.

(7)	When ERCOT identifies a binding network constraint on a repeated basis ERCOT shall have procedures established to contact the appropriate TSP and validate the accuracy of the Network Operations Model according to paragraph (5) of Section 3.10.4, ERCOT Responsibilities.

(8)	If ERCOT determines that rating(s) in the Network Operations Model or configuration of the Transmission Facilities are not correct, then the TSP will provide the appropriate data submittals to ERCOT to correct the problem upon notification by ERCOT.

6.5.7.3	Security Constrained Economic Dispatch

(1)	The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes.  The SCED process uses a two-step methodology that applies mitigation prospectively to resolve network Non-Competitive Constraints for the current Operating Hour.  The SCED process evaluates Energy Offer Curves and Output Schedules to produce a least cost dispatch of On-Line Generation Resources to the total current generation requirement determined by LFC, subject to power balance and network constraints.  The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP.