## Slide 1: Brazos Electric Load Forecast Methodology
David Albers, P.E.
Manager – System Planning

## Slide 2: Cooperative Effort
Planning department holds annual meetings with member cooperatives to discuss load projections and future needs
  Brazos 16 member cooperatives, including Bartlett, Comanche, Cooke, CoServ, Ft Belknap, Hamilton, HILCO, Heart of Texas, JAC, Mid-South, Navarro, Navasota Valley, South Plains, Tri-County, United Cooperative Services, and Wise County, provide service to 68 counties in Texas
Cooperatives provide a 6-year non-coincident summer and winter peak forecast for each load
  Methods for forecasting the loads may vary but are generally the same, Rural Utilities Service (RUS) borrowers follow RUS procedures
In conjunction with cooperatives, Brazos power supply group develops a yearly summer and winter coincident Brazos peak forecast
  Brazos Electric follows RUS guidelines, econometric (historical data, statistics, demand class, weather) methods

## Slide 3: Load Forecast
The non-coincident cooperative forecast peak loads are scaled down to match Brazos coincident peak forecast.
  Brazos winter coincident peak load is normally around 90% of the previous years summer peak
All off peak case loads are based off a historical ratio of the appropriate season to the summer peak
These Brazos coincident loads are applied to the ERCOT cases in order for Brazos to review, analyze and correct system deficiencies associated with Brazos facilities, if any

## Slide 4: Questions?