## Slide 1: Load Projections / Forecasting
Dwain Duke, PE
Blake Williams, PE

## Slide 2: System Demand

## Slide 3: Forecasting
Feeder Forecast Starts at Customer Level
  New Subdivisions
  New Commercial Development
  Small Base Load Growth
  Potential Loads from Economic Development Activities
  Conservative (larger values)
Feeder Combined to Transformer Forecast
Transformer Combined to Substation Forecast
Substation Forecast entered into ALDR
ALDR
  Non-coincident Load is the sum of Substation Forecast
  Load Coincident with ERCOT is based on actual coincidence factors

## Slide 4: System Forecast

## Slide 5: Base Case Load
Substation Loads are adjusted to CPS Energy Coincidence
  Coincidence Factor is based on actual System Coincidence

## Slide 6: Base Case Load