| NOGRR Number | 028 | NOGRR Title | Synchronization - Backup Control Plan Submission Process |
| --- | --- | --- | --- |

| Date | April 27, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Henry Wood |
| E-mail Address | hwood@stec.org |
| Company | South Texas Electric Cooperative |
| Phone Number | 361-485-6304 |
| Cell Number | 361-550-5540 |
| Market Segment | Cooperative |

Comments

South Texas Electric Cooperative (STEC) agrees with the 4/26/10 CenterPoint Energy comments.  STEC believes CenterPoint has correctly removed language that posed possible conflict and duplication. The executed NERC Joint Registration Organization/Coordinated Functional Registration Agreement for the NERC Transmission Operator Function (TOP/JRO) agreement between ERCOT and the parties identified by ERCOT and TRE as local control centers requires meeting North American Electric Reliability Corporation (NERC) Reliability Standard EOP-008-0, Plans for Loss of Control Center Functionality. This Reliability Standard was the reason for Operating Guide Revision Request (OGRR) 119, QSE Scheduling Center Backup Plan, the original Operating Guide revision in 2002, requiring the filing of backup control center plans.  Additionally, STEC believes that CenterPoint’s comments support the reason for revision provided by the Operations Working Group (OWG):

“The current language does not state the frequency and process for submittal of backup control plans”.

CenterPoint’s language achieves this and removes requirements now covered under the TOP JRO.

In addition, CenterPoint has identified areas of the Nodal Operating Guides included in Sections 3.2.1, Operating Obligations and 3.9, Transmission Operators, that conflicts with functions assigned in the TOP/JRO agreement.  STEC contends there are additional Operating Guide Revisions needed to assist in defining the functions necessary for maintaining grid reliability along with the compliance of ERCOT and other participants registered with NERC.

Revised Proposed Guide Language

None at this time.