## Slide 1
<number>
CenterPoint Energy Load Determination For Transmission Planning Base Cases
Presented by
Wayne Kemper
06/10/2010

## Slide 2: Overview
<number>
Forecasts of individual substation loads are provided to ERCOT using the Annual Load Data Request (ALDR) submittal and these loads are modeled in the Transmission Planning Base Cases.
A description of the process used in formulating the forecast is provided as part of the ALDR.
The 2009 CNP peak load on June 29th was approximately 3.5% (561MW) greater than the CNP load (15679 MW) at the time of the ERCOT peak on Aug 13th.
The distribution portion of the forecast is provided by the CenterPoint Energy Distribution Planning and is the same forecast used for planning the distribution system.
The transmission customer portion of the forecast is provided by the Transmission Planning Department.

## Slide 3: Distribution Load Determination
<number>
Distribution load contributed approximately 86% (13920MW) of the total CenterPoint Energy load for the 2009 coincident peak of 16240 MW.
The forecast is based on historical peak day data and input from personnel developing distribution plans for residential, commercial and small industrial customer expansions.
The forecast factors in load growth, ambient temperature adjustments and historical distribution peak load.

## Slide 4: Transmission Level Customer Load Determination
<number>
Transmission level load, primarily industrial, contributed approximately 14% (2320 MW) of the total Center Point Energy load for the 2009 peak of 16240 MW.
Load is concentrated geographically, for example in the ship channel area, and individual substation peaks may overlap.
Transmission customers are surveyed annually and the results are incorporated into the forecast.
The forecast factors in the customer surveys and historical peaks with adjustments for spikes and anomalies.

## Slide 5: Summary
<number>
Prudent planning of the Houston area transmission grid includes planning for Houston area peak loads - not the Houston load at the time of the ERCOT peak.
CenterPoint Energy has a track record over many years of providing reliable, timely and economic transmission expansion using this load forecasting methodology.
Peak base cases are developed by TSP’s for use in planning their systems.
CenterPoint Energy recognizes that it is appropriate to use other forecasts, for example the ERCOT coincident peak load forecast, for some studies.
ERCOT Planning has successfully implemented other forecasts for many studies including economic evaluations in the Five-Year Transmission Plan.