SSWG REPORT TO ROS

June 2010

- SSWG has met twice since the May ROS meeting, May 26 and June 9.

- SSWG is still correcting Connectivity Node Groups.  As of May 28, 278 Connectivity Node Groups need to be given appropriate PSSE bus numbers.  36 of these were originally assigned by ERCOT because they could not be matched to a PSSE bus.  SSWG members agreed to correct these 36 by June 4, so that Phase 2 corrections could begin.

- SSWG will begin Phase 2 of Information Model Management (IMM) corrections/updates in June.  This will include correcting PSSE Area and Zone #s, PSSE Load, Branch, and Generator IDs.  ERCOT agreed to allow spreadsheet changes for all data except for Branch IDs and create batch NOMCRs for SSWG members.  Due date for changes is July 1.

- ERCOT has received the latest Topology Processor enhancements, which includes radial line reduction and multi-section line creation.  ERCOT is testing and expects to be using the latest TP version soon.

- SSWG will seek approval of SCR759 at the July ROS meeting.

- SSWG continues to work on the 11DSA cases.  One of the subjects that has arisen involves Wind Generator modeling in SSWG cases matching Wind Generator RARF data.  For the June 9 conference call, SSWG, DWG, SPWG, NDSWG, and PLWG were invited to participate in this discussion.

- At the request of the PLWG, SSWG members are currently reviewing the SSWG Procedure Manual and identifying those items that should be considered binding and included in the future Planning Guides, while removing parts of the manual that are more informational or educational in nature.  The draft of this review is due to PLWG in July.

- Calendar with all SSWG activities included (Nodal Planning Model related):

  - June – August	Make remaining changes to IMM prior to Planning Go-Live

  - June 11  	Pass 4 changes due to ESP (updated gen dispatch for the meeting on the 15th)

  - June 15 –17	SSWG meeting to finalize cases

  - June – July	TPIT update work (limited to 345 kV updates to 10DSB)

  - July 		TSPs Complete changes based on TP enhancements

  - July		MOD/PMCR training

  - Aug		Compare TP output to SSWG 2010 summer peak case

  - Sept 1		TPIT spreadsheet updates due to ERCOT

  - Sept 21-23	SSWG meeting to finalize DSB cases

  - Sept – Oct	TPIT update work – (limited to 11 win & 11 DSA only)

  - Nov		Create 2012 summer peak case using TP and MOD

  - Dec – Feb 	Review, update, and modify TP/MOD process for case creation

  - Dec 1		TPIT spreadsheet updates due to ERCOT

  - Dec 1		Nodal Go-Live

  - Dec – Jan 2011	TPIT update work

  - Mar 1 2011 	ALDR due to ERCOT

  - Mar-April 2011	Assuming Nov test meets SSWG approval, begin work to create 12DSA using Nodal method

Wes Woitt

2010 SSWG Chair