| OGRR Number | 233 | OGRR Title | Backup Control Plan Submission Process |
| --- | --- | --- | --- |

| Date | May 4, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Ken McIntyre |
| E-mail Address | kmcintyre@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3969 |
| Cell Number |  |
| Market Segment | N/A |

Comments

ERCOT submits these comments in response to the 4/26/10 CenterPoint comments regarding Operating Guide Revision Request (OGRR) 233.  ERCOT understands that the intent of the comments is to mitigate the potential conflict and “double jeopardy” issues that could result from separate obligations to provide written back-up control plans under the Operating Guides Section and the North American Electric Reliability Corporation (NERC) Reliability Standard EOP-008, Plans for Loss of Control Center Functionality.  To mitigate these issues, CenterPoint suggests several changes, including changes to a defined term in the Operating Guides and the deletion of several operational obligations that are unrelated to the issues associated with having two separate obligations for back-up control centers.

ERCOT is not opposed to developing an appropriate solution to mitigate the potential conflict and double jeopardy issues that may arise from the existence of separate obligations for back-up control center plans under different authorities.  However, CenterPoint’s suggested changes are broader than necessary to accomplish that goal and may negatively impact the reliability of the ERCOT System.

The terminology changes suggested by CenterPoint introduce a new term that would exclude entities that are required to meet the relevant Operating Guide obligations.  The term Transmission Operator (TO) does not need to align with the terminology used in the Joint Registration Organization/Coordinated Functional Registration Agreement for the NERC Transmission Operator Function (TOP JRO/CFR); The language currently used in the Operating Guides captures the universe of entities that must meet the relevant requirements and the CenterPoint revisions would change the scope to exclude some of these entities because not all TOs subject to the Operating Guide obligation are subject to the TOP JRO/CFR.  There is no need to change this language to resolve the dual back-up control center plan issue and doing so would create a reliability gap for the reasons described.

CenterPoint also suggests deleting language that binds TOs to compliance with the relevant sections of the Protocols and the specific Operating Guide requirements that apply to operational requirements of these entities.  These suggested revisions are irrelevant to the back-up plan issues.  The potential conflict/double jeopardy issues are related to the existence of separate substantive requirements that define independent back-up control center plan requirements (ERCOT notes that, to the extent there is no overlap between these substantive requirements, these risks do not exist – in that case there would simply be separate obligations that would present independent penalty risk).  The only changes needed to address this matter are to eliminate the back-up plan content details in the Operating Guides.  These changes will mitigate the potential for conflicting obligations and double jeopardy for non-compliance related to the content of the plan.  No other changes are needed, including the deletions proposed by CenterPoint that would eliminate TO operational obligations.

ERCOT notes that the operational deletions appear to be based on CenterPoint’s belief that these obligations are now described in the TOP JRO/CFR.  Compliance with TOP JRO/CFR tasks is supported, in part, by the Protocol and Operating Guide requirements.  This is the case with all NERC Reliability Standards that do not explicitly describe mandated actions (i.e. the requirements in a region describe how compliance is affected with respect to high level, “end-result” requirements).  Removing these requirements in the Protocol and Operating Guides arguably eliminates the role of the TOs under the NERC TOP function, which does not reflect reality.  The TOP JRO/CFR is not a mandatory set of federal regulations that applies to the TOP JRO/CFR TOs.  It is a voluntary agreement, the terms of which are, to a great extent, driven by the Protocols and Operating Guides.  Furthermore, the descriptions in the TOP JRO/CFR paraphrase the underlying Protocol and Operating Guide requirements.  Accordingly, these requirements are necessary both to demonstrate compliance with the TOP JRO/CFR obligations/responsibilities, and to explicitly spell out the TOs functional obligations and roles in the ERCOT Region.

Also, as described above, not all TOs subject to the Protocol and Operating Guide requirements are subject to the TOP JRO/CFR.  Therefore, these obligations cannot be eliminated, as reliability of the ERCOT System could be impacted.  In addition, although ERCOT is not opposed to appropriate changes to mitigate the conflict/double jeopardy concerns, any such changes must account for this fact (i.e. that some ERCOT TOs are not subject to the TOP JRO/CFR), but are still required to provide a back-up control center plan to ERCOT.  By eliminating the Operating Guides back-up plan content requirements a reliability gap is introduced for the ERCOT Region with respect to these entities.  Accordingly, any changes need to reflect different Operating Guide obligations for the TOs that are part of the TOP JRO/CFR and those that are not.

As a final point, the TOP JRO/CFR has not been approved.  Consequently, the effective date of any changes would need to be coordinated with the approval of that document.  Otherwise, there could be a gap in the obligation to provide a substantive written back-up control plan.

| Operating Guide Sections Requiring Revision | 1.7.3, Transmission Operator (TO) 3.1.3.1, Operating Obligations |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution | Normal |
| Revision Description | This Operating Guide Revision Request (OGRR) proposes language changes to clarify the frequency and submittal process of backup control plans. In addition, it eliminates the substantive back-up plan content requirements for ERCOT Transmission Operators that are parties to the NERC TOP JRO/CFR. |
| Reason for Revision | The current language does not state the frequency and process for submittal of backup control plans. Also, ERCOT Transmission Operators that are parties to the NERC TOP JRO/CFR are subject to back-up plan content requirements under North American Electric Reliability Corporation (NERC) Reliability Standard EOP-008, Plans for Loss of Control Center Functionality and removing the Operating Guide back-up plan requirements mitigates potential conflict and double jeopardy issues associated with separate obligations that apply to the back-up plan content. |
| Overall Market Benefit | This revision removes ambiguity from the Operating Guides and addresses the potential conflict/double jeopardy issues described above. |
| Overall Market Impact | Unknown. |
| Consumer Impact | Unknown. |

Revised Proposed Guide Language

- 1.7.3	Transmission Operator (TO)

Transmission Operators (TOs) are the subset of Transmission Service Providers (TSPs) or Transmission and/or Distribution Service Providers (TDSPs) that is charged with continuous communication (24x7 basis) with the ERCOT Control Area Authority (CAA) and carrying out Dispatch Instructions directly or on behalf of represented TDSPs.  Each TSP or TDSP will designate either itself or another TSP or TDSP to perform the functions of a TO. TOs must meet all requirements identified in the ERCOT Protocols for TDSPs and TSPs in addition to those requirements stated below for all Transmission Facilities represented:

- Operate and manage the electric Transmission Facilities between energy sources and the point of delivery;

- Coordinate emergency communications between the TDSP or TSP and ERCOT CAA;

- Monitor the loading of the transmission system(s);

- Notify the ERCOT CAA of changes to the status of all Transmission Facilities;

- Act as Single Point of Contact for transmission Outages;

- Maintain operational metering; and,

- Implement Black Start.

TOs shall submit to ERCOT, by March 15 of each year, a written backup control plan to continue operation in the event the TO’s control center becomes inoperable.  Backup control plans shall be submitted to ERCOT via secured webmail.  The TO shall request that a secure email account be created with ERCOT by sending an email to  shiftsupervisors@ercot.com.

As an option, the backup control plan may include arrangements made with another Entity to provide the minimum control functions in the event the TO’s primary functions are interrupted.

- 3.1.3.1	Operating Obligations

- Reference:  Protocol Section 4.3.4, Operations of the Qualified Scheduling Entity

Scheduling Center Requirement.  A QSE shall maintain a 24-hour, seven-day-per-week scheduling center with qualified personnel for the purposes of communicating with ERCOT for scheduling purposes and for deploying the QSE’s Ancillary Services in Real Time.

QSE Representative.  Each QSE shall, for the duration of the Scheduling Process and settlement period for which the QSE has submitted schedules to ERCOT, designate a representative who shall be responsible for operational communications and who shall have sufficient authority to commit and bind the QSE.

A QSE shall maintain a 24x7 scheduling center with qualified personnel for the purposes of communicating with ERCOT for scheduling purposes and for deploying the QSE’s Ancillary Services in Real Time.  Each QSE shall submit to ERCOT, by March 15 of each year, a written backup control plan to continue operation in the event the QSE’s scheduling center becomes inoperable.  Backup control plans shall be submitted to ERCOT via secured webmail.  QSEs shall request that a secure email account be created with ERCOT by sending an email to shiftsupervisors@ercot.com.

Each backup control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

- Description of actions to be taken by QSE personnel to avoid placing a prolonged burden on ERCOT and other Market Participants.

- Description of specific functions and responsibilities to be performed to continue operations from an alternate location.

- Procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT.

- Procedures for backup control function testing and the training of personnel.

As an option, the backup control plan may include arrangements made with another Entity to provide the minimum backup control functions in the event the QSE’s primary functions are interrupted.

Each QSE shall, for the duration of the Scheduling Process and settlement period for which the QSE has submitted schedules to ERCOT, designate an individual who shall be responsible for operational communications and who shall have sufficient authority to commit and bind the QSE.

For connectivity requirements for backup sites, refer to Section 8.3.1.1, QSE Use of Domain Name Service (DNS) or ERCOT Web-Based Front Page for Site Failover.

- Reference:  Protocol Section 6.5.1.1, Requirement for Operating Period Data for System Reliability and Ancillary Service Provision

Operating Period data will be used by ERCOT to monitor the reliability of the ERCOT System in Real Time, monitor compliance with Ancillary Service Obligations, perform historical analysis, and predict the short-term reliability of the ERCOT System using network analysis software.  Each TDSP, at its own expense, may obtain such Operating Period data from ERCOT or from QSEs.

(1)	A QSE representing a Generation Entity that has Generation Resources connected to a TDSP shall provide the following Real Time data to ERCOT for each individual generating unit at a Generation Resource plant location and ERCOT will make the data available to the Generation Resource’s host TDSP (at TDSP expense):

(a)	Gross and net real power, or

Gross real power at the generator terminal and unit auxiliary load real power, or

Net real power at the EPS meter and unit auxiliary load real power.

(b)	Gross reactive power at the generator terminal

(c)	Status of switching devices in the plant switchyard not monitored by the TDSP affecting flows on the ERCOT System;

(d)	Frequency Bias of Portfolio Generation Resources under QSE operation;

(e)	Any data mutually agreed by ERCOT and the QSE to adequately manage system reliability and monitor Ancillary Service Obligations;

(f)	Generator breaker status;

(g)	High Operating Limit; and

(h)	Low Operating Limit.

[PRR590: Add items (i) and (j) upon system implementation:] (i) AGC status; and (j) Ramp rate.

[PRR307: Revise Section 6.5.1.1(1) and 6.5.1.1(1)(f) as follows when system change implemented.] (1) A QSE representing a Generation Entity or a Competitive Retailer that has Resources connected to a TDSP shall provide the following Real Time data to ERCOT for each individual generating unit or LaaR capable of controllably reducing or increasing consumption under Dispatch control (similar to AGC) and that immediately respond proportionally to frequency changes (similar to generator governor action) at a Resource plant location and ERCOT will make the data available to the Resource’s host TDSP (at TDSP expense): (f) Resource breaker status;

[PRR590: Add paragraph (2) and renumber subsequent paragraphs upon system implementation:] (2) A QSE representing Uncontrollable Renewable Resources is exempt from the requirements of Section 6.5.1.1(1)(i) and (j).

(2)	Any QSE providing Responsive Reserve and/or Regulation must provide for communications equipment to receive ERCOT telemetered control deployments of service power.

(3)	Any QSE providing Regulation Service must provide appropriate Real Time feedback signals to report the control actions allocated to the QSEs Resources.

(4)	Any QSE that represents a provider of Responsive Reserve, Non-Spinning Reserve, or Replacement Reserve using interruptible Load as a Resource shall provide separate telemetry of the real power consumption of each interruptible Load providing the above Ancillary Services, the LaaR response to Dispatch Instructions for each LaaR, and the status of the breaker controlling that interruptible Load.  If interruptible Load is used as a Responsive Reserve Resource, the status of the high-set under frequency relay will also be telemetered.

(5)	Any QSE that represents a qualified provider of Balancing Up Load (BUL) need not provide telemetry but rather shall provide an estimate in Real Time representing the real power interrupted in response to the deployment of Balancing Up Load.

(6)	Real Time data for reliability purposes must be accurate to within three percent (3%).  This telemetry may be provided from relaying accuracy instrumentation transformers.

[PRR590: Add paragraph (7) upon system implementation:] (7) A QSE representing a combined cycle plant may aggregate the AGC and ramp rate SCADA points for the individual units at a plant location into two distinct SCADA points (AGC and ramp rate) if the plant is configured to operate as such, i.e. gas turbine(s) and steam turbine(s) are controlled in aggregate from an AGC perspective.

ERCOT notes that TOs would still be required to provide ERCOT with a back-up plan under the Operating Guides, but would, in essence, allow that back-up plan to be based on the substantive requirements of the NERC Reliability Standards (ERCOT notes that no party has challenged the Operating Guide obligation to provide a back-up control plan to ERCOT, which makes sense because provision of the plan to ERCOT is not required under the NERC Reliability Standards).