## Slide 1: Oncor Loads: Forecasts to the Base Cases ERCOT ROS Meeting June 6, 2010
Michael Juricek
System Planning

## Slide 2: Loads Used in Planning Overview
  Plan transmission system to provide reliable service at expected peak load conditions
  Plan for an Oncor system peak “NOT” an ERCOT peak
    Oncor peak can be at a different time than the ERCOT peak
    Oncor peak is typically more than Oncor’s portion of the ERCOT peak
    Recognize smaller area peak demand may be large and at different time than ERCOT region peak
  Bus loads in base cases represent substation loads at the time of Oncor’s system peak load
  ALDR individual substation peak loads are adjusted to meet demands at the forecasted Oncor system peak

## Slide 3: System Demand Forecast
System & Area Demand Forecasts Energy Forecasts
Heating Degree and Cooling Degree Days
Weather
Weather Response Functions
Load Shapes
Mextrix ND
SAE
HELM
Sales
Forecasts
Binary Values
Economic Factors
Billing Days
T&D Losses

## Slide 4: Oncor Substation Load Forecast
Raw Actual Loads
Weather Adjustment of Actual Loads to 104° F
Initial Forecasting Using Regression Software
Customer Development Plans
Engineering Judgment and Knowledge of the Area
Forecasting Refinement
Load Shifting Between Transformers
Non-coincident Individual Substation Load Forecasts
Historical Trends for Bus Load

## Slide 5: Load in the Base Cases
Case Loads Coincident to Oncor System Peak
(Individual Bus MW & Mvar)
ALDR Peak Noncoincident Substation Load Forecasts and Power Factor
(Individual Buses)
TMIS Software
Adjusts Substation Loads to Equal Area Demand Forecasts
Demand Forecasts by Year for Dallas, Ft Worth, Southeast, & West Areas
Substation Transformer Data

## Slide 6: Questions