## Slide 1: NDSWG Update to ROS – June 2010
NDSWG has met three times since the last ROS meeting. Two monthly NDSWG meetings and one special meeting focused on nodal transition plan.
  Met on June 3 at TAC direction to work with ERCOT on nodal go-live transition timeline and associated issues.
  Resulting agreements to transition plan
ERCOT and Market Participants collectively agree through NDSWG to the transition timeline given the following clarifications
  ERCOT will accept all interim updates during the transition period.
  Market participants will enter pre-defined reasons justifying interim update as outlined. (to be added to modeling expectation white paper)
  ERCOT will track and report interim update performance only to NDSWG and the affected MP’s management team.
  ERCOT to modify the table reflecting data submission deadlines consistent with transition plan (slide 2).
ERCOT to confirm submission deadline time (per software configuration)
NDSWG to have subsequent discussion regarding interim update protocol implications

## Slide 2
Dec
Jan
Nov
Oct
Sep
Aug
July
Jun
Zonal
Process
Transition
Process
Initial Validation (ERCOT)
Market Validation (Market Participants)
Final Validation (ERCOT)
NOMCR Processing
Cases Used in Production
Deadline for
Model Changes
Nodal Go-Live
Nodal
Production
Process
Public
Posting
Transition Plan

## Slide 3
NOGRR034 – On ROS agenda for vote. Two proposals.
  ERCOT is proposing to lower Telemetry Metrics standards and leave them at that level.
  NDSWG is proposing to lower the metrics until a telemetry outage tracking system can be developed and then raise them once planned outage failures can be accounted for in the metrics.
  In either case, NDSWG will be revising the telemetry metrics document and submitting to ROS and TAC for approval in October.
NPRR146 – TAC did not approve the ROS recommendation and instead approved ERCOT’s version of the NPRR.
Last NDSWG meeting was focused on review and comments to the Modeling Expectations Whitepaper being developed by ERCOT. There are still significant unresolved issues.
  How to Handle interim updates within the modeling timelines.
  The use of the outage scheduler to manage the energization and retirement of equipment. Some concerns with safety issues when managing outages on equipment that may not exist due to model load frequency.
  Pseudo devices and the management of those devices within the model.