OWG Report to ROS

June 10, 2010

The Operations Working Group (OWG) met May 19, 2010.

On May 19th, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – Ross (Oncor) reported that the Hurricane Drill is scheduled for May 26th.

Black Start Task Force Report – Kelly (ERCOT) gave update on the 2010 Black Start Training that just completed.  It was very successful, trained over 700 people (last year was 836).  ERCOT received many comments and Kelly will present a report to Black Start Task Force with comments that were received from the attendees.  ERCOT received many positive comments as well as comments for improvements.  Next meeting will be scheduled for last week of June.

The Texas RE Report: No report was given.

The OWG reviewed the following:

OGRR 236 Fast Response Distributed Energy Resource (DER) - Tabled until May.

NOGRR 034 Rescind Telemetry Performance Calculation Exclusions – Alex (ERCOT) discussed the difference between the ERCOT language and NDSWG language.  ERCOT is not able to remove planned telemetry outages from performance matrix until a system can be put in place to track this.  ERCOT needs to gray box that language or change the language.  OWG agreed to gray box the language and also added a sentence that the telemetry report will contain telemetry data that might be excludable when an ERCOT system has been developed.  Recommended approval to ROS as revised by OWG.

NOGRR 036 Synchronization - with PRR821 and PRR804 – Reviewed no impact IA and recommended approval to ROS.

NOGRR 037 Synchronization with OGRR217 - Relay Misoperation Report Format Change – Reviewed no impact IA and recommended approval to ROS.

OGRR 243 Disturbance Monitoring Requirements Clarification - Reviewed no impact IA and Brad recommended changing Central Standard Time (CST) to CPT Central Prevailing Time (CPT).  Yvette (ERCOT) does not believe there will be any issues with this change but will check into it.  Recommended approval to ROS as revised by OWG.

NOGRR 038 Synchronization with OGRR243, Disturbance Monitoring Requirements Clarification – Recommended approval to ROS.

OGRR 244 Synchronization with PRR821, Update of Section 21, Process for Protocol Revision - Reviewed no impact IA and recommended approval to ROS.

OGRR 245 Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination - This aligns the Operating Guides with NERC Reliability Standards, specifically PRC-001-1, System Protection Requirements, Section B. Requirements, R2.2.  Bill Blevins will set up a WebEx to include SPWG, OWG, ERCOT and Texas RE.  This will be tabled until this can be discussed at the special meeting.  This OGRR was written to replace a Market Notice that was sent in March of 2008.  The group also discussed the fact that Market Notices don’t have end dates; however this Market Notice states that this is a standing order until an OGRR could be written.

OGRR 247 Processes for Transition to Nodal Operating Guide Section - This OGRR authorizes an orderly transition from the zonal Operating Guides to the Nodal Operating Guides.  OWG drafted comments to recommend approval if “Urgency” is granted.

System Operations Report – Colleen (ERCOT) stated that on the SSRG e-mails, the entities name will no longer be reported.  If you need to know, call into the Control Room to request the information.

Nodal Operating Guide Task Force – Brad (CNP) gave update on progress and issues.

Frank (TMPA) stated that an extra OWG meeting will need to be scheduled to review all the NOGRRTF changes.

Next OWG meeting will be on June 16th in Austin at the Met Center.