| RMGRR Number | 087 | RMGRR Title | Meter Tampering Business Processes |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | June 15, 2010 |  |  |
| Effective Date |  | July 1, 2010 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Retail Market Guide (RMG) Sections Requiring Revision |  | 7.6.5.9, Meter Tampering Issues (delete) 7.11.5.1.3, TDSP 7.16, Business Processes and Communications Related to Meter Tampering (new) 7.16.1, Transmission and/or Distribution Service Provider Discovery of Tampering During Field Service Activities (new) 7.16.1.1, Disconnection and Reconnection for Non-Payment Field Service Activities (new) 7.16.2, Notification to Transmission and/or Distribution Service Provider of Potential Meter Tampering (new) 7.16.3, Transmission and/or Distribution Service Provider Switch Hold Notification (new) 7.16.4, Switch Hold Processes (new) 7.16.4.1, Switch Rejected Due to a Switch Hold (new) 7.16.4.2, Move-in Rejected Due to a Switch-Hold (new) 7.16.4.3, Removal of a Switch Hold for Purposes of a Move-in (new) 7.16.4.3.1, Timelines Associated with Removal of a Switch Hold for Purposes of a Move-in (new) 7.16.4.3.2, Steps for Removal of a Switch Hold for Purposes of a Move-in (new) 7.16.4.3.3, Switch Hold Release due to Exceeding Specified Timelines (new) 7.16.4.4, Removal of Switch Hold by Retail Electric Provider of Record Request (new) 7.16.4.5, Removal of a Switch Hold due to a Move-out (new) 7.16.4.6, Removal of Switch Hold for a Continuous Service Agreement (new) 7.16.4.7, Electronic Availability of Transmission and/or Distribution Service Provider Tampering Investigation Information (new) 9, Appendices, Appendix J1, Transmission and/or Distribution Service Provider Daily Switch Hold List (new) 9, Appendices, Appendix J2, New Occupant Statement (new) |  |  |
| Revision Description |  | This Retail Market Guide Revision Request (RMGRR) provides a process that facilitates Market Participant compliance with P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced. |  |  |
| Reason for Revision |  | Facilitates compliance with Public Utility Commission of Texas (PUCT) rules. |  |  |
| Overall Market Benefit |  | A defined process for Market Participants to utilize when addressing meter tampering issues. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 5/11/10, RMGRR087 was posted. - On 5/12/10, RMS considered RMGRR087. - On 5/17/10, Oncor comments were posted. - On 5/27/10, the CEO Revision Request Review and Impact Analysis were posted. - On 6/3/10, TAC considered RMGRR087. - On 6/15/10, the ERCOT Board considered RMGRR087. |  |  |
| RMS Decision |  | On 5/12/10, RMS unanimously voted to grant RMGRR087 Urgent status. RMS then unanimously voted to recommend approval of RMGRR087 as submitted and to forward RMGRR087 to TAC. All Market Segments were present for the votes. |  |  |
| Summary of RMS Discussion |  | On 5/12/10, sponsor explained that RMGRR087 implements a short-term solution for Market Participants to comply with P.U.C. Subst. R. 25.126, which goes into effect on July 1, 2010. |  |  |
| TAC Decision |  | On 6/3/10, TAC unanimously voted to recommend approval of RMGRR087 as amended by the 5/17/10 Oncor comments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 6/3/10, there was no discussion. |  |  |
| Board Decision |  | On 6/15/10, the ERCOT Board approved RMGRR087 as recommended by TAC in the 6/3/10 TAC Recommendation Report. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | A defined process for Market Participants to utilize when addressing meter tampering issues. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Michael Matlock and Maria Martinez on behalf of the Meter Tampering Task Force |
| E-mail Address | michael.matlock@gexaenergy.com / Maria.Martinez@oncor.com |
| Company | Gexa Energy / Oncor |
| Phone Number | 713-470-0418/512-349-6474 |
| Cell Number | 713-857-9851/NA |
| Market Segment | Independent Retail Electric Provider (IREP)/Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Oncor 051710 | Provided Oncor contact information for Section 7.16.2. |

Proposed Guide Language Revision

7.11.5.1.3	TDSP

(1)	Review and identify any exceptions from the list of ESI IDs provided by ERCOT;

(2)	Confirm accuracy of current list of technical, business and regulatory contacts for Mass Transition event purposes;

(3)	Participate in initial and on-going Mass Transition project coordination meetings through completion of the transition event;

(4)	Remove switch hold on any ESI IDs that are part of the Mass Transition event; and

(5)	Provide CRs (both POLR and non-POLR) a list of ESI IDs that previously had a switch hold due to tampering in which the switch hold was removed as a result of the Mass Transition event.

7.16	Business Processes and Communications Related to Meter Tampering

This section provides Market Participants with market approved guidelines to support the business processes as allowed or prescribed in P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced.

7.16.1	Transmission and/or Distribution Service Provider Discovery of Tampering During Field Service Activities

(1)	A Field Service Representative (FSR) may discover tampering at the meter while performing field service activities.  A move-in order may be Completed Unexecutable utilizing reason code “T019” in the 814_28, Completed Unexecutable or Permit Required, if tampering is discovered by an FSR while attempting to complete a move-in.  If the meter tampering has created a hazardous condition, the Transmission and/or Distribution Service Provider (TDSP) may disconnect service and will notify the Retail Electric Provider (REP) of Record by sending the 650_04, Suspension of Delivery Service Notification or Cancellation, to the REP of Record utilizing the “TM001” reason code.

(2)	Once tampering has been determined to have occurred, a switch hold will be placed on the Electric Service Identifier (ESI ID) in accordance with P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced.  If the move-in is already scheduled in the TDSP’s system prior to a switch hold being placed on the ESI ID, the move-in may be Completed Unexecutable due to tampering utilizing reason code “T019” in the 814_28 transaction provided by the TDSP.

(3)	Charges may be assessed by the TDSP and billed to the REP of Record as appropriate under P.U.C. Subst. R. 25.126.  Refer to the TDSP tariffs for specific charges.

7.16.1.1	Disconnection and Reconnection for Non-Payment Field Service Activities

(1)	An FSR may discover tampering at the meter while performing Disconnect for Non-Pay (DNP) and Reconnect for Non-Pay (RNP) field service activities.

(a)	If the FSR discovers meter tampering while performing a DNP request and the FSR determines that the degree of tampering does not present a hazardous condition, the DNP request will be completed.

(i)	If the meter tampering has created an unsafe condition, the DNP request may be referred to specialized field personnel to attempt to complete the DNP request at an alternate location as outlined in Section 7.6.3.5, Disconnection at Premium Disconnect Location.

(ii)	If the DNP request cannot be completed as a result of the tampering incident, the DNP request will be Completed Unexecutable by the TDSP utilizing “T019” reason code in the 650_02, Service Order Complete, Complete Unexecutable, Reject Response, or Notification of Permit Required, response transaction.

(iii)	The TDSP may notify the Competitive Retailer (CR) of the hazardous conditions and, if applicable, suspension of service and meter removal by sending the 650_04, Suspension of Delivery Service Notification or Cancellation, utilizing the “TM001” reason code.

(b)	If the FSR discovers meter tampering while performing an RNP request and can safely restore normal meter registration, the RNP will be completed.

(i)	If the meter tampering has created an unsafe condition, the 650_01, Service Order Request, will be Completed Unexecutable by the TDSP utilizing the “T019” reason code in the 650_02 response transaction.

(ii)	The TDSP may notify the CR of the hazardous conditions and, if applicable, suspension of service and meter removal by sending the 650_04 transaction utilizing the “TM001” reason code.

(2)	Once tampering has been determined to have occurred, a switch hold will be placed on the ESI ID in accordance with P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced.

(3)	All existing DNP and RNP rules and processes remain in effect.  Receipt of a DNP or RNP request by the TDSP for an ESI ID in which a switch hold has been placed will not remove the switch hold.

7.16.2	Notification to Transmission and/or Distribution Service Provider of Potential Meter Tampering

(1)	The CR may notify the TDSP of potential meter tampering at a Premise by sending the 650_01, Service Order Request, with the “MM006” reason code for tampering if the CR is currently the REP of Record and is an Option 1 REP.  Any CR may report suspected tampering at any time by contacting the TDSP at its designated tampering telephone number, website or e-mail address.

(2)	Suspected tampering activity reports should be communicated as follows:

|  | Website or E-mail | Telephone |
| --- | --- | --- |
| AEP | www.ReportPowerTheft.com | 1-877-373-4858 |
| CNP | www.centerpointenergy.com/services/electricity/residential/metertheft | 713-207-7225 or toll free 877-570-5770 |
| Oncor | www.oncor.com | 888-313-6862 |
| SULP |  | 956-687-5600 |
| TNMP | MPRelations@tnmp.com | 800-738-5579 |

7.16.3	Transmission and/or Distribution Service Provider Switch Hold Notification

(1)	The TDSP shall create and maintain a secure list of all ESI IDs with switch holds that REPs may access on the TDSP’s File Transfer Protocol (FTP) site or a secure web portal.

(a)	The lists shall follow the naming convention listed below and use the template defined in Section 9, Appendices, Appendix J1, Transmission and/or Distribution Service Provider Daily Switch Hold List.  Naming convention shall be:

<TDSPDUNS><“SWITCHHOLD”><MMDDYYYY>.txt

(b)	The list shall be updated and posted each Business Day no later than 0900.

(2)	The TDSP shall create and maintain a secure list, by REP DUNS Number, of all ESI IDs with switch holds.  REPs may access their lists via the TDSP’s FTP site or a secure web portal.

(a)	The lists shall follow the naming convention listed below and use the template defined in Appendix J1.  Naming convention shall be:

<TDSPDUNS><“SWITCHHOLD”><REPDUNS><MMDDYYYY>.txt

(b)	The list shall be updated and posted each Business Day no later than 0900.

7.16.4	Switch Hold Processes

Market Participants shall use good-faith and commercially reasonable efforts to informally resolve all disputes arising out of the processes described in this Section 7.16.4.  If needed, ERCOT Client Services is available to help facilitate or assist with issue resolution as described in Section 5.1, ERCOT Retail Client Services and Help Desk.

7.16.4.1	Switch Rejected Due to a Switch Hold

(1)	Upon receipt of an 814_03, Switch/Move-In CR Notification Request, for an ESI ID that is under a switch hold, the TDSP shall reject the request by sending the 814_04, Switch/Move-In CR Notification Response, with the reason code “A13” and “SWITCH HOLD” in the text description field.

(2)	The requesting REP will receive notification of the reject in the 814_05, Switch/Move-In Response, with the reason code “A13” and “SWITCH HOLD” in the text description field.

7.16.4.2	Move-in Rejected Due to a Switch-Hold

(1)	Upon receipt of an 814_03, Switch/Move-In CR Notification Request, for a move-in for an ESI ID that is under a switch hold, the TDSP shall reject the request by sending the 814_04, Switch/Move-In CR Notification Response, with the reason code “A13” and “SWITCH HOLD” in the text description field.

(2)	The requesting REP will receive notification of the reject in the 814_05, Switch/Move-In Response, with the reason code “A13” and “SWITCH HOLD” in the text description field.

7.16.4.3	Removal of a Switch Hold for Purposes of a Move-in

7.16.4.3.1	Timelines Associated with Removal of a Switch Hold for Purposes of a Move-in

P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced, mandates that within four Business Hours of the request to remove the switch hold, the TDSP determines whether or not the switch hold should be removed and this determination is accomplished by utilizing MarkeTrak.  During processing of the MarkeTrak issue, the issue will be assigned and reassigned to all parties at specific points within the workflow.  Each Market Participant involved, gaining CR (requesting CR), losing CR (REP of Record) and TDSP is responsible for monitoring the MarkeTrak issue throughout the process, removal of the switch hold if applicable, and completing the steps within the timelines described in 7.16.4.3.2, Steps for Removal of a Switch Hold for Purposes of a Move-in.

7.16.4.3.2	Steps for Removal of a Switch Hold for Purposes of a Move-in

(1)	Switch Hold Removal Step 1 – Gaining CR

(a)	Once the gaining CR determines that the Customer requesting the move-in is neither the Customer nor associated with the Customer subject to the switch hold, the gaining CR shall obtain the documentation listed in items (i) and (ii) below from the Customer to remove the switch hold.

(i)	One of the following:

(A)	Copy of signed lease;

(B)	Affidavit of landlord;

(C)	Closing documents;

(D)	Certificate of occupancy; or

(E)	Utility bill, in the Customer’s name, dated within the last two months from a different Premise address; and

(ii)	A signed statement as set forth in Section 9, Appendices, Appendix J2, New Occupant Statement, from the applicant stating that the applicant is a new occupant of the Premises and is not associated with the preceding occupant.

(b)	Gaining CR shall create a MarkeTrak issue using the subtype of “Other” and follow the process described below to request the removal of the switch hold.

(i)	Include the number “7164” in the ISA Number field of every MarkeTrak issue submitted to remove a tampering switch hold;

(ii)	Populate the ESI ID field;

(iii)	Attach the relevant documents from items (1)(a)(i) and (ii) above to the MarkeTrak issue prior to submission;

(iv)	Assign the issue to the TDSP with a request to:

(A)	Review documentation;

(B)	Identify the existing REP of Record; and

(C)	Remove the existing switch hold.

(2)	Switch Hold Removal Step 2 – TDSP

(a)	The TDSP shall reply within one Business Hour of becoming the responsible Market Participant of the MarkeTrak issue with one of the responses below:

(i)	Rejected the issue due to the following:

(A)	Inadequate documentation upon submission of the MarkeTrak issue;

(B)	Reasonable determination that the gaining CR’s Customer is associated with the Customer who resided at the location when meter tampering occurred, including the reason for this determination and all relevant internal documentation;

(C)	Incorrect ISA Number or ISA Number field is not populated;

(D)	Incorrect ESI ID or ESI ID field is not populated; or

(E)	Switch hold has already been removed due to request from current REP of Record.

(ii)	Accepted the issue and shall:

(A)	Provide the company name and DUNS Number of the losing CR (if applicable); or

(B)	Proceed to Switch Hold Removal Step 6 if there is no REP of Record; and

(C)	Assign the issue back to the gaining CR.

(3)	Switch Hold Removal Step 3 – Gaining CR

(a)	The gaining CR shall take the following action within 30 minutes of having been assigned the issue by the TDSP.

(i)	If the issue was accepted by the TDSP, assign the issue to the losing CR identified by the TDSP; or

(ii)	If the issue was rejected by the TDSP, close the issue.  Any further request to have the switch hold removed must be submitted in the form of a new MarkeTrak issue.  All timelines will be reset upon submittal of a new MarkeTrak issue as outlined starting with Switch Hold Removal Step 1 of this Section.

(4)	Switch Hold Removal Step 4 – Losing CR

(a)	The losing CR shall take the following action within one Business Hour of having been assigned the issue by the gaining CR.

(i)	Review all documentation provided by the gaining CR; and

(ii)	Assign the issue back to the gaining CR with comments as indicated below:

(A)	If the losing CR agrees that gaining CR’s Customer is not associated with the losing CR’s Customer, comments must state agreement to remove switch hold; or

(B)	If the losing CR has information that indicates that the gaining CR’s Customer and the losing CR’s Customer are associated, comments must state reasons for disagreement and attach documents that support the losing CR’s position.

(b)	If the issue is not assigned to the gaining CR, with comments, within one Business Hour of receipt by the losing CR, the losing CR is considered to agree with the gaining CR’s removal of the switch hold request.

(5)	Switch Hold Removal Step 5 – Gaining CR

(a)	The gaining CR shall take the following action within 30 minutes of receipt of the issue from the losing CR.

(i)	Close the issue indicating agreement, through comments, if the losing CR disputes the switch hold removal and the gaining CR agrees with the losing CR’s conclusions;

(ii)	Assign the issue to the TDSP and request a decision, through comments, if the losing CR disputes the switch hold removal and the gaining CR does not agree with the losing CR’s conclusions; or

(iii)	Assign the issue to the TDSP and request, through comments, the removal of the switch-hold if the losing CR agrees with the switch-hold removal;

(b)	The gaining CR may notify the TDSP via the e-mail function within MarkeTrak and request a final decision if there was no response from the losing CR by the end of their allotted time as indicated in Switch Hold Removal Step 4.

(6)	Switch Hold Removal Step 6 – TDSP

(a)	The TDSP shall have the remaining time between the assignment of the issue from the gaining CR and the end of the four Business Hours time frame to respond with a decision, but no less than one Business Hour.

(b)	The TDSP shall review all comments and documentation received, but retains the discretion to determine the final status of the switch hold.  Upon completion of the review, the TDSP shall take the following action:

(i)	Disapprove the removal of the switch hold during the final review period if the TDSP has internal information that indicates the requesting CR’s Customer is associated with the losing CR’s Customer regardless of documentation provided.  TDSP shall place comments in the issue notifying parties of the reason for disapproval and attach all relevant internal documentation;

(ii)	Approve the removal of the switch hold upon verification that the losing CR failed to respond within one Business Hour of receipt using the “State Change History” as the sole indicator if the TDSP receives notification from the gaining CR via the e-mail function within MarkeTrak requesting a final decision due to the losing CR’s failure to respond to the issue within the allotted time frame.  The TDSP shall place comments in the issue notifying parties of the decision to remove the switch hold, and the TDSP will remove the switch hold to allow completion of a Move-In Request;

(iii)	Review the MarkeTrak issue received with comments from both CRs and if it is determined that the TDSP has no internal information that indicates the gaining CR’s Customer is associated with the losing CR’s Customer, the TDSP shall:

(A)	Assign the issue back to the gaining CR and proceed with removal of the switch hold, notifying parties of the intent to remove the switch hold, through comments, if there is agreement among both CRs that the switch hold should be removed; or

(B)	Assign the issue back to the gaining CR with the final decision, through comments, after evaluating all information provided by both CRs if the losing CR does not agree that the switch hold should be removed;

(iv)	Disapprove the removal of the switch hold and notify parties, through comments, of the reason for disapproval if the TDSP receives the MarkeTrak issue from the gaining CR for a final decision and the “State Change History” indicates that the losing CR was never assigned the issue or was not provided the full Business Hour allocated under Switch Hold Removal Step 4 above; or

(v)	Disapprove the removal of the switch hold and notify parties, through comments, of the reason for disapproval if the TDSP does not receive the full Business Hour for review and the allotted time was inadequate for a final decision to be made.

(7)	Switch Hold Removal Step 7 – All Market Participants Involved

(a)	If at any time, the TDSP becomes aware that the MarkeTrak issue was not resolved within the four Business Hour time frame, the TDSP shall make a decision on whether or not to remove the switch hold based upon the existing activity within the MarkeTrak issue.  The TDSP shall place comments in the MarkeTrak issue containing the final decision and assign the issue back to the gaining CR.

(b)	If at any time, the gaining CR becomes aware that the MarkeTrak issue was not resolved within the four Business Hour time frame, the gaining CR shall notify the TDSP, via the MarkeTrak e-mail function and request a final decision.

(c)	If at any time, the losing CR becomes aware that the MarkeTrak issue was not resolved within the four Business Hour time frame, the losing CR shall notify the TDSP, via the MarkeTrak e-mail function and request a final decision.

7.16.4.3.3	Switch Hold Release due to Exceeding Specified Timelines

(1)	In accordance with P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced, the TDSP must make a determination on the request to remove the switch hold within four Business Hours of submission of the MarkeTrak issue, regardless of the progression of the MarkeTrak issue.

(2)	In the event that the switch hold is released and a Move-In Request is submitted by the gaining CR, the losing CR may file a MarkeTrak issue to have the ESI ID returned if the loss was due to the expiration of the four Business Hour time frame in which the losing CR and TDSP were not each allotted their full Business Hour to review the information due to the gaining CRs failure to transition the MarkeTrak issue within their specified time frame.  The losing CR has until the end of the following Business Day after the gaining CR’s submission of a Move-In Request to file an issue seeking reinstatement or retention of the ESI ID due to a prematurely removed switch hold.  If an “Inadvertent Losing” issue is not filed within this timeframe, the losing CR is considered to have forfeited any claim to the ESI ID, and/or switch hold.  The process to have the ESI ID reinstated or retained is as follows:

(a)	The losing CR creates a MarkeTrak issue using the “Inadvertent Losing” subtype.

(i)	Create a link in the current issue to the original MarkeTrak issue by using “Item Link”; and

(ii)	Populate the issue with the following comment, verbatim: “TDSP return ESI ID per RMG Section 7.16.4.3.3 and restore switch hold upon reinstatement.”

(b)	The gaining CR shall make all attempts to cancel the pending move-in if it has not yet effectuated, or if unable to cancel, shall agree to the return of the ESI ID if it has effectuated.

(c)	The TDSP shall restore the switch hold on the ESI ID upon successful reinstatement or retention of the ESI ID by the losing CR.

(3)	The losing CR shall not use the switch hold removal process to regain an ESI ID in which the losing CR either failed to transition the original MarkeTrak issue within the one Business Hour allotted or used an incorrect transition to reassign the issue to the gaining CR.

(4)	If during the period in which the switch hold was removed, a third CR, not involved in the original MarkeTrak issue, submits an 814_01, Enrollment Request, or 814_16, Move-In Request, for the ESI ID, the third CR is permitted to keep the ESI ID and the MarkeTrak issue shall be closed by the submitter of the “Inadvertent Losing” MarkeTrak issue.

7.16.4.4	Removal of Switch Hold by Retail Electric Provider of Record Request

(1)	By 1500 each Business Day, the REP of Record may submit a MarkeTrak issue to the TDSP to remove the switch hold and to remove the ESI ID from the next Business Day’s switch hold list provided by the TDSP per Section 7.16.3, Transmission and/or Distribution Service Provider Switch Hold Notification, using the following process:

(a)	Create an individual MarkeTrak issue for each ESI ID to be removed from the switch hold list using the “Other” subtype;

(b)	Include the number “71644” in the ISA Number field of the MarkeTrak issue;

(c)	Populate the ESI ID field; and

(d)	Assign the issue to the TDSP.

(2)	The TDSP, upon receipt of MarkeTrak issue, will perform one of the following:

(a)	Remove the switch hold; or

(b)	Reject the issue due to the following:

(i)	Incorrect MarkeTrak issue subtype;

(ii)	Incorrect ISA Number or ISA Number field is not populated; or

(iii)	Incorrect ESI ID or ESI ID field is not populated.

7.16.4.5	Removal of a Switch Hold due to a Move-out

The TDSP will remove a switch hold from an ESI ID upon completion of a Move-Out Request.

7.16.4.6	Removal of Switch Hold for a Continuous Service Agreement

Upon receipt of a move-out to Continuous Service Agreement (CSA) for an ESI ID under a switch hold, the TDSP shall remove the switch hold upon completion of the move-out and then complete the CSA move-in.

7.16.4.7	Electronic Availability of Transmission and/or Distribution Service Provider Tampering Investigation Information

TDSPs shall make all required investigation information per P.U.C. Subst. R. 25.126, Adjustments Due to Non-Compliant Meters and Meter Tampering in Areas Where Customer Choice Has Been Introduced, available to the REP of Record via the TDSP’s secure web portal.

# Appendix J1

## Transmission and/or Distribution Service Provider Daily Switch Hold List

Note:  File format will be used for both the daily master list and the daily REP specific list.

| Element | Description | Mandatory / Optional | Valid Values | Comment | Format |
| --- | --- | --- | --- | --- | --- |
| Header Row One |  |  |  |  |  |
| 1 | ESI ID | Mandatory |  |  | Alphanumeric (64) |
| 2 | Switch Hold Start Date | Mandatory |  |  | YYYYMMDD (8) |

Appendix J2

## New Occupant Statement

Note:	New Occupant Statement must be accompanied by at least one of the following documents:  (1) copy of Signed Lease; (2) affidavit of landlord; (3) closing documents; (4) certificate of occupancy; or (5) utility bill in Customer’s name dated within last two months from a different premise.

ESI ID Number	___________________________________________________________

Service Address	____________________________________________________________

City, State, Zip Code	____________________________________________________________

Occupancy Date	____________________________________________________________

Mailing Address	____________________________________________________________

City, State, Zip Code	____________________________________________________________

Telephone Number	____________________________________________________________

AUTHORIZATION

I affirm that I am a new occupant to the above Service Address and I am not associated with the preceding occupant.

(Signature)						(Date)

(Name, printed)