## Sheet1
Load Zone and Hub Bus calculation example
SPP is a time weighted average of LMP over a fifteen minute interval. To highlight the differences between LZ and HB calculation,
only one LMP interval is used below and the SPP time weighting average calculation is not done.
The result prices are close enough to the actual SPP observed such that we will assume load and price is the same across all 15 minutes of the SPP interval.
The prices below are actual LMPs from the SCED interval with a timestamp of 5/20/2010 12:05
MW information at each electrical bus has been redacted in Column C, though you can see the equation used in Col D & E12 and the actual result in cell E11
LZ_HOUSTON |  |  | weight LMP by SE load average |  |  | HB_HOUSTON
ELECT_BUS_NAME | LMP | MW | LMP*MW/SUMMW | LZ_HOUSTON SPP |  | HUBBUS_NAME | ELECT_BUS_NAME | LMP | Hub Bus (average of EB) | Hub SPP (Average of Hub Bus)
BELAIR__345Z | -305.2 | X | #VALUE! | 35.3307 |  | ADK | ADICKS_345C | 35.33 |  | -4.3035
BELAIR__345A | -305.2 | X | #VALUE! | "=SUM(D11:D1793)" | 1 | ADK | ADICKS__345A | 35.33 | 35.33
JENETA__345B | -141.47 | X | #VALUE! |  |  | CBY | CBY_CBY4 | 35.33
JENETA__345Z | -141.47 | X | #VALUE! |  |  | CBY | CEDARP__345A | 35.33
BVE_UNIT2 | -105.05 | X | #VALUE! |  | 2 | CBY | CEDARP__345Z | 35.33 | 35.33
BVE_UNIT1 | -105.05 | X | #VALUE! |  |  | CHB | CHAMBR__345A | 35.33
BVE_UNIT3 | -105.05 | X | #VALUE! |  |  | CHB | CHB_E_1 | 35.33
W_A_P___345A | -101.04 | X | #VALUE! |  |  | CHB | CHB_V_A | 35.33
WAP_E_3 | -101.04 | X | #VALUE! |  |  | CHB | CNB_J | 35.33
WAP_E_2 | -101.04 | X | #VALUE! |  | 3 | CHB | CNB_K | 35.33 | 35.33
WAP_E_1 | -101.04 | X | #VALUE! |  |  | CTR | CENTER__345A | 35.33
W_A_P___345Z | -101.04 | X | #VALUE! |  |  | CTR | CENTER__345U | 35.33
CBELAIR_817U | 33.27 | X | #VALUE! |  |  | CTR | CENTER__345V | 35.33
_BI_138J | 33.27 | X | #VALUE! |  | 4 | CTR | CTR_V_B | 35.33 | 35.33
_BI_138L | 33.27 | X | #VALUE! |  |  | DOW | DOW_E_1 | 35.33
HILCRF058005 | 33.89 | X | #VALUE! |  |  | DOW | DOW_E_2 | 35.33
HILCRF248010 | 33.89 | X | #VALUE! |  |  | DOW | DOW_____345A | 35.33
JENETA__138A | 34.34 | X | #VALUE! |  | 5 | DOW | DOW_____345Z | 35.33 | 35.33
JENETA__138Z | 34.34 | X | #VALUE! |  |  | DPW | CHEDPW_1 | 35.8
JENETA__138W | 34.34 | X | #VALUE! |  |  | DPW | CHEDPW_DPW | 35.8
JENETA__138X | 34.34 | X | #VALUE! |  |  | DPW | CHEDPW_DPW2 | 35.8
JENETA__138Y | 34.34 | X | #VALUE! |  |  | DPW | DEPWTR__345A | 35.8
OR_K | 34.87 | X | #VALUE! |  | 6 | DPW | DEPWTR__345Y | 35.8 | 35.8
OR_KV | 34.87 | X | #VALUE! |  |  | GBY | GRNBYU__345A | 35.8
CASTEN__900W | 35.33 | X | #VALUE! |  | 7 | GBY | GRNBYU__345Z | 35.8 | 35.8
CASTEN__900Y | 35.33 | X | #VALUE! |  |  | KDL | KUYDAL75501W | 35.33
CAVERN__800X | 35.33 | X | #VALUE! |  | 8 | KDL | KUYDAL75501X | 35.33 | 35.33
CB_K | 35.33 | X | #VALUE! |  |  | PHR | P_H_R___345E | 35.33
CB_KC | 35.33 | X | #VALUE! |  | 9 | PHR | P_H_R___345Y | 35.33 | 35.33
CB_KM | 35.33 | X | #VALUE! |  |  | RNS | FTR_1 | 35.33
CBY_GN1_1 | 35.33 | X | #VALUE! |  |  | RNS | FTR_PUN1 | 35.33
CBY_1 | 35.33 | X | #VALUE! |  | 10 | RNS | FTR_PUN2 | 35.33 | 35.33
CBY_2 | 35.33 | X | #VALUE! |  |  | SDN | CVC_CVCG1_5 | 35.8
E_CBY_L12 | 35.33 | X | #VALUE! |  |  | SDN | SDN_E_1 | 35.8
E_CBY_L2 | 35.33 | X | #VALUE! |  |  | SDN | SDN_KQ | 35.8
E_CBY_L4 | 35.33 | X | #VALUE! |  | 11 | SDN | SHELDN__345C | 35.8 | 35.8
CBY_GN2_2 | 35.33 | X | #VALUE! |  |  | SMITHERS | BVE_UNIT1 | -105.05
CBY_3 | 35.33 | X | #VALUE! |  |  | SMITHERS | BVE_UNIT2 | -105.05
CBY_E_1 | 35.33 | X | #VALUE! |  | 12 | SMITHERS | BVE_UNIT3 | -105.05 | -105.05
CBY_E_2 | 35.33 | X | #VALUE! |  |  | THW | T_H_W___345B | 35.33
CBY_V_D | 35.33 | X | #VALUE! |  |  | THW | T_H_W___345Y | 35.33
CEDARP__138B | 35.33 | X | #VALUE! |  | 13 | THW | T_H_W___345Z | 35.33 | 35.33
CEDARP__138C | 35.33 | X | #VALUE! |  |  | WAP | WAP_E_1 | -101.04
CEDARP__138Y | 35.33 | X | #VALUE! |  |  | WAP | WAP_E_2 | -101.04
E_CBY_L1 | 35.33 | X | #VALUE! |  |  | WAP | WAP_E_3 | -101.04
E_CBY_L3 | 35.33 | X | #VALUE! |  |  | WAP | W_A_P___345A | -101.04
CBY_CBY4 | 35.33 | X | #VALUE! |  | 14 | WAP | W_A_P___345Z | -101.04 | -101.04
CEDARP__345A | 35.33 | X | #VALUE! |  |  | _BI | BELAIR__345A | -305.2
CEDARP__345Z | 35.33 | X | #VALUE! |  | 15 | _BI | BELAIR__345Z | -305.2 | -305.2
CBY4_K | 35.33 | X | #VALUE! |  |  | _JN | JENETA__345B | -141.47
CBY4_KF | 35.33 | X | #VALUE! |  | 16 | _JN | JENETA__345Z | -141.47 | -141.47
CBY4_KN | 35.33 | X | #VALUE! |  |  | _KG | KING____345A | 35.33
CBY4_1 | 35.33 | X | #VALUE! |  | 17 | _KG | KING____345Z | 35.33 | 35.33
CBY4_2 | 35.33 | X | #VALUE! |  |  | _NB | NB_KB | 35.33
CBY4_3 | 35.33 | X | #VALUE! |  | 18 | _NB | NB_KZ | 35.33 | 35.33
CBY4_41 | 35.33 | X | #VALUE! |  |  | _OB | OBRIEN__345Z | 35.33
CBY4_42 | 35.33 | X | #VALUE! |  | 19 | _OB | OB_KD | 35.33 | 35.33
CC_K | 35.33 | X | #VALUE! |  | 20 | _WO | WHITOK__345I | 35.33 | 35.33
CC_KN | 35.33 | X | #VALUE!
CD_K | 35.33 | X | #VALUE!
CD_KF | 35.33 | X | #VALUE!
CD_KS | 35.33 | X | #VALUE!
CELNEC__138S | 35.33 | X | #VALUE!
CELNEC__138T | 35.33 | X | #VALUE!
CELNEC__138U | 35.33 | X | #VALUE!
CO_K | 35.33 | X | #VALUE!
CO_KH | 35.33 | X | #VALUE!
COPSUB8_KIL | 35.33 | X | #VALUE!
COPSUB8_KU | 35.33 | X | #VALUE!
CR_KM | 35.33 | X | #VALUE!
CR_KX | 35.33 | X | #VALUE!
CRABB___138T | 35.33 | X | #VALUE!
CRABB___138U | 35.33 | X | #VALUE!
CRABB___138W | 35.33 | X | #VALUE!
CE_K | 35.33 | X | #VALUE!
CE_KA | 35.33 | X | #VALUE!
CE_KD | 35.33 | X | #VALUE!
CE_KH | 35.33 | X | #VALUE!
CE_KQ | 35.33 | X | #VALUE!
CE_KZ | 35.33 | X | #VALUE!
AD_K | 35.33 | X | #VALUE!
AD_KH | 35.33 | X | #VALUE!
AD_KU | 35.33 | X | #VALUE!
CADICKS_804N | 35.33 | X | #VALUE!
CADICKS_804O | 35.33 | X | #VALUE!
CADICKS_804V | 35.33 | X | #VALUE!
ADICKS_345C | 35.33 | X | #VALUE!
ADICKS__345A | 35.33 | X | #VALUE!
AE_K | 35.33 | X | #VALUE!
AE_KO | 35.33 | X | #VALUE!
AE_KP | 35.33 | X | #VALUE!
AF_K | 35.33 | X | #VALUE!
AF_KY | 35.33 | X | #VALUE!
AF_KZ | 35.33 | X | #VALUE!
AGRI____69XZ | 35.33 | X | #VALUE!
AI_K | 35.33 | X | #VALUE!
AI_KB | 35.33 | X | #VALUE!
AK_K | 35.33 | X | #VALUE!
AK_KA | 35.33 | X | #VALUE!
AK_KH | 35.33 | X | #VALUE!
AK_KX | 35.33 | X | #VALUE!
AL_KQ | 35.33 | X | #VALUE!
AL_K | 35.33 | X | #VALUE!
TNALVIN___1T | 35.33 | X | #VALUE!
TNALVIN___1U | 35.33 | X | #VALUE!
TNALVIN___1V | 35.33 | X | #VALUE!
AM_K | 35.33 | X | #VALUE!
AM_KD | 35.33 | X | #VALUE!
AMO_AMOCO_1 | 35.33 | X | #VALUE!
AMO_AMOCO_2 | 35.33 | X | #VALUE!
AMO_AMOCO_5 | 35.33 | X | #VALUE!
AMO_AMOCO_S1 | 35.33 | X | #VALUE!
AMO_AMOCO_G1 | 35.33 | X | #VALUE!
AMO_AMOCO_G2 | 35.33 | X | #VALUE!
AMO_AMOCO_G3 | 35.33 | X | #VALUE!
TNBP______1C | 35.33 | X | #VALUE!
AN_K | 35.33 | X | #VALUE!
AN_KA | 35.33 | X | #VALUE!
AN_KI | 35.33 | X | #VALUE!
TNANGLETON1 | 35.33 | X | #VALUE!
TNANGLETON1R | 35.33 | X | #VALUE!
TNANGLETON1S | 35.33 | X | #VALUE!
TNANGLETON1T | 35.33 | X | #VALUE!
TNANGLETON1W | 35.33 | X | #VALUE!
TNANGLETON1X | 35.33 | X | #VALUE!
TNANGLETON1Y | 35.33 | X | #VALUE!
TNANGLETON1Z | 35.33 | X | #VALUE!
APD_K | 35.33 | X | #VALUE!
APD_GT1_8005 | 35.33 | X | #VALUE!
APD_KQ | 35.33 | X | #VALUE!
ARCOLA82802Y | 35.33 | X | #VALUE!
ARCOLA82802Z | 35.33 | X | #VALUE!
TNARCOPL__0Y | 35.33 | X | #VALUE!
TNARCOPL__0Z | 35.33 | X | #VALUE!
ARMAND__138A | 35.33 | X | #VALUE!
ARMAND__138T | 35.33 | X | #VALUE!
ARMAND__138U | 35.33 | X | #VALUE!
ARMAND__138Z | 35.33 | X | #VALUE!
ARM_L_A | 35.33 | X | #VALUE!
ARM_L_B | 35.33 | X | #VALUE!
AT_K | 35.33 | X | #VALUE!
ATK_138A | 35.33 | X | #VALUE!
ATK_138B | 35.33 | X | #VALUE!
ATK_KLI | 35.33 | X | #VALUE!
ATK_KQ | 35.33 | X | #VALUE!
CF_KS | 35.33 | X | #VALUE!
CF_KT | 35.33 | X | #VALUE!
CG_K | 35.33 | X | #VALUE!
CG_KR | 35.33 | X | #VALUE!
COUGAR__138T | 35.33 | X | #VALUE!
COUGAR__138U | 35.33 | X | #VALUE!
CHAMBR__345A | 35.33 | X | #VALUE!
CHB_E_1 | 35.33 | X | #VALUE!
CHB_V_A | 35.33 | X | #VALUE!
CNB_J | 35.33 | X | #VALUE!
CNB_K | 35.33 | X | #VALUE!
CHE_GN4_8025 | 35.33 | X | #VALUE!
CHE_GT1_8015 | 35.33 | X | #VALUE!
CHE_GT2_5030 | 35.33 | X | #VALUE!
TNCHEROKEE1T | 35.33 | X | #VALUE!
TNCHEROKEE1U | 35.33 | X | #VALUE!
CHANEL__69AT | 35.33 | X | #VALUE!
CHANEL__69AW | 35.33 | X | #VALUE!
TNCHOCTAW_0 | 35.33 | X | #VALUE!
TNCHOCTAW_0Z | 35.33 | X | #VALUE!
CHAMON__800Q | 35.33 | X | #VALUE!
CHAMON__800R | 35.33 | X | #VALUE!
CHAMON__800S | 35.33 | X | #VALUE!
CHAMON__800T | 35.33 | X | #VALUE!
CHAMON__800U | 35.33 | X | #VALUE!
CAMRON__138V | 35.33 | X | #VALUE!
COLLIN__69XX | 35.33 | X | #VALUE!
COLLIN__69XY | 35.33 | X | #VALUE!
CK_K | 35.33 | X | #VALUE!
CK_KK | 35.33 | X | #VALUE!
CL_KV | 35.33 | X | #VALUE!
CL_K | 35.33 | X | #VALUE!
TNCLEMENS_0Z | 35.33 | X | #VALUE!
BS_K | 35.33 | X | #VALUE!
BSF_GT1_8070 | 35.33 | X | #VALUE!
BASF____138A | 35.33 | X | #VALUE!
BASF____138N | 35.33 | X | #VALUE!
BASF____138O | 35.33 | X | #VALUE!
BASF____138P | 35.33 | X | #VALUE!
BASF____138Q | 35.33 | X | #VALUE!
BASF____138Z | 35.33 | X | #VALUE!
BSF_E_1 | 35.33 | X | #VALUE!
BSF_GN | 35.33 | X | #VALUE!
BSF_K | 35.33 | X | #VALUE!
BSF_KT | 35.33 | X | #VALUE!
BOOSTR__801Z | 35.33 | X | #VALUE!
BT_K | 35.33 | X | #VALUE!
BT_KW | 35.33 | X | #VALUE!
BTE_GT2_8075 | 35.33 | X | #VALUE!
BTE_GT3_8045 | 35.33 | X | #VALUE!
BTE_GT4_8055 | 35.33 | X | #VALUE!
BTE_L_A | 35.33 | X | #VALUE!
BTE_L_B | 35.33 | X | #VALUE!
BTE_L_C | 35.33 | X | #VALUE!
BTE_L_F | 35.33 | X | #VALUE!
BTE_ST1_8070 | 35.33 | X | #VALUE!
BTE_BTE_G1 | 35.33 | X | #VALUE!
BTE_BTE_G2 | 35.33 | X | #VALUE!
BTE_BTE_G3 | 35.33 | X | #VALUE!
BTE_BTE_G4 | 35.33 | X | #VALUE!
BTNENY__138A | 35.33 | X | #VALUE!
BTNENY__138J | 35.33 | X | #VALUE!
BTNENY__138K | 35.33 | X | #VALUE!
BTNENY__138Z | 35.33 | X | #VALUE!
BU_K | 35.33 | X | #VALUE!
BU_KV | 35.33 | X | #VALUE!
BV_K | 35.33 | X | #VALUE!
BV_KV | 35.33 | X | #VALUE!
BVE_GT1_GT1 | 35.33 | X | #VALUE!
BVE_GT2_5035 | 35.33 | X | #VALUE!
BVE_KP | 35.33 | X | #VALUE!
BW_K | 35.33 | X | #VALUE!
BW_KI | 35.33 | X | #VALUE!
BW_KJ | 35.33 | X | #VALUE!
BW_KP | 35.33 | X | #VALUE!
BW_KX | 35.33 | X | #VALUE!
BW_KXD | 35.33 | X | #VALUE!
BY_K | 35.33 | X | #VALUE!
BY_KC | 35.33 | X | #VALUE!
BY_KJ | 35.33 | X | #VALUE!
BRYAN___69XW | 35.33 | X | #VALUE!
BYN_KV | 35.33 | X | #VALUE!
BYN_KZ | 35.33 | X | #VALUE!
BYPARK__138B | 35.33 | X | #VALUE!
CAPEMUT4Y | 35.33 | X | #VALUE!
BYU_GT1_8075 | 35.33 | X | #VALUE!
BYU_GT2_8055 | 35.33 | X | #VALUE!
BYU_GT3_8060 | 35.33 | X | #VALUE!
BYU_GT4_8065 | 35.33 | X | #VALUE!
BYU_K | 35.33 | X | #VALUE!
BYU_KF | 35.33 | X | #VALUE!
BAYOU___138V | 35.33 | X | #VALUE!
BAYOU___138W | 35.33 | X | #VALUE!
BYU_1 | 35.33 | X | #VALUE!
BYU_2 | 35.33 | X | #VALUE!
BYU_BYU_G1 | 35.33 | X | #VALUE!
BYU_BYU_G3 | 35.33 | X | #VALUE!
EB_BYU_PUN1 | 35.33 | X | #VALUE!
EB_BYU_PUN2 | 35.33 | X | #VALUE!
EB_BYU_PUN3 | 35.33 | X | #VALUE!
EB_BYU_PUN4 | 35.33 | X | #VALUE!
BZ_K | 35.33 | X | #VALUE!
BZ_KM | 35.33 | X | #VALUE!
CA_K | 35.33 | X | #VALUE!
CA_KT | 35.33 | X | #VALUE!
CAL_ST1_8000 | 35.33 | X | #VALUE!
CAL_GT1_8045 | 35.33 | X | #VALUE!
CAL_L_A | 35.33 | X | #VALUE!
CAL_L_B | 35.33 | X | #VALUE!
EP_KG | 35.33 | X | #VALUE!
EP_KV | 35.33 | X | #VALUE!
ES_KF | 35.33 | X | #VALUE!
ES_KP | 35.33 | X | #VALUE!
ET_K | 35.33 | X | #VALUE!
ET_KG | 35.33 | X | #VALUE!
ET_KT | 35.33 | X | #VALUE!
EPOTH___800T | 35.33 | X | #VALUE!
EPOTH___800U | 35.33 | X | #VALUE!
EU_K | 35.33 | X | #VALUE!
EU_KB | 35.33 | X | #VALUE!
EU_KS | 35.33 | X | #VALUE!
EX_K | 35.33 | X | #VALUE!
EB_G1 | 35.33 | X | #VALUE!
EB_G3 | 35.33 | X | #VALUE!
EB_H101 | 35.33 | X | #VALUE!
EB_H301 | 35.33 | X | #VALUE!
EXN_G10 | 35.33 | X | #VALUE!
EXN_G11 | 35.33 | X | #VALUE!
EXN_G12 | 35.33 | X | #VALUE!
EXN_G13 | 35.33 | X | #VALUE!
EXN_G4 | 35.33 | X | #VALUE!
EXN_G8 | 35.33 | X | #VALUE!
MONSAN__138S | 35.33 | X | #VALUE!
MONSAN__138Y | 35.33 | X | #VALUE!
MTL_LD_TR1 | 35.33 | X | #VALUE!
MU_K | 35.33 | X | #VALUE!
MU_KI | 35.33 | X | #VALUE!
TNMAGNOLIA1X | 35.33 | X | #VALUE!
MAR_L_A | 35.33 | X | #VALUE!
MASON___138V | 35.33 | X | #VALUE!
MASON___138W | 35.33 | X | #VALUE!
HK_KG | 35.33 | X | #VALUE!
HK_KI | 35.33 | X | #VALUE!
HK_KN | 35.33 | X | #VALUE!
HK_KU | 35.33 | X | #VALUE!
HK_KUQ | 35.33 | X | #VALUE!
HL_KD | 35.33 | X | #VALUE!
HL_K | 35.33 | X | #VALUE!
HM_K | 35.33 | X | #VALUE!
HM_KR | 35.33 | X | #VALUE!
HM_KV | 35.33 | X | #VALUE!
HN_K | 35.33 | X | #VALUE!
HN_KD | 35.33 | X | #VALUE!
HANEY___138V | 35.33 | X | #VALUE!
HANEY___138W | 35.33 | X | #VALUE!
H_O_C___908S | 35.33 | X | #VALUE!
H_O_C___908T | 35.33 | X | #VALUE!
H_O_C___908U | 35.33 | X | #VALUE!
HP_K | 35.33 | X | #VALUE!
HP_KH | 35.33 | X | #VALUE!
HR_K | 35.33 | X | #VALUE!
HR_KG | 35.33 | X | #VALUE!
HR_KR | 35.33 | X | #VALUE!
HR_KV | 35.33 | X | #VALUE!
HEARNE9 | 35.33 | X | #VALUE!
HEARNE8 | 35.33 | X | #VALUE!
HILCRF05800S | 35.33 | X | #VALUE!
HILCRF05800T | 35.33 | X | #VALUE!
HILCRF05800U | 35.33 | X | #VALUE!
HUNTER__138P | 35.33 | X | #VALUE!
HUNTER__138Q | 35.33 | X | #VALUE!
HUNTER__138R | 35.33 | X | #VALUE!
HUNTER__138S | 35.33 | X | #VALUE!
HUNTER__138T | 35.33 | X | #VALUE!
HV_K | 35.33 | X | #VALUE!
HV_KN | 35.33 | X | #VALUE!
HX_K | 35.33 | X | #VALUE!
HX_KI | 35.33 | X | #VALUE!
HY_K | 35.33 | X | #VALUE!
HY_KC | 35.33 | X | #VALUE!
HY_KS | 35.33 | X | #VALUE!
IMPERL05802V | 35.33 | X | #VALUE!
IMPERL05802W | 35.33 | X | #VALUE!
IMPERL05802X | 35.33 | X | #VALUE!
INDUST38900Z | 35.33 | X | #VALUE!
INDUST84800Y | 35.33 | X | #VALUE!
INTEQ___138W | 35.33 | X | #VALUE!
TNINTRCITY0W | 35.33 | X | #VALUE!
TNINTRCITY0Y | 35.33 | X | #VALUE!
IR_K | 35.33 | X | #VALUE!
IR_KG | 35.33 | X | #VALUE!
TNMARTHNOL0W | 35.33 | X | #VALUE!
TNMARTHNOL0X | 35.33 | X | #VALUE!
TNMARTHNOL0Y | 35.33 | X | #VALUE!
TNMARTHNPL0 | 35.33 | X | #VALUE!
MB_KZ | 35.33 | X | #VALUE!
MB_K | 35.33 | X | #VALUE!
MB_KS | 35.33 | X | #VALUE!
MC_K | 35.33 | X | #VALUE!
MC_KN | 35.33 | X | #VALUE!
MD_K | 35.33 | X | #VALUE!
EB_MDO_345A | 35.33 | X | #VALUE!
EB_MDO_345B | 35.33 | X | #VALUE!
EB_MDO_345C | 35.33 | X | #VALUE!
MOODY63_138V | 35.33 | X | #VALUE!
MOODY63_138Y | 35.33 | X | #VALUE!
ME_K | 35.33 | X | #VALUE!
ME_KN | 35.33 | X | #VALUE!
ME_KU | 35.33 | X | #VALUE!
HILCORP_L_A | 35.33 | X | #VALUE!
HILCORP_L_B | 35.33 | X | #VALUE!
HIMONT__805P | 35.33 | X | #VALUE!
HIMONT__805Q | 35.33 | X | #VALUE!
HIMONT__805R | 35.33 | X | #VALUE!
HIMONT__805S | 35.33 | X | #VALUE!
HIMONT__805T | 35.33 | X | #VALUE!
HK_KV | 35.33 | X | #VALUE!
HK_KVS | 35.33 | X | #VALUE!
HK_K | 35.33 | X | #VALUE!
EXN_G9 | 35.33 | X | #VALUE!
EXN_G14 | 35.33 | X | #VALUE!
EB_138C | 35.33 | X | #VALUE!
EXTER___69XU | 35.33 | X | #VALUE!
FANNIN__138V | 35.33 | X | #VALUE!
FANNIN__138W | 35.33 | X | #VALUE!
FD_K | 35.33 | X | #VALUE!
FD_KS | 35.33 | X | #VALUE!
FD_KU | 35.33 | X | #VALUE!
FD_KZ | 35.33 | X | #VALUE!
FDLITY__801X | 35.33 | X | #VALUE!
FL_KP | 35.33 | X | #VALUE!
FL_K | 35.33 | X | #VALUE!
FL_KK | 35.33 | X | #VALUE!
FL_KR | 35.33 | X | #VALUE!
FL_KV | 35.33 | X | #VALUE!
LOMAX___138U | 35.33 | X | #VALUE!
LOMAX___138V | 35.33 | X | #VALUE!
LP_K | 35.33 | X | #VALUE!
LP_KY | 35.33 | X | #VALUE!
LU_K | 35.33 | X | #VALUE!
LU_KQ | 35.33 | X | #VALUE!
LU_KQB | 35.33 | X | #VALUE!
LU_KV | 35.33 | X | #VALUE!
LV_K | 35.33 | X | #VALUE!
LV_KT | 35.33 | X | #VALUE!
LW_K | 35.33 | X | #VALUE!
LW_KM | 35.33 | X | #VALUE!
LY_K | 35.33 | X | #VALUE!
LY_KT | 35.33 | X | #VALUE!
LYDELL__138P | 35.33 | X | #VALUE!
LYDELL__138Q | 35.33 | X | #VALUE!
LYDELL__138T | 35.33 | X | #VALUE!
LZ_K | 35.33 | X | #VALUE!
LZ_KT | 35.33 | X | #VALUE!
LUZBAY__801V | 35.33 | X | #VALUE!
TNMAGNOLIA1V | 35.33 | X | #VALUE!
MIDRCLS_801W | 35.33 | X | #VALUE!
MIDRCLS_801Y | 35.33 | X | #VALUE!
MINING__905V | 35.33 | X | #VALUE!
MINING__905W | 35.33 | X | #VALUE!
MINING__905X | 35.33 | X | #VALUE!
MINING__905Y | 35.33 | X | #VALUE!
MIN_AG1 | 35.33 | X | #VALUE!
MULA____138X | 35.33 | X | #VALUE!
MOMENT__138R | 35.33 | X | #VALUE!
MOMENT__138S | 35.33 | X | #VALUE!
MOMENT__138T | 35.33 | X | #VALUE!
MOMENT__138U | 35.33 | X | #VALUE!
MOCHEM__69XR | 35.33 | X | #VALUE!
MOCHEM__69XS | 35.33 | X | #VALUE!
MOCHEM__69XT | 35.33 | X | #VALUE!
MP_K | 35.33 | X | #VALUE!
MP_KC | 35.33 | X | #VALUE!
MP_KL | 35.33 | X | #VALUE!
MP_KZ | 35.33 | X | #VALUE!
DOWLAP__138U | 35.33 | X | #VALUE!
DOWLAP__138V | 35.33 | X | #VALUE!
DOW69099 | 35.33 | X | #VALUE!
DOW81990 | 35.33 | X | #VALUE!
DOW_E_1 | 35.33 | X | #VALUE!
DOW_E_2 | 35.33 | X | #VALUE!
DOW_____345A | 35.33 | X | #VALUE!
DOW_____345Z | 35.33 | X | #VALUE!
DOWG_DOW_G1 | 35.33 | X | #VALUE!
DOWG_DOW_G62 | 35.33 | X | #VALUE!
DOWGEN_ALL | 35.33 | X | #VALUE!
DOW_____800Z | 35.33 | X | #VALUE!
TNDOW_PUMP0Z | 35.33 | X | #VALUE!
DQ_K | 35.33 | X | #VALUE!
DQ_KP | 35.33 | X | #VALUE!
DR_K | 35.33 | X | #VALUE!
DR_KK | 35.33 | X | #VALUE!
DR_KV | 35.33 | X | #VALUE!
DEUSEN__138T | 35.33 | X | #VALUE!
DEUSEN__138U | 35.33 | X | #VALUE!
DWNTWN__69AC | 35.33 | X | #VALUE!
DWNTWN__69AD | 35.33 | X | #VALUE!
DWNTWN__69AE | 35.33 | X | #VALUE!
DWNTWN__69AF | 35.33 | X | #VALUE!
DWNTWN__69AG | 35.33 | X | #VALUE!
DWNTWN__69AV | 35.33 | X | #VALUE!
DWNTWN__69AW | 35.33 | X | #VALUE!
DV_K | 35.33 | X | #VALUE!
DV_KF | 35.33 | X | #VALUE!
DV_KO | 35.33 | X | #VALUE!
DYANN | 35.33 | X | #VALUE!
DYN_V_A | 35.33 | X | #VALUE!
DYN_V_B | 35.33 | X | #VALUE!
ESBELT__138X | 35.33 | X | #VALUE!
ESFORK__138W | 35.33 | X | #VALUE!
EAGLE___138T | 35.33 | X | #VALUE!
EAGLE___138U | 35.33 | X | #VALUE!
EAG_L_A | 35.33 | X | #VALUE!
EB_K | 35.33 | X | #VALUE!
EB_KA | 35.33 | X | #VALUE!
EB_KO | 35.33 | X | #VALUE!
EB_KW | 35.33 | X | #VALUE!
EC_KJ | 35.33 | X | #VALUE!
EC_KO | 35.33 | X | #VALUE!
EC_KU | 35.33 | X | #VALUE!
ED_K | 35.33 | X | #VALUE!
ED_KU | 35.33 | X | #VALUE!
EL_K | 35.33 | X | #VALUE!
EL_KY | 35.33 | X | #VALUE!
WI_K | 35.33 | X | #VALUE!
WI_KD | 35.33 | X | #VALUE!
WI_KP | 35.33 | X | #VALUE!
WI_KV | 35.33 | X | #VALUE!
WL_K | 35.33 | X | #VALUE!
WILLOW__8010 | 35.33 | X | #VALUE!
WILLOW__801T | 35.33 | X | #VALUE!
WILLOW__801U | 35.33 | X | #VALUE!
WILLOW__801Z | 35.33 | X | #VALUE!
WLO_L_A | 35.33 | X | #VALUE!
WLO_L_B | 35.33 | X | #VALUE!
WHITOK__138G | 35.33 | X | #VALUE!
WHITOK__138J | 35.33 | X | #VALUE!
WHITOK__138K | 35.33 | X | #VALUE!
WHITOK__138M | 35.33 | X | #VALUE!
WHITOK__345I | 35.33 | X | #VALUE!
WRN_K | 35.33 | X | #VALUE!
WARVUE__138T | 35.33 | X | #VALUE!
WARVUE__138U | 35.33 | X | #VALUE!
WT_KD | 35.33 | X | #VALUE!
WT_KE | 35.33 | X | #VALUE!
WT_KP | 35.33 | X | #VALUE!
WV_K | 35.33 | X | #VALUE!
WV_KC | 35.33 | X | #VALUE!
WW_K | 35.33 | X | #VALUE!
WW_KH | 35.33 | X | #VALUE!
WW_KN | 35.33 | X | #VALUE!
WZ_K | 35.33 | X | #VALUE!
WZ_KK | 35.33 | X | #VALUE!
WZ_KY | 35.33 | X | #VALUE!
AK_GT1__8040 | 35.33 | X | #VALUE!
EP_1_2 | 35.33 | X | #VALUE!
SL_SL_G3 | 35.33 | X | #VALUE!
SL_SL_G4 | 35.33 | X | #VALUE!
TR8LSL_LD_ | 35.33 | X | #VALUE!
SHELL___138R | 35.33 | X | #VALUE!
SL_SL_G1 | 35.33 | X | #VALUE!
X1MPG1_AUX | 35.33 | X | #VALUE!
X2MPG2_AUX | 35.33 | X | #VALUE!
01J5SL_LD_ | 35.33 | X | #VALUE!
02J7SL_LD_ | 35.33 | X | #VALUE!
1J12SL_LD_ | 35.33 | X | #VALUE!
2J10SL_LD_ | 35.33 | X | #VALUE!
SYLVAN__800X | 35.33 | X | #VALUE!
STRATT__138V | 35.33 | X | #VALUE!
STRATT__138W | 35.33 | X | #VALUE!
STEWRT__138T | 35.33 | X | #VALUE!
STEWRT__138U | 35.33 | X | #VALUE!
SW_K | 35.33 | X | #VALUE!
SW_KA | 35.33 | X | #VALUE!
SWEENY_K | 35.33 | X | #VALUE!
SWEENY_KU | 35.33 | X | #VALUE!
TNSWEENY__0V | 35.33 | X | #VALUE!
TNSWEENY__0W | 35.33 | X | #VALUE!
TNSLCGN1__8Z | 35.33 | X | #VALUE!
TNSLCOGEN_0Y | 35.33 | X | #VALUE!
TB_K | 35.33 | X | #VALUE!
TB_KA | 35.33 | X | #VALUE!
TB_KC | 35.33 | X | #VALUE!
TB_KH | 35.33 | X | #VALUE!
TB_KHE | 35.33 | X | #VALUE!
TB_KL | 35.33 | X | #VALUE!
TB_KLM | 35.33 | X | #VALUE!
TB_KU | 35.33 | X | #VALUE!
TB_KN | 35.33 | X | #VALUE!
TB_KP | 35.33 | X | #VALUE!
TC_KQ | 35.33 | X | #VALUE!
TC_KQR | 35.33 | X | #VALUE!
TC_KR | 35.33 | X | #VALUE!
TC_KT | 35.33 | X | #VALUE!
TE_K | 35.33 | X | #VALUE!
TE_KS | 35.33 | X | #VALUE!
TNTEJAS___1X | 35.33 | X | #VALUE!
TNTEJAS___1Y | 35.33 | X | #VALUE!
TGF_KN | 35.33 | X | #VALUE!
TGF_L_A | 35.33 | X | #VALUE!
TGF_1 | 35.33 | X | #VALUE!
TGF_2 | 35.33 | X | #VALUE!
TGF_L_B | 35.33 | X | #VALUE!
TXGLF___138A | 35.33 | X | #VALUE!
SN_K | 35.33 | X | #VALUE!
SN_KA | 35.33 | X | #VALUE!
SN_KI | 35.33 | X | #VALUE!
SN_KJ | 35.33 | X | #VALUE!
SN_KS | 35.33 | X | #VALUE!
SN_KW | 35.33 | X | #VALUE!
SNG_345B | 35.33 | X | #VALUE!
SNG_345D | 35.33 | X | #VALUE!
SOWYCK__800V | 35.33 | X | #VALUE!
SOWYCK__800W | 35.33 | X | #VALUE!
SO_L_A | 35.33 | X | #VALUE!
SOUTH___138V | 35.33 | X | #VALUE!
SOUTH___138W | 35.33 | X | #VALUE!
SOLMER__138R | 35.33 | X | #VALUE!
SOLMER__138S | 35.33 | X | #VALUE!
SOLMER__138T | 35.33 | X | #VALUE!
SOLMER__138U | 35.33 | X | #VALUE!
TNSOUSHORE1T | 35.33 | X | #VALUE!
TNSOUSHORE1U | 35.33 | X | #VALUE!
SP_K | 35.33 | X | #VALUE!
SP_KJ | 35.33 | X | #VALUE!
SP_KL | 35.33 | X | #VALUE!
SR_KD | 35.33 | X | #VALUE!
SR_KK | 35.33 | X | #VALUE!
SR_KL | 35.33 | X | #VALUE!
SR_KWN | 35.33 | X | #VALUE!
SRB_E_3 | 35.33 | X | #VALUE!
SRB_LST2 | 35.33 | X | #VALUE!
S_R_B___138A | 35.33 | X | #VALUE!
S_R_B___138C | 35.33 | X | #VALUE!
SURFSI__69XS | 35.33 | X | #VALUE!
SURFSI__69XT | 35.33 | X | #VALUE!
SURFSI__69XU | 35.33 | X | #VALUE!
ST_K | 35.33 | X | #VALUE!
ST_KE | 35.33 | X | #VALUE!
ST_KO | 35.33 | X | #VALUE!
ST_KW | 35.33 | X | #VALUE!
STATE___138T | 35.33 | X | #VALUE!
STATE___138U | 35.33 | X | #VALUE!
STAFRD05800W | 35.33 | X | #VALUE!
STAFRD05800X | 35.33 | X | #VALUE!
STF_L_A | 35.33 | X | #VALUE!
STF_L_B | 35.33 | X | #VALUE!
TNOLDOCEAN0 | 35.33 | X | #VALUE!
TNOLDOCEAN0Y | 35.33 | X | #VALUE!
TNOLDOCEAN0Z | 35.33 | X | #VALUE!
OR_KQ | 35.33 | X | #VALUE!
OR_KVO | 35.33 | X | #VALUE!
ORION_L_A | 35.33 | X | #VALUE!
TNP662____0X | 35.33 | X | #VALUE!
TNP662____0Y | 35.33 | X | #VALUE!
P66_3_KJ | 35.33 | X | #VALUE!
P66_3_KJQ | 35.33 | X | #VALUE!
TNP663____0X | 35.33 | X | #VALUE!
TNP663____0Y | 35.33 | X | #VALUE!
PA_K | 35.33 | X | #VALUE!
PA_KH | 35.33 | X | #VALUE!
PA_KP | 35.33 | X | #VALUE!
PE_K | 35.33 | X | #VALUE!
PE_KD | 35.33 | X | #VALUE!
PETSON__138A | 35.33 | X | #VALUE!
PETSON__138T | 35.33 | X | #VALUE!
PETSON__138U | 35.33 | X | #VALUE!
PETSON__138Z | 35.33 | X | #VALUE!
PG_K | 35.33 | X | #VALUE!
CALVERTMIN | 35.33 | X | #VALUE!
TNPHILLPS30Y | 35.33 | X | #VALUE!
PHILLPS5_K | 35.33 | X | #VALUE!
TNPHILLPS50 | 35.33 | X | #VALUE!
TNPHILLPS50X | 35.33 | X | #VALUE!
TNPHILLPS50Y | 35.33 | X | #VALUE!
TNPHILLPS50Z | 35.33 | X | #VALUE!
TNPHLLPSOP0Z | 35.33 | X | #VALUE!
TNPHLLPSTF0Z | 35.33 | X | #VALUE!
P_H_R___138A | 35.33 | X | #VALUE!
P_H_R___8150 | 35.33 | X | #VALUE!
P_H_R___815H | 35.33 | X | #VALUE!
P_H_R___815J | 35.33 | X | #VALUE!
P_H_R___345E | 35.33 | X | #VALUE!
P_H_R___345Y | 35.33 | X | #VALUE!
PI_K | 35.33 | X | #VALUE!
PI_KB | 35.33 | X | #VALUE!
PI_KI | 35.33 | X | #VALUE!
PAIR____138U | 35.33 | X | #VALUE!
PAIR____138V | 35.33 | X | #VALUE!
PAIR____138W | 35.33 | X | #VALUE!
PJ_K | 35.33 | X | #VALUE!
PJ_KK | 35.33 | X | #VALUE!
PK_KA | 35.33 | X | #VALUE!
PK_KG | 35.33 | X | #VALUE!
PK_KM | 35.33 | X | #VALUE!
PK_KS | 35.33 | X | #VALUE!
PK_KT | 35.33 | X | #VALUE!
PK_KX | 35.33 | X | #VALUE!
PHILIP__138V | 35.33 | X | #VALUE!
PHILIP__138W | 35.33 | X | #VALUE!
PL_L_A | 35.33 | X | #VALUE!
PLARIS35802S | 35.33 | X | #VALUE!
PLARIS35802T | 35.33 | X | #VALUE!
PLARIS35802U | 35.33 | X | #VALUE!
TXPET___69XV | 35.33 | X | #VALUE!
PORT____138V | 35.33 | X | #VALUE!
PORT____138W | 35.33 | X | #VALUE!
PORT____138X | 35.33 | X | #VALUE!
PSA_GN1_8165 | 35.33 | X | #VALUE!
PSA_GT1_8160 | 35.33 | X | #VALUE!
PSA_GT2_8155 | 35.33 | X | #VALUE!
PSA_GT3_8150 | 35.33 | X | #VALUE!
PSA_GT4_8145 | 35.33 | X | #VALUE!
PSA_GT5_8140 | 35.33 | X | #VALUE!
PSA_GT6_8135 | 35.33 | X | #VALUE!
PSA_L_A | 35.33 | X | #VALUE!
PSA_L_B | 35.33 | X | #VALUE!
PSG_GN2_8050 | 35.33 | X | #VALUE!
PSG_KRS | 35.33 | X | #VALUE!
PSG_KY | 35.33 | X | #VALUE!
PSG_ST2 | 35.33 | X | #VALUE!
PT_9020 | 35.33 | X | #VALUE!
PT_KE | 35.33 | X | #VALUE!
PT_KX | 35.33 | X | #VALUE!
PT_K | 35.33 | X | #VALUE!
PW_K | 35.33 | X | #VALUE!
PW_KB | 35.33 | X | #VALUE!
POWELL__138U | 35.33 | X | #VALUE!
PZ_KM | 35.33 | X | #VALUE!
PZ_KT | 35.33 | X | #VALUE!
QUANAB__138R | 35.33 | X | #VALUE!
QUANAB__138S | 35.33 | X | #VALUE!
QUANAB__138T | 35.33 | X | #VALUE!
QUANAB__138U | 35.33 | X | #VALUE!
QNM_R_A | 35.33 | X | #VALUE!
QUANUM__138U | 35.33 | X | #VALUE!
QUANUM__138V | 35.33 | X | #VALUE!
QNT_K | 35.33 | X | #VALUE!
QNT_KQ | 35.33 | X | #VALUE!
QNT_L_A | 35.33 | X | #VALUE!
QNT_L_B | 35.33 | X | #VALUE!
QV_K | 35.33 | X | #VALUE!
QV_KG | 35.33 | X | #VALUE!
RA_K | 35.33 | X | #VALUE!
RA_KG | 35.33 | X | #VALUE!
RA_KL | 35.33 | X | #VALUE!
RA_KS | 35.33 | X | #VALUE!
WA_K | 35.33 | X | #VALUE!
WAP_GN1_1 | 35.33 | X | #VALUE!
WAP_GN2_2 | 35.33 | X | #VALUE!
WAP_GN5_5 | 35.33 | X | #VALUE!
WAP_GN6_6 | 35.33 | X | #VALUE!
WAP_GN7_7 | 35.33 | X | #VALUE!
WAP_GN8_8 | 35.33 | X | #VALUE!
WAP_L5A | 35.33 | X | #VALUE!
W_A_P___138 | 35.33 | X | #VALUE!
W_A_P___1380 | 35.33 | X | #VALUE!
W_A_P___138C | 35.33 | X | #VALUE!
W_A_P___138D | 35.33 | X | #VALUE!
W_A_P___138E | 35.33 | X | #VALUE!
W_A_P___138F | 35.33 | X | #VALUE!
WABURN__138Y | 35.33 | X | #VALUE!
WBY_L_A | 35.33 | X | #VALUE!
WBY_L_B | 35.33 | X | #VALUE!
W_COL___69A | 35.33 | X | #VALUE!
W_COL___69AT | 35.33 | X | #VALUE!
_WC_V_C | 35.33 | X | #VALUE!
CW_COL__138H | 35.33 | X | #VALUE!
TNWCOLLOCL1 | 35.33 | X | #VALUE!
TNWCOLLOCL1V | 35.33 | X | #VALUE!
TNWCOLLOCL1W | 35.33 | X | #VALUE!
TNWCOLLOCL1Z | 35.33 | X | #VALUE!
TNWCOLMAIN1 | 35.33 | X | #VALUE!
TNWCOLMAIN1V | 35.33 | X | #VALUE!
TNWCOLMAIN1W | 35.33 | X | #VALUE!
TNWCOLMAIN1Y | 35.33 | X | #VALUE!
WD_K | 35.33 | X | #VALUE!
WD_KF | 35.33 | X | #VALUE!
WE_K | 35.33 | X | #VALUE!
WE_KM | 35.33 | X | #VALUE!
CWEBSTR_808I | 35.33 | X | #VALUE!
CWEBSTR_808J | 35.33 | X | #VALUE!
CWEBSTR_808K | 35.33 | X | #VALUE!
EB_WF_138E | 35.33 | X | #VALUE!
EB_WF_138F | 35.33 | X | #VALUE!
EB_WF_138G | 35.33 | X | #VALUE!
EB_WF_8065 | 35.33 | X | #VALUE!
WF_138H_EB | 35.33 | X | #VALUE!
WF_K | 35.33 | X | #VALUE!
WF_KD | 35.33 | X | #VALUE!
WF_KE | 35.33 | X | #VALUE!
WF_KI | 35.33 | X | #VALUE!
WF_KK | 35.33 | X | #VALUE!
WF_KQ | 35.33 | X | #VALUE!
WF_KX | 35.33 | X | #VALUE!
GV_KB | 35.33 | X | #VALUE!
GV_KBD | 35.33 | X | #VALUE!
GV_KCY | 35.33 | X | #VALUE!
GV_KT | 35.33 | X | #VALUE!
GV_KTB | 35.33 | X | #VALUE!
GV_KY | 35.33 | X | #VALUE!
GV_KC | 35.33 | X | #VALUE!
GW_K | 35.33 | X | #VALUE!
GW_KV | 35.33 | X | #VALUE!
GYPSUMZ | 35.33 | X | #VALUE!
GYPSUM__69X | 35.33 | X | #VALUE!
GDYEAR__138T | 35.33 | X | #VALUE!
GDYEAR__138U | 35.33 | X | #VALUE!
GZ_K | 35.33 | X | #VALUE!
GZ_KG | 35.33 | X | #VALUE!
HA_K | 35.33 | X | #VALUE!
HA_KF | 35.33 | X | #VALUE!
HA_KQ | 35.33 | X | #VALUE!
HADEN___138U | 35.33 | X | #VALUE!
HADEN___138V | 35.33 | X | #VALUE!
HANNA___801X | 35.33 | X | #VALUE!
TNHASTINGS1V | 35.33 | X | #VALUE!
TNHASTINGS1W | 35.33 | X | #VALUE!
HACHER__138U | 35.33 | X | #VALUE!
HACHER__138V | 35.33 | X | #VALUE!
HB_KV | 35.33 | X | #VALUE!
HB_KX | 35.33 | X | #VALUE!
HB_T4HS | 35.33 | X | #VALUE!
T5HS | 35.33 | X | #VALUE!
T6HS | 35.33 | X | #VALUE!
HE_K | 35.33 | X | #VALUE!
HE_KM | 35.33 | X | #VALUE!
HE_KN | 35.33 | X | #VALUE!
TNHEIGHTS_1M | 35.33 | X | #VALUE!
HG_K | 35.33 | X | #VALUE!
HG_KQ | 35.33 | X | #VALUE!
HG_KS | 35.33 | X | #VALUE!
GL_KN | 35.33 | X | #VALUE!
GL_KT | 35.33 | X | #VALUE!
GL_KW | 35.33 | X | #VALUE!
GN_KG | 35.33 | X | #VALUE!
GN_KK | 35.33 | X | #VALUE!
GN_KP | 35.33 | X | #VALUE!
GN_KS | 35.33 | X | #VALUE!
GN_KU | 35.33 | X | #VALUE!
GN_KW | 35.33 | X | #VALUE!
GN_KY | 35.33 | X | #VALUE!
GENOA35_8025 | 35.33 | X | #VALUE!
GENOA95_8015 | 35.33 | X | #VALUE!
GP_KV | 35.33 | X | #VALUE!
GP_KZ | 35.33 | X | #VALUE!
GR_K | 35.33 | X | #VALUE!
GR_KB | 35.33 | X | #VALUE!
DA_K | 35.33 | X | #VALUE!
DA_KV | 35.33 | X | #VALUE!
DAVSON__138T | 35.33 | X | #VALUE!
DAVSON__138U | 35.33 | X | #VALUE!
DPEC_GT15040 | 35.33 | X | #VALUE!
DPEC_GT25025 | 35.33 | X | #VALUE!
DPEC_GT35010 | 35.33 | X | #VALUE!
DPEC_GT45070 | 35.33 | X | #VALUE!
DPEC_ST55065 | 35.33 | X | #VALUE!
DDPEC_1 | 35.33 | X | #VALUE!
DDPEC_2 | 35.33 | X | #VALUE!
DDPEC_E_1 | 35.33 | X | #VALUE!
DDPEC_E_2 | 35.33 | X | #VALUE!
DDPEC_E_3 | 35.33 | X | #VALUE!
DDPEC_E_4 | 35.33 | X | #VALUE!
DDPEC_E_5 | 35.33 | X | #VALUE!
DDPEC_GT2 | 35.33 | X | #VALUE!
DDPEC_GT4 | 35.33 | X | #VALUE!
DDPEC_ST1 | 35.33 | X | #VALUE!
DE_K | 35.33 | X | #VALUE!
DE_KX | 35.33 | X | #VALUE!
DH_K | 35.33 | X | #VALUE!
DH_KK | 35.33 | X | #VALUE!
DH_KS | 35.33 | X | #VALUE!
DIB_GT1_8080 | 35.33 | X | #VALUE!
DIB_GT2_8075 | 35.33 | X | #VALUE!
DIB_GT3_8090 | 35.33 | X | #VALUE!
DIB_ST1_8085 | 35.33 | X | #VALUE!
DS_BAT__1384 | 35.33 | X | #VALUE!
DS_BAT__1385 | 35.33 | X | #VALUE!
DS_BAT__1386 | 35.33 | X | #VALUE!
DS_BAT__1387 | 35.33 | X | #VALUE!
DS_BAT__1388 | 35.33 | X | #VALUE!
DS_BAT__1389 | 35.33 | X | #VALUE!
DS_BAT__138B | 35.33 | X | #VALUE!
DS_BAT__138C | 35.33 | X | #VALUE!
TNDICKNSON1V | 35.33 | X | #VALUE!
TNDICKNSON1X | 35.33 | X | #VALUE!
CAPEMUT1U | 35.33 | X | #VALUE!
CAPEMUT1V | 35.33 | X | #VALUE!
DKR_LD_TR3 | 35.33 | X | #VALUE!
DL_K | 35.33 | X | #VALUE!
DL_KQ | 35.33 | X | #VALUE!
DL_KX | 35.33 | X | #VALUE!
DN_K | 35.33 | X | #VALUE!
DN_KO | 35.33 | X | #VALUE!
DN_KZ | 35.33 | X | #VALUE!
GS_KD | 35.33 | X | #VALUE!
GS_KE | 35.33 | X | #VALUE!
GS_KL | 35.33 | X | #VALUE!
GS_KM | 35.33 | X | #VALUE!
GS_KW | 35.33 | X | #VALUE!
GS_KXO | 35.33 | X | #VALUE!
GT_KD | 35.33 | X | #VALUE!
CROWN___138U | 35.33 | X | #VALUE!
CROWN___138V | 35.33 | X | #VALUE!
CROSBY__69AW | 35.33 | X | #VALUE!
CROSBY__69AX | 35.33 | X | #VALUE!
CTL_GN1_8145 | 35.33 | X | #VALUE!
CTL_GN2_8155 | 35.33 | X | #VALUE!
CTL_GT2_8130 | 35.33 | X | #VALUE!
CTL_GT3_8135 | 35.33 | X | #VALUE!
CTL_GT4_8140 | 35.33 | X | #VALUE!
CAPTOL__138A | 35.33 | X | #VALUE!
CAPTOL__138Z | 35.33 | X | #VALUE!
CTL_1 | 35.33 | X | #VALUE!
CTL_2 | 35.33 | X | #VALUE!
CTL_3 | 35.33 | X | #VALUE!
CTL_4 | 35.33 | X | #VALUE!
CTL_5 | 35.33 | X | #VALUE!
CTL_E_1 | 35.33 | X | #VALUE!
CTL_E_2 | 35.33 | X | #VALUE!
CTL_L_A | 35.33 | X | #VALUE!
CENTER__345A | 35.33 | X | #VALUE!
CENTER__345U | 35.33 | X | #VALUE!
CENTER__345V | 35.33 | X | #VALUE!
CTR_V_B | 35.33 | X | #VALUE!
CITIES__138S | 35.33 | X | #VALUE!
CITIES__138V | 35.33 | X | #VALUE!
CV_K | 35.33 | X | #VALUE!
CV_KA | 35.33 | X | #VALUE!
CV_KO | 35.33 | X | #VALUE!
CVC_ST5_5040 | 35.33 | X | #VALUE!
CVC_GT1_5035 | 35.33 | X | #VALUE!
CVC_GT2_5020 | 35.33 | X | #VALUE!
CVC_GT3_5045 | 35.33 | X | #VALUE!
EB_CVC_G2L | 35.33 | X | #VALUE!
EB_CVC_G3L | 35.33 | X | #VALUE!
CHEV____138I | 35.33 | X | #VALUE!
CHEV____138J | 35.33 | X | #VALUE!
CHEV____138K | 35.33 | X | #VALUE!
CHEV____138L | 35.33 | X | #VALUE!
CHEV____138M | 35.33 | X | #VALUE!
CHEV____138N | 35.33 | X | #VALUE!
CHEV____138O | 35.33 | X | #VALUE!
CYFAIR76803R | 35.33 | X | #VALUE!
CYFAIR76803U | 35.33 | X | #VALUE!
CYFAIR76803W | 35.33 | X | #VALUE!
AU_K | 35.33 | X | #VALUE!
AU_KV | 35.33 | X | #VALUE!
AU_KVT | 35.33 | X | #VALUE!
AV_K | 35.33 | X | #VALUE!
AV_KD | 35.33 | X | #VALUE!
LPE_GT1_8070 | 35.33 | X | #VALUE!
LPE_GT2_8075 | 35.33 | X | #VALUE!
LPE_GT3_8080 | 35.33 | X | #VALUE!
LPE_GT4_8085 | 35.33 | X | #VALUE!
AZ_ABC3_EB | 35.33 | X | #VALUE!
AZ_KI | 35.33 | X | #VALUE!
AZ_KV | 35.33 | X | #VALUE!
_AZ_L_D | 35.33 | X | #VALUE!
BA_K | 35.33 | X | #VALUE!
BA_KA | 35.33 | X | #VALUE!
BA_KD | 35.33 | X | #VALUE!
BA_KH | 35.33 | X | #VALUE!
BA_KP | 35.33 | X | #VALUE!
BA_KR | 35.33 | X | #VALUE!
BA_KRR | 35.33 | X | #VALUE!
BARKER73802T | 35.33 | X | #VALUE!
BARKER73802U | 35.33 | X | #VALUE!
BARKER73802X | 35.33 | X | #VALUE!
TNBAYVIEW_0V | 35.33 | X | #VALUE!
TNBAYVIEW_0W | 35.33 | X | #VALUE!
BARBUR__138T | 35.33 | X | #VALUE!
BARBUR__138W | 35.33 | X | #VALUE!
BBP_1 | 35.33 | X | #VALUE!
BBP_2 | 35.33 | X | #VALUE!
BIGBAY__138N | 35.33 | X | #VALUE!
BIGBAY__138O | 35.33 | X | #VALUE!
BIGBAY__138P | 35.33 | X | #VALUE!
BIGBAY__138Q | 35.33 | X | #VALUE!
BIGBAY__138R | 35.33 | X | #VALUE!
BIGBAY__138S | 35.33 | X | #VALUE!
BC_K | 35.33 | X | #VALUE!
BC_KO | 35.33 | X | #VALUE!
BIGVUE__138S | 35.33 | X | #VALUE!
BIGVUE__138T | 35.33 | X | #VALUE!
BIGVUE__138U | 35.33 | X | #VALUE!
BIGVUE__138V | 35.33 | X | #VALUE!
BE_K | 35.33 | X | #VALUE!
BE_KV | 35.33 | X | #VALUE!
BET_138A | 35.33 | X | #VALUE!
BET_138B | 35.33 | X | #VALUE!
BET_K | 35.33 | X | #VALUE!
BET_KZ | 35.33 | X | #VALUE!
CAPEMUT2Y | 35.33 | X | #VALUE!
BFP_KM | 35.33 | X | #VALUE!
BFP_KT | 35.33 | X | #VALUE!
BFP_L_A | 35.33 | X | #VALUE!
BIPORT__138U | 35.33 | X | #VALUE!
BG_KH | 35.33 | X | #VALUE!
BG_K | 35.33 | X | #VALUE!
BH_K | 35.33 | X | #VALUE!
BH_KR | 35.33 | X | #VALUE!
CBELAIR_817C | 35.33 | X | #VALUE!
CBELAIR_817D | 35.33 | X | #VALUE!
CBELAIR_817F | 35.33 | X | #VALUE!
CBELAIR_817G | 35.33 | X | #VALUE!
CBELAIR_817H | 35.33 | X | #VALUE!
BARHIL__138T | 35.33 | X | #VALUE!
BARHIL__138U | 35.33 | X | #VALUE!
BL_K | 35.33 | X | #VALUE!
BL_KN | 35.33 | X | #VALUE!
BL_KU | 35.33 | X | #VALUE!
BM_KD | 35.33 | X | #VALUE!
BM_KK | 35.33 | X | #VALUE!
BORDEN__801X | 35.33 | X | #VALUE!
BORDEN__801Y | 35.33 | X | #VALUE!
BR_K | 35.33 | X | #VALUE!
BR_KL | 35.33 | X | #VALUE!
BR_KP | 35.33 | X | #VALUE!
TNBRAZORIA0 | 35.33 | X | #VALUE!
TNBRAZORIA1U | 35.33 | X | #VALUE!
TNBRAZORIA1V | 35.33 | X | #VALUE!
TNBRAZORIA1W | 35.33 | X | #VALUE!
TNBRAZORIA1X | 35.33 | X | #VALUE!
BRINE___138X | 35.33 | X | #VALUE!
BROWN___69XU | 35.33 | X | #VALUE!
BROWN___69XV | 35.33 | X | #VALUE!
FREMAN__138V | 35.33 | X | #VALUE!
FREMAN__138W | 35.33 | X | #VALUE!
FOSTER__900Z | 35.33 | X | #VALUE!
FP_K | 35.33 | X | #VALUE!
FP_KQ | 35.33 | X | #VALUE!
FR_K | 35.33 | X | #VALUE!
FR_KN | 35.33 | X | #VALUE!
FR_KY | 35.33 | X | #VALUE!
TNFRDSWOOD1U | 35.33 | X | #VALUE!
TNFRDSWOOD1V | 35.33 | X | #VALUE!
FRAKLN__138V | 35.33 | X | #VALUE!
FRAKLN__138W | 35.33 | X | #VALUE!
TNFRWYPARK1T | 35.33 | X | #VALUE!
TNFRWYPARK1U | 35.33 | X | #VALUE!
FT_K | 35.33 | X | #VALUE!
FT_KK | 35.33 | X | #VALUE!
FT_KKQ | 35.33 | X | #VALUE!
FT_KV | 35.33 | X | #VALUE!
FT_KW | 35.33 | X | #VALUE!
FT_KZ | 35.33 | X | #VALUE!
FTR_KD | 35.33 | X | #VALUE!
FTR_KK | 35.33 | X | #VALUE!
FTR_KX | 35.33 | X | #VALUE!
FTR_KWQ | 35.33 | X | #VALUE!
FTR_FTR_G1 | 35.33 | X | #VALUE!
FTR_FTR_G2 | 35.33 | X | #VALUE!
FTR_FTR_G3 | 35.33 | X | #VALUE!
FTR_FTR_G4 | 35.33 | X | #VALUE!
FTR_V_A | 35.33 | X | #VALUE!
FW_K | 35.33 | X | #VALUE!
FW_KR | 35.33 | X | #VALUE!
FRANZ09_138A | 35.33 | X | #VALUE!
FRANZ66_8015 | 35.33 | X | #VALUE!
FRANZ66_801Z | 35.33 | X | #VALUE!
GA_0011 | 35.33 | X | #VALUE!
GA_0021 | 35.33 | X | #VALUE!
TNISP_____1U | 35.33 | X | #VALUE!
TNISP_____1V | 35.33 | X | #VALUE!
GBY_GN5_5 | 35.33 | X | #VALUE!
EB_LSTB | 35.33 | X | #VALUE!
GERTIE76801S | 35.33 | X | #VALUE!
GERTIE76801T | 35.33 | X | #VALUE!
GERTIE76801U | 35.33 | X | #VALUE!
GF_K | 35.33 | X | #VALUE!
GF_KB | 35.33 | X | #VALUE!
GG_K | 35.33 | X | #VALUE!
GG_KA | 35.33 | X | #VALUE!
GG_KR | 35.33 | X | #VALUE!
GT_KU | 35.33 | X | #VALUE!
STRANG__138U | 35.33 | X | #VALUE!
STRANG__138V | 35.33 | X | #VALUE!
STRANG__138X | 35.33 | X | #VALUE!
FTR_1 | 35.33 | X | #VALUE!
FTR_PUN1 | 35.33 | X | #VALUE!
FTR_PUN2 | 35.33 | X | #VALUE!
RO_K | 35.33 | X | #VALUE!
RO_KO | 35.33 | X | #VALUE!
RO_KV | 35.33 | X | #VALUE!
RO_KZ | 35.33 | X | #VALUE!
ROLLEN__138T | 35.33 | X | #VALUE!
ROLLEN__138U | 35.33 | X | #VALUE!
RS_K | 35.33 | X | #VALUE!
RS_KC | 35.33 | X | #VALUE!
RS_KQ | 35.33 | X | #VALUE!
RS_KY | 35.33 | X | #VALUE!
RS_KYK | 35.33 | X | #VALUE!
SEAWAL63138X | 35.33 | X | #VALUE!
SEAWAY__8005 | 35.33 | X | #VALUE!
SD_K | 35.33 | X | #VALUE!
SD_KD | 35.33 | X | #VALUE!
SD_KDZ | 35.33 | X | #VALUE!
TNSEMINOLE1X | 35.33 | X | #VALUE!
SEPTON__801X | 35.33 | X | #VALUE!
SF_KJ | 35.33 | X | #VALUE!
SF_KL | 35.33 | X | #VALUE!
SF_KN | 35.33 | X | #VALUE!
SF_KO | 35.33 | X | #VALUE!
SF_KS | 35.33 | X | #VALUE!
SF_KW | 35.33 | X | #VALUE!
SF_KX | 35.33 | X | #VALUE!
SH_KT | 35.33 | X | #VALUE!
SH_KTN | 35.33 | X | #VALUE!
SH_K | 35.33 | X | #VALUE!
SHORE___138V | 35.33 | X | #VALUE!
SHORE___138W | 35.33 | X | #VALUE!
SI_K | 35.33 | X | #VALUE!
SIENNA05802W | 35.33 | X | #VALUE!
SIENNA05802X | 35.33 | X | #VALUE!
SJS_GT1_GT1 | 35.33 | X | #VALUE!
SJS_GT2_GT2 | 35.33 | X | #VALUE!
219HSL_LD1 | 35.33 | X | #VALUE!
222HSL_LD_ | 35.33 | X | #VALUE!
248HSL_LD_ | 35.33 | X | #VALUE!
251HSL_LD_ | 35.33 | X | #VALUE!
2641SL_LD_ | 35.33 | X | #VALUE!
265HSL_LD_ | 35.33 | X | #VALUE!
293HSL_LD_ | 35.33 | X | #VALUE!
302HSL_LD_ | 35.33 | X | #VALUE!
60BHSL_LD_ | 35.33 | X | #VALUE!
61AHSL_LD_ | 35.33 | X | #VALUE!
RT_K | 35.33 | X | #VALUE!
RTW_138B_EB | 35.33 | X | #VALUE!
RTW_138D_EB | 35.33 | X | #VALUE!
MY_K | 35.33 | X | #VALUE!
MY_KK | 35.33 | X | #VALUE!
MY_KS | 35.33 | X | #VALUE!
NA_K | 35.33 | X | #VALUE!
NA_KA | 35.33 | X | #VALUE!
NA_KI | 35.33 | X | #VALUE!
NA_KM | 35.33 | X | #VALUE!
NB_K | 35.33 | X | #VALUE!
NB_KG | 35.33 | X | #VALUE!
NB_KM | 35.33 | X | #VALUE!
NB_KQ | 35.33 | X | #VALUE!
NB_KB | 35.33 | X | #VALUE!
NB_KZ | 35.33 | X | #VALUE!
NOBEL___801X | 35.33 | X | #VALUE!
NM_K | 35.33 | X | #VALUE!
NM_KX | 35.33 | X | #VALUE!
TNNORTHSDE0V | 35.33 | X | #VALUE!
TNNORTHSDE0W | 35.33 | X | #VALUE!
NP_K | 35.33 | X | #VALUE!
NP_KJ | 35.33 | X | #VALUE!
NS_K | 35.33 | X | #VALUE!
NS_KG | 35.33 | X | #VALUE!
NASH_45_900Z | 35.33 | X | #VALUE!
NASH_02_800Y | 35.33 | X | #VALUE!
NINTH___138U | 35.33 | X | #VALUE!
NINTH___138V | 35.33 | X | #VALUE!
NV_K | 35.33 | X | #VALUE!
NV_KV | 35.33 | X | #VALUE!
OA_KJ | 35.33 | X | #VALUE!
OA_K | 35.33 | X | #VALUE!
OASIS___345A | 35.33 | X | #VALUE!
OASIS___345Y | 35.33 | X | #VALUE!
OB_K | 35.33 | X | #VALUE!
OB_KA | 35.33 | X | #VALUE!
OB_KC | 35.33 | X | #VALUE!
OB_KQ | 35.33 | X | #VALUE!
OB_KW | 35.33 | X | #VALUE!
OBRIEN__345Z | 35.33 | X | #VALUE!
OB_KD | 35.33 | X | #VALUE!
RTW_138H_EB | 35.33 | X | #VALUE!
RTW_345A_EB | 35.33 | X | #VALUE!
RTW_345C_EB | 35.33 | X | #VALUE!
RTW_345E_EB | 35.33 | X | #VALUE!
RU_K | 35.33 | X | #VALUE!
RU_KV | 35.33 | X | #VALUE!
RZ_KQQ | 35.33 | X | #VALUE!
RZ_KY | 35.33 | X | #VALUE!
SA_K | 35.33 | X | #VALUE!
SA_KG | 35.33 | X | #VALUE!
SA_KQ | 35.33 | X | #VALUE!
SA_KW | 35.33 | X | #VALUE!
SB_K | 35.33 | X | #VALUE!
SB_KM | 35.33 | X | #VALUE!
SCLP_SCLPC_1 | 35.33 | X | #VALUE!
SCLP_SCLPC_2 | 35.33 | X | #VALUE!
SCLP_SCLPC_3 | 35.33 | X | #VALUE!
SCLP_SCLPC_4 | 35.33 | X | #VALUE!
ISSUE_44 | 35.33 | X | #VALUE!
TNSCLPCOGN0W | 35.33 | X | #VALUE!
TNSCLPCOGN0X | 35.33 | X | #VALUE!
TNSCLPCOGN0Y | 35.33 | X | #VALUE!
ISSUE_45 | 35.33 | X | #VALUE!
ISSUE_46 | 35.33 | X | #VALUE!
ISSUE_47 | 35.33 | X | #VALUE!
SCLPCOGN_E_1 | 35.33 | X | #VALUE!
SCLPCOGN_E_2 | 35.33 | X | #VALUE!
MV_KG | 35.33 | X | #VALUE!
MV_KY | 35.33 | X | #VALUE!
IT_K | 35.33 | X | #VALUE!
IT_KC | 35.33 | X | #VALUE!
IT_KH | 35.33 | X | #VALUE!
JESTER81800W | 35.33 | X | #VALUE!
JESTER81800Y | 35.33 | X | #VALUE!
JENETA__138L | 35.33 | X | #VALUE!
JENETA__138M | 35.33 | X | #VALUE!
JENETA__138N | 35.33 | X | #VALUE!
JP_K | 35.33 | X | #VALUE!
JP_KC | 35.33 | X | #VALUE!
JU_K | 35.33 | X | #VALUE!
KB_K | 35.33 | X | #VALUE!
KB_KB | 35.33 | X | #VALUE!
KB_KI | 35.33 | X | #VALUE!
KB_KO | 35.33 | X | #VALUE!
KB_KP | 35.33 | X | #VALUE!
KUYDAL75501W | 35.33 | X | #VALUE!
KUYDAL75501X | 35.33 | X | #VALUE!
KING_T4_802W | 35.33 | X | #VALUE!
KING_T4_802Z | 35.33 | X | #VALUE!
KING____345A | 35.33 | X | #VALUE!
KING____345Z | 35.33 | X | #VALUE!
KLEIN___138T | 35.33 | X | #VALUE!
KLEIN___138U | 35.33 | X | #VALUE!
KLEIN___138X | 35.33 | X | #VALUE!
CKLUGE__138Q | 35.33 | X | #VALUE!
CKLUGE__138R | 35.33 | X | #VALUE!
CKLUGE__138S | 35.33 | X | #VALUE!
KL_138C | 35.33 | X | #VALUE!
KL_138D | 35.33 | X | #VALUE!
KM_K | 35.33 | X | #VALUE!
KM_KL | 35.33 | X | #VALUE!
KN_K | 35.33 | X | #VALUE!
KN_KP | 35.33 | X | #VALUE!
KENNY03_138Y | 35.33 | X | #VALUE!
KENNY03_138Z | 35.33 | X | #VALUE!
KT_K | 35.33 | X | #VALUE!
KT_KQ | 35.33 | X | #VALUE!
KT_KWW | 35.33 | X | #VALUE!
KW_K | 35.33 | X | #VALUE!
KW_KK | 35.33 | X | #VALUE!
KW_KW | 35.33 | X | #VALUE!
LA_K | 35.33 | X | #VALUE!
LA_KW | 35.33 | X | #VALUE!
TNLAMARQUE0V | 35.33 | X | #VALUE!
TNLAMARQUE0W | 35.33 | X | #VALUE!
LIBRTY218025 | 35.33 | X | #VALUE!
LIBRTY21802W | 35.33 | X | #VALUE!
LEAGCITY_L_A | 35.33 | X | #VALUE!
TNLEAGCITY1T | 35.33 | X | #VALUE!
TNLEAGCITY1U | 35.33 | X | #VALUE!
LH_K | 35.33 | X | #VALUE!
LH_KF | 35.33 | X | #VALUE!
LH_KH | 35.33 | X | #VALUE!
LH_KK | 35.33 | X | #VALUE!
CVC_GT4_8005 | 35.33 | X | #VALUE!
LYCHEM__138N | 35.33 | X | #VALUE!
LYCHEM__138O | 35.33 | X | #VALUE!
LYCHEM__138P | 35.33 | X | #VALUE!
LYCHEM__138Q | 35.33 | X | #VALUE!
TNLINDE___0Z | 35.33 | X | #VALUE!
TNLIQDCARB0Z | 35.33 | X | #VALUE!
LJ_K | 35.33 | X | #VALUE!
LJ_KD | 35.33 | X | #VALUE!
LJ_KW | 35.33 | X | #VALUE!
LK_K | 35.33 | X | #VALUE!
LK_KL | 35.33 | X | #VALUE!
LK_KV | 35.33 | X | #VALUE!
LM_K | 35.33 | X | #VALUE!
LM_KU | 35.33 | X | #VALUE!
RB_K | 35.33 | X | #VALUE!
RB_KF | 35.33 | X | #VALUE!
ROBERTSON | 35.33 | X | #VALUE!
RD_K | 35.33 | X | #VALUE!
RD_KA | 35.33 | X | #VALUE!
RE_K | 35.33 | X | #VALUE!
RE_KS | 35.33 | X | #VALUE!
RH_K | 35.33 | X | #VALUE!
RH_KC | 35.33 | X | #VALUE!
RH_KQ | 35.33 | X | #VALUE!
RH_KV | 35.33 | X | #VALUE!
RH_KW | 35.33 | X | #VALUE!
RH_KY | 35.33 | X | #VALUE!
RI_K | 35.33 | X | #VALUE!
RIWOOD__138A | 35.33 | X | #VALUE!
RIWOOD__138T | 35.33 | X | #VALUE!
RIWOOD__138U | 35.33 | X | #VALUE!
RIWOOD__138Z | 35.33 | X | #VALUE!
CHORIN__138U | 35.33 | X | #VALUE!
CHORIN__138V | 35.33 | X | #VALUE!
T_H_W___69BX | 35.33 | X | #VALUE!
EB_THW_2 | 35.33 | X | #VALUE!
THW_4_EB | 35.33 | X | #VALUE!
T_H_W81_8090 | 35.33 | X | #VALUE!
T_H_W95_8265 | 35.33 | X | #VALUE!
T_H_W___138I | 35.33 | X | #VALUE!
T_H_W___138J | 35.33 | X | #VALUE!
T_H_W___138K | 35.33 | X | #VALUE!
T_H_W___345B | 35.33 | X | #VALUE!
T_H_W___345Y | 35.33 | X | #VALUE!
T_H_W___345Z | 35.33 | X | #VALUE!
TI_KI | 35.33 | X | #VALUE!
TI_KR | 35.33 | X | #VALUE!
TIKIS___800Y | 35.33 | X | #VALUE!
TUCKER__138U | 35.33 | X | #VALUE!
TUCKER__138V | 35.33 | X | #VALUE!
TAYLOR__801Y | 35.33 | X | #VALUE!
TLR_K | 35.33 | X | #VALUE!
TM_K | 35.33 | X | #VALUE!
TM_KO | 35.33 | X | #VALUE!
TML_0020_EB | 35.33 | X | #VALUE!
TML_K | 35.33 | X | #VALUE!
TML_KG | 35.33 | X | #VALUE!
TRMNAL__138V | 35.33 | X | #VALUE!
TRMNAL__138W | 35.33 | X | #VALUE!
TNPRXAIR_AG1 | 35.33 | X | #VALUE!
TNTEPPCO_L_A | 35.33 | X | #VALUE!
TO_K | 35.33 | X | #VALUE!
TO_KL | 35.33 | X | #VALUE!
TO_KS | 35.33 | X | #VALUE!
TP_K | 35.33 | X | #VALUE!
TRIBAY__138Y | 35.33 | X | #VALUE!
TRINTY__138A | 35.33 | X | #VALUE!
TRINTY__138Z | 35.33 | X | #VALUE!
TRAVIS__138Q | 35.33 | X | #VALUE!
TRAVIS__138R | 35.33 | X | #VALUE!
TRAVIS__138S | 35.33 | X | #VALUE!
TRAVIS__138T | 35.33 | X | #VALUE!
TS_K | 35.33 | X | #VALUE!
TS_KI | 35.33 | X | #VALUE!
TV_K | 35.33 | X | #VALUE!
TV_KF | 35.33 | X | #VALUE!
TRSWIG__138V | 35.33 | X | #VALUE!
TRSWIG__138W | 35.33 | X | #VALUE!
TX_K | 35.33 | X | #VALUE!
TX_KO | 35.33 | X | #VALUE!
TNTXCITYWT0Z | 35.33 | X | #VALUE!
TXCTY_CTA | 35.33 | X | #VALUE!
TXCTY_CTB | 35.33 | X | #VALUE!
TXCTY_CTC | 35.33 | X | #VALUE!
TXCTY_ST | 35.33 | X | #VALUE!
UCC_UCC_C_1 | 35.33 | X | #VALUE!
UCC_UCC_C_2 | 35.33 | X | #VALUE!
TNDOW_COGN1V | 35.33 | X | #VALUE!
UCC_COGN_KA | 35.33 | X | #VALUE!
UCC_COGN_KAF | 35.33 | X | #VALUE!
UCC_COGN_KHL | 35.33 | X | #VALUE!
UCC_COGN_KT | 35.33 | X | #VALUE!
UCC_COGN_L_A | 35.33 | X | #VALUE!
UL_K | 35.33 | X | #VALUE!
UL_KG | 35.33 | X | #VALUE!
UL_KM | 35.33 | X | #VALUE!
UL_KZ | 35.33 | X | #VALUE!
UN_KG | 35.33 | X | #VALUE!
UN_KT | 35.33 | X | #VALUE!
UN_KV | 35.33 | X | #VALUE!
UV_K | 35.33 | X | #VALUE!
UV_KT | 35.33 | X | #VALUE!
UW_K | 35.33 | X | #VALUE!
UW_KQ | 35.33 | X | #VALUE!
VETRAN678020 | 35.33 | X | #VALUE!
VL_KI | 35.33 | X | #VALUE!
VL_KN | 35.33 | X | #VALUE!
VL_KZ | 35.33 | X | #VALUE!
VL_K | 35.33 | X | #VALUE!
VL_KD | 35.33 | X | #VALUE!
VL_KDP | 35.33 | X | #VALUE!
VL_KP | 35.33 | X | #VALUE!
VL_KPA | 35.33 | X | #VALUE!
VL_KR | 35.33 | X | #VALUE!
EB_G2 | 35.41 | X | #VALUE!
TNFRDSWOOD1Y | 35.63 | X | #VALUE!
AMOCOOIL_K | 35.7 | X | #VALUE!
R_SRB_5 | 35.72 | X | #VALUE!
SRB_SRBGT_2 | 35.72 | X | #VALUE!
SRB_GN3_3 | 35.72 | X | #VALUE!
SRB_GN4_4 | 35.72 | X | #VALUE!
SRB_GN1_1 | 35.72 | X | #VALUE!
SRB_GN2_2 | 35.72 | X | #VALUE!
TNHEIGHTS_1O | 35.78 | X | #VALUE!
SOLMER__138X | 35.79 | X | #VALUE!
STATE___138A | 35.79 | X | #VALUE!
STATE___138Y | 35.79 | X | #VALUE!
STATE___138Z | 35.79 | X | #VALUE!
GRNBYU__345A | 35.8 | X | #VALUE!
GRNBYU__345Z | 35.8 | X | #VALUE!
CVC_CVCG1_5 | 35.8 | X | #VALUE!
SDN_E_1 | 35.8 | X | #VALUE!
SDN_KQ | 35.8 | X | #VALUE!
SHELDN__345C | 35.8 | X | #VALUE!
DIB_1 | 35.8 | X | #VALUE!
DIB_DIB_G1 | 35.8 | X | #VALUE!
DIB_DIB_G2 | 35.8 | X | #VALUE!
DIB_DIB_G3 | 35.8 | X | #VALUE!
DIB_DIB_G4 | 35.8 | X | #VALUE!
DIB_E_1 | 35.8 | X | #VALUE!
DIB_K | 35.8 | X | #VALUE!
DIB_KT | 35.8 | X | #VALUE!
DS_BAT__138A | 35.8 | X | #VALUE!
DS_BAT__138T | 35.8 | X | #VALUE!
DS_BAT__138Y | 35.8 | X | #VALUE!
BARBUR__138A | 35.8 | X | #VALUE!
BARBUR__138Z | 35.8 | X | #VALUE!
MOMENT__138V | 35.8 | X | #VALUE!
MOMENT__138W | 35.8 | X | #VALUE!
MOMENT__138X | 35.8 | X | #VALUE!
MOMENT__138Y | 35.8 | X | #VALUE!
CHEDPW_1 | 35.8 | X | #VALUE!
CHEDPW_DPW | 35.8 | X | #VALUE!
CHEDPW_DPW2 | 35.8 | X | #VALUE!
DEPWTR__345A | 35.8 | X | #VALUE!
DEPWTR__345Y | 35.8 | X | #VALUE!
QNM_1 | 35.81 | X | #VALUE!
QNM_138A | 35.81 | X | #VALUE!
SRB_E_4 | 35.81 | X | #VALUE!
S_R_B___138Y | 35.81 | X | #VALUE!
S_R_B___138Z | 35.81 | X | #VALUE!
MORGPT__138A | 35.81 | X | #VALUE!
MORGPT__138Z | 35.81 | X | #VALUE!
MRN_E_1 | 35.81 | X | #VALUE!
MRN_E_2 | 35.81 | X | #VALUE!
ROLLEN__138A | 35.82 | X | #VALUE!
ROLLEN__138Z | 35.82 | X | #VALUE!
TUCKER__138A | 35.82 | X | #VALUE!
TUCKER__138Z | 35.82 | X | #VALUE!
AZ_138C_EB | 35.82 | X | #VALUE!
_AZ_E_1 | 35.82 | X | #VALUE!
ESFORK__138A | 35.82 | X | #VALUE!
EAGLE___138A | 35.82 | X | #VALUE!
EAGLE___138Z | 35.82 | X | #VALUE!
WARVUE__138A | 35.82 | X | #VALUE!
WRN_1 | 35.82 | X | #VALUE!
WRN_V_B | 35.82 | X | #VALUE!
MB_KG | 35.82 | X | #VALUE!
MB_KL | 35.82 | X | #VALUE!
MB_KM | 35.82 | X | #VALUE!
TIDAL___138A | 35.83 | X | #VALUE!
TIDAL___138V | 35.83 | X | #VALUE!
TIDAL___138W | 35.83 | X | #VALUE!
TIDAL___138Z | 35.83 | X | #VALUE!
SRB_E_2 | 35.83 | X | #VALUE!
S_R_B___69A | 35.83 | X | #VALUE!
S_R_B___69BT | 35.83 | X | #VALUE!
PAIR____138A | 35.83 | X | #VALUE!
PR_GT1__9040 | 35.83 | X | #VALUE!
SC_K | 35.84 | X | #VALUE!
DAVSON__138A | 35.84 | X | #VALUE!
DAVSON__138Z | 35.84 | X | #VALUE!
CAPEMUT1 | 35.84 | X | #VALUE!
CAPEMUT1Z | 35.84 | X | #VALUE!
DECKER__138A | 35.84 | X | #VALUE!
BRINE___138A | 35.84 | X | #VALUE!
CAL_1 | 35.84 | X | #VALUE!
CAL_2 | 35.84 | X | #VALUE!
PL_K | 35.84 | X | #VALUE!
PL_KT | 35.84 | X | #VALUE!
ESBELT__138A | 35.84 | X | #VALUE!
SHELL___138M | 35.84 | X | #VALUE!
SHELL___138N | 35.84 | X | #VALUE!
SHELL___138O | 35.84 | X | #VALUE!
SHELL___138Y | 35.84 | X | #VALUE!
SHELL___138Z | 35.84 | X | #VALUE!
BT_KG | 35.84 | X | #VALUE!
BT_KL | 35.84 | X | #VALUE!
CAL_CALGT1 | 35.84 | X | #VALUE!
CAL_CALSTG1 | 35.84 | X | #VALUE!
CAL_V_A | 35.84 | X | #VALUE!
CAL_V_B | 35.84 | X | #VALUE!
JEFFER__138A | 35.85 | X | #VALUE!
JEFFER__138V | 35.85 | X | #VALUE!
JEFFER__138W | 35.85 | X | #VALUE!
R_PSG_3 | 35.85 | X | #VALUE!
R_PSG_1 | 35.85 | X | #VALUE!
R_PSG_2 | 35.85 | X | #VALUE!
EXN_69A | 35.85 | X | #VALUE!
EXN_LD69 | 35.85 | X | #VALUE!
EB_138A | 35.85 | X | #VALUE!
EB_138B | 35.85 | X | #VALUE!
EB_5011 | 35.85 | X | #VALUE!
EB_LD41 | 35.85 | X | #VALUE!
EB_LD66 | 35.85 | X | #VALUE!
EB_LD67 | 35.85 | X | #VALUE!
EXN_EPS_1 | 35.85 | X | #VALUE!
EXN_EPS_2 | 35.85 | X | #VALUE!
EXN_EPS_3 | 35.85 | X | #VALUE!
EXN_LDP3 | 35.85 | X | #VALUE!
EXN_LDP4 | 35.85 | X | #VALUE!
EP_K | 35.86 | X | #VALUE!
EP_KD | 35.86 | X | #VALUE!
MB_KI | 35.86 | X | #VALUE!
MB_KSR | 35.86 | X | #VALUE!
BARHIL__138Z | 35.88 | X | #VALUE!
BIL_KT | 35.88 | X | #VALUE!
BEN_138A | 35.9 | X | #VALUE!
BEN_KC | 35.9 | X | #VALUE!
BEN_KFX | 35.9 | X | #VALUE!
GBY_GBY_5 | 35.91 | X | #VALUE!
GBY_V_B | 35.91 | X | #VALUE!
GRNBYU__138A | 35.91 | X | #VALUE!
HB_K | 35.91 | X | #VALUE!
HB_KC | 35.91 | X | #VALUE!
HB_KG | 35.91 | X | #VALUE!
CROSBY__69A | 35.92 | X | #VALUE!
CROSBY__69AZ | 35.92 | X | #VALUE!
TNNORTHSDE0X | 35.93 | X | #VALUE!
TNNORTHSDE0Y | 35.93 | X | #VALUE!
TNLAMARQUE0 | 35.93 | X | #VALUE!
TNLAMARQUE0X | 35.93 | X | #VALUE!
TNLAMARQUE0Y | 35.93 | X | #VALUE!
TNLAMARQUE0Z | 35.93 | X | #VALUE!
LEAGCITY_V_A | 35.93 | X | #VALUE!
TNLEAGCITY1 | 35.93 | X | #VALUE!
TNLEAGCITY1Z | 35.93 | X | #VALUE!
TNNALVIN_1 | 35.93 | X | #VALUE!
TNNALVIN_2 | 35.93 | X | #VALUE!
TNNALVIN_3 | 35.93 | X | #VALUE!
TNTXCITYMN0 | 35.93 | X | #VALUE!
TNTXCITYMN0W | 35.93 | X | #VALUE!
TNTXCITYMN0X | 35.93 | X | #VALUE!
TNTXCITYMN0Y | 35.93 | X | #VALUE!
TNTXCITYMN0Z | 35.93 | X | #VALUE!
ISSUE_52 | 35.93 | X | #VALUE!
ISSUE_53 | 35.93 | X | #VALUE!
ISSUE_54 | 35.93 | X | #VALUE!
ISSUE_55 | 35.93 | X | #VALUE!
TXCTY_E_1 | 35.93 | X | #VALUE!
TXCTY_E_2 | 35.93 | X | #VALUE!
R_UCC_COGN_1 | 35.93 | X | #VALUE!
TNDOW_COGN1 | 35.93 | X | #VALUE!
TNHASTINGS1 | 35.93 | X | #VALUE!
TNHASTINGS1X | 35.93 | X | #VALUE!
TNHEIGHTS_0T | 35.93 | X | #VALUE!
TNHEIGHTS_1U | 35.93 | X | #VALUE!
TNHEIGHTS_1V | 35.93 | X | #VALUE!
TNHEIGHTS_1Y | 35.93 | X | #VALUE!
TNGRANTAVE0 | 35.93 | X | #VALUE!
TNGRENBELT1U | 35.93 | X | #VALUE!
TNGRENBELT1V | 35.93 | X | #VALUE!
TNDICKNSON1 | 35.93 | X | #VALUE!
TNDICKNSON1Z | 35.93 | X | #VALUE!
TNFRDSWOOD1 | 35.93 | X | #VALUE!
TNFRDSWOOD1Z | 35.93 | X | #VALUE!
TNFRWYPARK1 | 35.93 | X | #VALUE!
TNFRWYPARK1Z | 35.93 | X | #VALUE!
TNSOUSHORE1 | 35.93 | X | #VALUE!
TNSOUSHORE1X | 35.93 | X | #VALUE!
TNSOUSHORE1Y | 35.93 | X | #VALUE!
TNSOUSHORE1Z | 35.93 | X | #VALUE!
P_H_R96_138F | 35.93 | X | #VALUE!
P_H_R___138C | 35.93 | X | #VALUE!
TNMAGNOLIA1 | 35.93 | X | #VALUE!
S_LCOGEN_1 | 35.93 | X | #VALUE!
S_LCOGEN_2 | 35.93 | X | #VALUE!
S_LCOGEN_3 | 35.93 | X | #VALUE!
TEJAS_KM | 35.93 | X | #VALUE!
TNTERMINAL0 | 35.93 | X | #VALUE!
TNTERMINAL0T | 35.93 | X | #VALUE!
TNTERMINAL0U | 35.93 | X | #VALUE!
TNTERMINAL0Y | 35.93 | X | #VALUE!
TNTERMINAL0Z | 35.93 | X | #VALUE!
TNCOMANCHE1 | 35.93 | X | #VALUE!
TNCOMANCHE1W | 35.93 | X | #VALUE!
TNCOMANCHE1X | 35.93 | X | #VALUE!
TNCOMANCHE1Y | 35.93 | X | #VALUE!
TNCOMANCHE1Z | 35.93 | X | #VALUE!
TNALVIN___1 | 35.93 | X | #VALUE!
TNALVIN___1Y | 35.93 | X | #VALUE!
TNALVIN___1Z | 35.93 | X | #VALUE!
AMOCOOIL_E_1 | 35.93 | X | #VALUE!
AMOCOOIL_E_2 | 35.93 | X | #VALUE!
AMO_AMOCO_S2 | 35.93 | X | #VALUE!
ISSUE_1 | 35.93 | X | #VALUE!
ISSUE_2 | 35.93 | X | #VALUE!
ISSUE_3 | 35.93 | X | #VALUE!
ISSUE_4 | 35.93 | X | #VALUE!
ISSUE_5 | 35.93 | X | #VALUE!
ISSUE_58 | 35.93 | X | #VALUE!
ISSUE_6 | 35.93 | X | #VALUE!
TNAMOCO___0 | 35.93 | X | #VALUE!
TNAMOCO___0W | 35.93 | X | #VALUE!
TNAMOCO___0X | 35.93 | X | #VALUE!
TNAMOCO___0Y | 35.93 | X | #VALUE!
TNAMOCO___1 | 35.93 | X | #VALUE!
TNAMOCO___1Z | 35.93 | X | #VALUE!
AUTO_EPS_465 | 35.93 | X | #VALUE!
AUTO_EPS_466 | 35.93 | X | #VALUE!
TNAPACHE__1 | 35.93 | X | #VALUE!
TNAPACHE__1X | 35.93 | X | #VALUE!
TNAPACHE__1Y | 35.93 | X | #VALUE!
TNAPACHE__1Z | 35.93 | X | #VALUE!
TNCADDO___1V | 35.93 | X | #VALUE!
TNCADDO___1W | 35.93 | X | #VALUE!
TNCADDO___1X | 35.93 | X | #VALUE!
TNCADDO___1Y | 35.93 | X | #VALUE!
TNMAGNOLIA1Z | 35.93 | X | #VALUE!
EB_MDO_138A | 35.93 | X | #VALUE!
WABURN__138B | 35.95 | X | #VALUE!
SC_KNX | 35.96 | X | #VALUE!
_CS_138E | 35.96 | X | #VALUE!
_CS_138F | 35.96 | X | #VALUE!
_CS_138H | 35.96 | X | #VALUE!
SC_KN | 35.96 | X | #VALUE!
_CS_138L | 35.96 | X | #VALUE!
PORT____138A | 35.96 | X | #VALUE!
SRB_LST1 | 35.98 | X | #VALUE!
S_R_B___69B | 35.98 | X | #VALUE!
DSN_K | 35.98 | X | #VALUE!
DSN_KD | 35.98 | X | #VALUE!
CV_KZ | 35.99 | X | #VALUE!
GP_K | 36.01 | X | #VALUE!
LHM_CVC_G4 | 36.14 | X | #VALUE!
LHM_E_1 | 36.14 | X | #VALUE!
LHM_V_A | 36.14 | X | #VALUE!
LHM_V_B | 36.14 | X | #VALUE!
LHM_V_C | 36.14 | X | #VALUE!
BIGVUE__138X | 36.16 | X | #VALUE!
R_PSA_7 | 36.18 | X | #VALUE!
PSA_1 | 36.18 | X | #VALUE!
PSA_PSA_G7 | 36.18 | X | #VALUE!
PSA_PSA_G5 | 36.18 | X | #VALUE!
PSA_PSA_G4 | 36.18 | X | #VALUE!
PSA_PSA_G2 | 36.18 | X | #VALUE!
PSA_PSA_G1 | 36.18 | X | #VALUE!
PSARCO__138A | 36.18 | X | #VALUE!
PSARCO__138Z | 36.18 | X | #VALUE!
R_PSA_4 | 36.18 | X | #VALUE!
PSA_2 | 36.18 | X | #VALUE!
PSA_3 | 36.18 | X | #VALUE!
PSA_4 | 36.18 | X | #VALUE!
PSA_5 | 36.18 | X | #VALUE!
PSA_K | 36.18 | X | #VALUE!
PSA_KD | 36.18 | X | #VALUE!
PSA_KF | 36.18 | X | #VALUE!
PSA_KG | 36.18 | X | #VALUE!
PSA_KR | 36.18 | X | #VALUE!
PSA_KS | 36.18 | X | #VALUE!
PSA_KT | 36.18 | X | #VALUE!
S_R_B___69BS | 36.19 | X | #VALUE!
SRB_E_1 | 36.19 | X | #VALUE!
DPW_69D | 36.19 | X | #VALUE!
DEPWTR__69E | 36.19 | X | #VALUE!
_PR_E_1 | 36.33 | X | #VALUE!
GP_KP | 36.34 | X | #VALUE!
CHANEL__69AY | 36.35 | X | #VALUE!
CHANEL__69AZ | 36.35 | X | #VALUE!
CHANEL__69AX | 36.35 | X | #VALUE!
CHANEL__69A | 36.35 | X | #VALUE!
HG_KU | 36.39 | X | #VALUE!
GRNBYU__69E | 36.73 | X | #VALUE!
CF_KF | 36.9 | X | #VALUE!
CF_K | 36.9 | X | #VALUE!
GRNBYU__138C | 36.9 | X | #VALUE!
CHE_1 | 38.77 | X | #VALUE!
LYDELL__138A | 38.77 | X | #VALUE!
LYDELL__138X | 38.77 | X | #VALUE!
LYD_E_1 | 38.77 | X | #VALUE!
LYD_K | 38.77 | X | #VALUE!
LYD_KY | 38.77 | X | #VALUE!
LYD_KT | 38.77 | X | #VALUE!
DEPWTR__138H | 38.93 | X | #VALUE!
DPW_1 | 38.93 | X | #VALUE!
GYR_KW | 39.57 | X | #VALUE!
GYR_K | 39.57 | X | #VALUE!
GBY_81821075 | 56.38 | X | #VALUE!
GBY_83841065 | 56.38 | X | #VALUE!
GBY_73741085 | 56.38 | X | #VALUE!
GBY_GBYGT82 | 56.38 | X | #VALUE!
GBY_GBYGT84 | 56.38 | X | #VALUE!
GBY_GBYGT74 | 56.38 | X | #VALUE!
MONSAN__138R | 70.41 | X | #VALUE!
THW_L_D | 82.21 | X | #VALUE!
THW_ST4_ST_4 | 82.21 | X | #VALUE!
THW_THWGT32 | 82.21 | X | #VALUE!
THW_THWGT34 | 82.21 | X | #VALUE!
THW_THWGT42 | 82.21 | X | #VALUE!
THW_THWGT44 | 82.21 | X | #VALUE!
THW_THWGT52 | 82.21 | X | #VALUE!
THW_THWGT54 | 82.21 | X | #VALUE!
THW_THWGT56 | 82.21 | X | #VALUE!
THW_3132 | 82.21 | X | #VALUE!
THW_3334 | 82.21 | X | #VALUE!
THW_4142 | 82.21 | X | #VALUE!
THW_4344 | 82.21 | X | #VALUE!
THW_5152 | 82.21 | X | #VALUE!
THW_5354 | 82.21 | X | #VALUE!
THW_5556 | 82.21 | X | #VALUE!
THW_ST3_ST_3 | 82.21 | X | #VALUE!
THW_L_E | 82.21 | X | #VALUE!
TC_K | 109.16 | X | #VALUE!
CAMRON__138S | 111.2 | X | #VALUE!
CAMRON__138P | 111.2 | X | #VALUE!
GT_KJ | 118.73 | X | #VALUE!
WHITOK098060 | 140.53 | X | #VALUE!
WHITOK__138E | 140.53 | X | #VALUE!
MONSAN__138X | 140.57 | X | #VALUE!
CL_KA | 142.99 | X | #VALUE!
_AK__AK_G1 | 144.57 | X | #VALUE!
GRNBYU__138F | 148.29 | X | #VALUE!
CGRNBYU_8005 | 148.29 | X | #VALUE!
CI_K | 149.13 | X | #VALUE!
CI_KO | 149.13 | X | #VALUE!
TI_K | 151.24 | X | #VALUE!
TI_KM | 151.24 | X | #VALUE!
MP_KH | 153.65 | X | #VALUE!
MP_138A | 153.65 | X | #VALUE!
MP_KB | 153.65 | X | #VALUE!
MP_KY | 153.65 | X | #VALUE!
WAP_GN3_3 | 155.91 | X | #VALUE!
WAP_GN4_4 | 155.91 | X | #VALUE!
WAPGT21_GT1 | 155.91 | X | #VALUE!
T_H_W___138E | 158.57 | X | #VALUE!
T_H_W___138U | 158.57 | X | #VALUE!
THW_E_1 | 158.57 | X | #VALUE!
THW_E_2 | 158.57 | X | #VALUE!
COUGAR__138A | 160.12 | X | #VALUE!
COUGAR__138Z | 160.12 | X | #VALUE!
UN_K | 160.42 | X | #VALUE!
UN_KJ | 160.42 | X | #VALUE!
FB_K | 163.03 | X | #VALUE!
GL_KA | 164.61 | X | #VALUE!
GA_138A | 164.61 | X | #VALUE!
GA_138B | 164.61 | X | #VALUE!
W_GALV__138X | 164.61 | X | #VALUE!
W_GALV__138Y | 164.61 | X | #VALUE!
GL_KV | 164.61 | X | #VALUE!
STEWRT__138A | 164.61 | X | #VALUE!
STEWRT__138X | 164.61 | X | #VALUE!
GL_K | 164.61 | X | #VALUE!
WEBSTR__138D | 164.61 | X | #VALUE!
CR_KI | 164.97 | X | #VALUE!
CR_K | 164.97 | X | #VALUE!
FRK_KJ | 165.26 | X | #VALUE!
FRK_KI | 165.26 | X | #VALUE!
FRK_K | 165.26 | X | #VALUE!
FRK_KW | 165.26 | X | #VALUE!
GS_K | 165.64 | X | #VALUE!
WEBSTR__69AZ | 168.37 | X | #VALUE!
ES_KG | 172.82 | X | #VALUE!
ES_K | 172.82 | X | #VALUE!
DWNTWN__138A | 173.32 | X | #VALUE!
DWNTWN__138Z | 173.32 | X | #VALUE!
UN_KX | 173.63 | X | #VALUE!
PK_K | 173.83 | X | #VALUE!
PK_KF | 173.83 | X | #VALUE!
GT_K | 174.32 | X | #VALUE!
GT_KV | 174.32 | X | #VALUE!
GT_KN | 174.32 | X | #VALUE!
GV_K | 177.51 | X | #VALUE!
GV_KR | 177.51 | X | #VALUE!
THW_1 | 180.01 | X | #VALUE!
THW_E_3 | 194.74 | X | #VALUE!
THW_THWGT_1 | 194.74 | X | #VALUE!
GV_KQ | 204.19 | X | #VALUE!
GV_KG | 204.19 | X | #VALUE!
GS_KX | 206.71 | X | #VALUE!
GS_69A | 206.71 | X | #VALUE!
GS_69B | 206.71 | X | #VALUE!
ADICKS__138B | 214.91 | X | #VALUE!
ADICKS__8030 | 214.91 | X | #VALUE!
ADK_V_C | 214.91 | X | #VALUE!
ADICKS_138D | 214.91 | X | #VALUE!
RZ_K | 219.02 | X | #VALUE!
RZ_KQ | 219.02 | X | #VALUE!
DWNTWN__69AP | 219.87 | X | #VALUE!
DWNTWN__69AO | 219.87 | X | #VALUE!
DWNTWN__69AX | 219.87 | X | #VALUE!
DWNTWN__69AU | 219.87 | X | #VALUE!
DWNTWN__69AT | 219.87 | X | #VALUE!
DWNTWN__69AS | 219.87 | X | #VALUE!
DWNTWN__69AR | 219.87 | X | #VALUE!
DWNTWN__69AY | 219.87 | X | #VALUE!
DWNTWN__69AM | 219.87 | X | #VALUE!
DWNTWN__69AL | 219.87 | X | #VALUE!
DWNTWN__69AK | 219.87 | X | #VALUE!
DWNTWN__69AQ | 219.87 | X | #VALUE!
DWNTWN__69AZ | 219.87 | X | #VALUE!
DT_V_C | 219.87 | X | #VALUE!
DWNTWN__69A | 219.87 | X | #VALUE!
LM_KK | 223.14 | X | #VALUE!
LM_KJ | 223.14 | X | #VALUE!
PZ_K | 232.75 | X | #VALUE!
PZ_KQ | 232.75 | X | #VALUE!
TC_KO | 256.83 | X | #VALUE!
TC_KI | 256.83 | X | #VALUE!
GN_K | 259 | X | #VALUE!
GN_KH | 259 | X | #VALUE!
GN_KT | 259 | X | #VALUE!
GN_KN | 259 | X | #VALUE!
GN_KO | 259 | X | #VALUE!
GN_KQ | 259 | X | #VALUE!
AV_KY | 288.9 | X | #VALUE!
DN_KT | 298.79 | X | #VALUE!
DN_KY | 298.79 | X | #VALUE!
ADICKS_138N | 303.49 | X | #VALUE!
EB_WAPGEN1 | 309.5 | X | #VALUE!
R_WAP_7 | 309.5 | X | #VALUE!
WAP_1 | 309.5 | X | #VALUE!
WAP_2 | 309.5 | X | #VALUE!
WAP_3 | 309.5 | X | #VALUE!
WAP_E_4 | 309.5 | X | #VALUE!
WAP_E_5 | 309.5 | X | #VALUE!
WAP_E_6 | 309.5 | X | #VALUE!
WAP_E_7 | 309.5 | X | #VALUE!
WAP_WAP_G2 | 309.5 | X | #VALUE!
WAP_WAP_G3 | 309.5 | X | #VALUE!
WAP_WAP_G4 | 309.5 | X | #VALUE!
WAP_WAP_G5 | 309.5 | X | #VALUE!
W_A_P___138A | 309.5 | X | #VALUE!
W_A_P___138X | 309.5 | X | #VALUE!
W_A_P___138Y | 309.5 | X | #VALUE!
W_A_P___138Z | 309.5 | X | #VALUE!
FANNIN__138Z | 310.87 | X | #VALUE!
FANNIN__138A | 310.87 | X | #VALUE!
MV_K | 310.98 | X | #VALUE!
MV_KK | 310.98 | X | #VALUE!
KARSTN__138A | 323.99 | X | #VALUE!
KARSTN__69E | 328.54 | X | #VALUE!
BM_K | 329.5 | X | #VALUE!
BM_KS | 329.5 | X | #VALUE!
HE_KP | 341.41 | X | #VALUE!
SR_KH | 366.03 | X | #VALUE!
SR_KW | 366.03 | X | #VALUE!
SR_KA | 366.4 | X | #VALUE!
SR_K | 366.4 | X | #VALUE!
WHITOK__69BZ | 386.33 | X | #VALUE!
H_O_C___9020 | 390.03 | X | #VALUE!
138D_EB | 392.5 | X | #VALUE!
EC_KH | 392.5 | X | #VALUE!
EC_K | 393.13 | X | #VALUE!
WT_KV | 421.28 | X | #VALUE!
WT_K | 421.28 | X | #VALUE!
WT_KC | 422.2 | X | #VALUE!
CH_O_C__811Z | 485.2 | X | #VALUE!
H_O_C___138A | 485.2 | X | #VALUE!
WHITOK738045 | 526.74 | X | #VALUE!
WHITOK__138W | 526.74 | X | #VALUE!
SF_K | 1074 | X | #VALUE!
SF_KI | 1074 | X | #VALUE!
BELAIR__138E | 1297.2 | X | #VALUE!
CBELAIR_8085 | 1297.2 | X | #VALUE!