## Slide 1: ERCOT RMR Deployment and Cost Proposals
By: Matt Mereness and Ino Gonzalez

## Slide 2: Topic Outline
Market Design / NPRR231 decision for consideration
ERCOT Proposal for Establishing O&M Costs
Appendix
      RMR units in the DAM
      RMR units in DRUC
      RMR units in the Adjustment Period / HRUC
      RMR units in Real-Time
Slide <number>

## Slide 3: Need for RMR Units
Why ERCOT deploys RMR units
  To solve local reliability constraints
  To provide voltage support
Current design is that when System Operator knows in Day-Ahead of need for RMR for reliability, it is committed for Real-Time by:
  ERCOT offering the resource into the DA market at verifiable (contract) cost for willing buyer/QSE to purchase energy
    Example: Approx 200MW offer into DAM for Spencer and Permian Basin units
  If not selected in DAM, Operator pre-selects for RUC and is assigned to capacity short QSEs (applies to DRUC and HRUC)
  NATF consideration of NPRR231 is to remove RMR energy offers from the DAM
Slide <number>

## Slide 4: Determining O&M Costs for RMR Units
QMWG Proposal for Establishing O&M Costs
  Startup Costs = 200% of The Resource Category Startup Offer Generic Cap
  Min. Costs =150% of the Resource Category Minimum-Energy Generic Cap
  Concerns with QMWG Proposal
    The Resource Category Minimum-Energy Generic Cap has no O&M. The 150% is not applicable.
    Cost percentages (200%, 150%) apply to all resources regardless of size.
    Most RMR units are steam generators.
    Steam generators have Nameplate ratings ranging between 8MW – 900MW.
    There are approximately 80 steam generators connected to the ERCOT grid.
    Generic costs do not consider generator size and may not be a good proxy for O&M costs used in 3PO for all Resources.
    RMR Resources may have high variable O&M costs which under the QMWG proposal could be under or over-stated.
Slide <number>

## Slide 5: Determining O&M Costs for RMR Units
  ERCOT Proposal for Establishing O&M Costs
  Proposal for Determining O&M Costs
    RMR QSEs should provide variable O&M costs to ERCOT as part of the process for establishing the Resource as an RMR unit (may require Protocol change).
    Variable O&M costs should not include fixed or fuel costs.
    Costs could be based on
      Guidelines described in Verifiable Cost Manual, or
      On the variable component of the budgeted amount
    Costs assumed to be for a cold start .
    Use verifiable costs percentages (inter. = 70% x cold start; hot = 50% x cold start).
    Costs to remain fixed for duration of contract period.
    Fuel Startup and Min. Rates need to change based on proxy heat rates (to estimate RT energy revenues).
    Fuel prices do not need to be increased as described in NPRR174 because RMR Resources include a Fuel Adder in the calculation of 3PO.
Slide <number>

## Slide 6: Appendix
Appendix:
      RMR units in the DAM
      RMR units in DRUC
      RMR units in the Adjustment Period / HRUC
      RMR units in Real-Time
<number>

## Slide 7: Deployment of RMR Units in Day Ahead
How ERCOT deploys RMR units in DAM
System Operations decides need for RMR in Real Time prior to 10 am
    Unit may only be needed for a few hours or all day
    Unit may be needed to run at top or at a lower MW level
  ERCOT creates 3-Part Supply Offer according to the cost of unit (based on verif. cost)
    Offers into DAM for the hours/duration requested by System Operations
    May result in DAM commitment for the RMR unit
    If selected by DAM, Resource will be committed and online next day at LSL
    DAM energy and PTP Obligation bids pay for the cost of the RMR’s Make- Whole payment
Slide <number>

## Slide 8: Deployment of RMR Units in Day Ahead
How ERCOT deploys RMR units in DRUC
If RMR not awarded in DAM
    Operator has option to pre-select into DRUC if needed in for voltage support
      Unit not optimized based on costs
    For other hours not selected in DAM or for voltage support, Operator can allow DRUC optimization to evaluate commitment of RMR to resolve local constraint
    After RUC study, Operator can still manually select unit for RUC commitment.
    Results in DRUC commitment for the RMR unit
    If committed in DRUC process, unit instructed to be online at LSL
    Settlements will use the DAM Offers
    Make-Whole payments assigned to Capacity Short in DRUC
Slide <number>

## Slide 9: Deployment of RMR Units in the Adjustment Period
Deployment of RMR units in the Adjustment Period
ERCOT discovers need for RMR units in the Adjustment period
    Same process and commitment decisions in HRUC as DRUC
    If RMR unit needed for voltage support, pre-select by Operator in HRUC
    HRUC will evaluate need to resolve local constraint, or be manually committed after the HRUC study and part of the RUC commitments
    Settlements would use the RMR costs (verifiable costs)
    Make-Whole payments assigned to Capacity Short in HRUC
Slide <number>

## Slide 10: Deployment of RMR Units in the Real-Time
Deployment of RMR units in Real Time
RMR unit committed in DAM, DRUC or HRUC
    Resource online at LSL with Energy Offer Curve for SCED to dispatch for resolving constraints
    If Operator needs resource at predetermined MW level, Operator can set LDL = HDL
Slide <number>