## Sheet1
PLWG Issues List
Issue # | Issues | Key Concerns | Priority | Leader | Target Date | Resolution
1 | Data Collection | Initial implementation will retain SSWG/DWG/SPWG reporting to ROS; PLWG might oversee transition to more reporting-based procedure when systems are ready.
2 | Data Consistency | PLWG should consider consistency in load forecast, load coincidence in cases/studies, line ratings
3 | Validation of data accuracy and consistency | Each individual data item should be the responsibility of the entity that provided it. Should there be a “check” by TSP, GE or ERCOT of whether the submitted data “makes sense”? Who is responsible (accountable) for checking the modeling of the data (e.g. how the data is converted to bus/branch modeling)? Is the accuracy of the consolidated dataset the responsibility of an entity (ERCOT, TSP, GE) or a group (SSWG/DWG, PLWG)? Is providing valid data part of Protocol auditing process?
4 | Data Gaps
5 | RARF Interface | How to allow for corrections submitted by non generation entities. How to revise RARF to meet revised input requirements.
6 | RPG Interface | refine different focus between the two groups
7 | Information sections of current procedures | some TSPs have taken the description of how these ratings are developed out of SSWG procedures and made those descriptions available on demand
8 | Transmission Line Design | a. One argument is that this is an engineering issue, not a planning issue, because it is specific for each design. b. May be some key data that would be useful for market participants. C. If routing has reliability implications (such as paralleling existing lines) may want to include in ERCOT planning activities.
9 | Scope of PLWG in specifying parameters | PLWG will not review/approve specific projects; may specify level of detail in recommendations (e.g. whether recommendations should include required ampacity in addition to the conductor type assumed in study) through Planning Guides Revisions
10 | Level of approval for changes | Need to consider whether all detailed elements of what is being considered for inclusion in the Planning Guides needs to go to Board for approval or whether there should still be “procedures” that only go to TAC for approval {things like changes to TPIT dates, which cases are built may not need to go to Board)
11 | RPG Scope document | RPG may need to develop new “Scope” document to describe what that group does (2-3 pages level of detail) Use 1.2 of Planning Charter as basis.
12 | Developing criteria | Criteria may need to be developed in a way that is appropriately flexible where that makes sense (non-coincident area loads, e.g.)
13 | Update ROS scope: Review of planning studies | May need to update ROS scope relative to review of planning studies
14 | New technologies | Facilitate investigation / implementation of new technologies (where appropriate) for improving the reliability of the electrical system (synchrophasor locations).